

Relational Database
(RDBMS via ODBC)
Interface to the PI System


Version 3.15.0.11
Revision B

How to Contact Us

	OSIsoft, Inc. 

777 Davis St., Suite 250

San Leandro, CA 94577 USA

Telephone

(01) 510-297-5800 (main phone)

(01) 510-357-8136 (fax) 

(01) 510-297-5828 (support phone)

techsupport@osisoft.com
Houston, TX 

Johnson City, TN 

Mayfield Heights, OH

Phoenix, AZ 

Savannah, GA

Seattle, WA

Yardley, PA
	Worldwide Offices

OSIsoft Australia

Perth, Australia

Auckland, New Zealand

OSI Software GmbH 

Altenstadt, Germany

OSI Software Asia Pte Ltd.

Singapore 

OSIsoft Canada ULC

Montreal, Canada 

OSIsoft, Inc. Representative Office

Shanghai, People's Republic of China 

OSIsoft Japan KK

Tokyo, Japan 

OSIsoft Mexico S. De R.L. De C.V.

Mexico City, Mexico 

	Sales Outlets and Distributors

	· Brazil

· Middle East/North Africa

· Republic of South Africa

· Russia/Central Asia
	· South America/Caribbean

· Southeast Asia

· South Korea 

· Taiwan 

	

	WWW.OSISOFT.COM

	OSIsoft, Inc. is the owner of the following trademarks and registered trademarks: PI System, PI ProcessBook, Sequencia, Sigmafine, gRecipe, sRecipe, and RLINK. All terms mentioned in this book that are known to be trademarks or service marks have been appropriately capitalized. Any trademark that appears in this book that is not owned by OSIsoft, Inc. is the property of its owner and use herein in no way indicates an endorsement, recommendation, or warranty of such party's products or any affiliation with such party of any kind.

RESTRICTED RIGHTS LEGEND
Use, duplication, or disclosure by the Government is subject to restrictions as set forth in subparagraph (c)(1)(ii) of the Rights in Technical Data and Computer Software clause at DFARS 252.227-7013

Unpublished -- rights reserved under the copyright laws of the United States.

© 2000-2007 OSIsoft, Inc.
PI_rdbmspi.doc


Table of Contents

1Introduction


1Reference Manuals


2Supported Features


5Configuration Diagram


7Principles of Operation


8Concept of Data Input from Relational Database to PI


11Concept of Data Output from PI to Relational Database


13SQL Statements


13Prepared Execution


14Direct Execution


14Language Requirements, ODBC API Conformance


15SQL Placeholders


22Timestamp Format


28Inputs to PI via SELECT Clause – Detailed Description


28Data Acquisition Strategies


29SQL SELECT Statement for Single PI Tag


30SQL SELECT Statement for Tag Groups


32SQL SELECT Statement for Tag Distribution


34Signaling that not all Rows were Successfully Distributed


35SQL SELECT Statement for RxC Distribution


35Event based Input


36Mapping of Value and Status – Data Input


39Multi Statement SQL Clause


40Explicit Transactions


40Stored Procedures


41Output from PI


41Mapping of Value and Status – Data Output


42Global Variables


43Recording of PI Point Database Changes


43Short Form Configuration


44Long Form Configuration


45PI Batch Database Output


45PI Batch Database Replication without Module Database


46PI Batch Database Replication with Module Database


47PI Batch Database Replication Details


49RDBMSPI – Input Recovery Modes


51RDBMSPI – Output Recovery Modes  (Only Applicable to Output Points)


51Recovery TS


51Out-Of-Order Recovery


53Out-Of-Order Handling in On-Line Mode (RDBMSPI Interface Runs)


55Recovery SHUTDOWN


55Interface in Pure Replication Mode


57Automatic Re-connection


57ODBC Connection Loss


58PI Connection Loss


59Result Variables


59Send Data to PI


59Result of ODBC Query Execution


61RDBMSPI – Redundancy Considerations


63Database Specifics


63Oracle 7.0; Oracle 8.x, 9i,10g; Oracle RDB


64dBase III, dBase IV


65MS Access


65MS SQL Server 6.5, 7.0, 2000


66CA Ingres II


66IBM DB2 (NT)


67Informix (NT)


67Paradox


69More Examples


69Insert or Update


71Installation Checklist


73Interface Installation on Windows


73Naming Conventions and Requirements


73Interface Directories


73PIHOME Directory Tree


74Interface Installation Directory


74Interface Installation Procedure


74Installing Interface as a Windows Service


74Installing Interface Service with PI ICU


75Service Configuration


76Start or Stop Service


77Installing Interface Service Manually


77What is Meant by "Running an ODBC Application as Windows Service"?


79Control Program


79CPPI/RDBMSPI Functionality Accessed via MMC


87Digital States


89PointSource


91PI Point Configuration


91Point Attributes


91Tag


91PointSource


91Point Type


92Location1


92Location2


93Location3


93Location4


94Location5


95InstrumentTag


95ExDesc


99Scan


99Shutdown


100SourceTag


100Unused Attributes


103Performance Point Configuration


103Configuring Performance Points with PI ICU (Windows)


104Configuring Performance Points Manually


105I/O Rate Tag Configuration


105Monitoring I/O Rates on the Interface Node


105Configuring I/O Rate Tags with PI ICU (Windows)


105Enable IORates for this Interface


106Button Menu Options


107Configuring I/O Rate Points Manually


107Configuring the PI Point on the PI Server


107Configuration on the Interface Node


109Startup Command File


109Notes for Windows


109PI Interface Configuration Utility on Windows


112PI ICU RDBODBC Control on Windows


115Command-Line Parameters


128Sample RDBMSPI.bat File


129Interface Node Clock


129Time Synchronization with PI Server


130Time Zone and Daylight Saving


131Security


131PI Server v3.3 and Higher


131PI Server v3.2


133Starting / Stopping the Interface on Windows


133Starting Interface as a Service


133Stopping Interface Running as a Service


135Buffering


136Configuring Buffering with PI ICU (Windows-Intel)


136Service Tab


137Settings Tab


139Configuring Buffering Manually


141Example piclient.ini File


141Windows


143Interface Shutdown


145Appendix A: Error and Informational Messages


147Appendix B: Examples


177Appendix C: Hints and Checklist


177Hints for the PI System Manager


181Appendix D: For Users of Previous Interface Versions


181Read Before Update


181Upgrading the Interface from a Previous Version


183Appendix E: Interface Test Environment


183Interface Version 1.28


183Interface Version 2.0


184Interface Version 3.x


187Revision History





Introduction

The interface allows bi-directional transfer of data between the PI System and any Relational Database Management System (RDBMS) that supports Open DataBase Connectivity (ODBC) drivers. The interface runs on Microsoft Windows (2000/XP/Win2003/Vista) operating systems, and is able to connect to any PI Server node available on the network. This version only supports one ODBC connection per running copy but multiple interface instances are possible.

SQL statements are generated by the end user either in the form of ordinary ASCII files, or are defined in the Extended Descriptor of a PI tag. These SQL statements are the source of data for one or more tags – data input, and similarly, PI tags provide values for RDB – data output.

The interface makes internal use of the PI API and PI SDK in order to keep a standard way of interfacing from a client node to the PI Server Node.
Note: Databases and ODBC drivers not yet tested with the interface may require additional onsite testing, which will translate to additional charges.  Please refer to the section entitled
Appendix E:
Interface Test Environment
for a list of databases and ODBC drivers that the interface is known to work with.  Even if the customer’s database and/or ODBC driver is not shown, the interface still may work.  However, if problems are encountered, the interface will have to be enhanced to support the site specific environment.  Please contact the local OSI sales representative.

Note: Version 3.0 of the RDBMSPI Interface is a major rewrite (as the version 2.0 was for version 1.x) and many enhancements have been made that did not fit into the design of the previous version.  Please consult Appendix D: For Users of Previous Interface Versions prior to upgrading an older version of the interface.
Reference Manuals
OSIsoft
· PI Server manuals

· PI API manual

· UniInt Interface User Manual
· Examples_readme.doc
Vendor

· Vendor specific ODBC Driver Manual

· Microsoft ODBC Programmer's Reference

Supported Features
	Feature
	Support

	Part Number
	PI-IN-OS-RELDB-NTI

	*Platforms
	Windows 2000/XP/ 
Windows Server 2003 (Intel)
Windows Vista

	APS Connector
	No

	Point Builder Utility
	No

	ICU Control
	Yes

	PI Point Types
	Float16 / Float32 / Float64 / Int16 / Int32 / Digital / String / PITimestamp

	Sub-Second Timestamps
	Yes

	Sub-Second Scan Classes
	Yes

	Automatically Incorporates PI Point Attribute Changes
	Yes

	Exception Reporting 
	Yes

	PI Interface Node Support  
	Yes

	Required PI API Version
	1.6.+

	*Uses PI SDK
	Yes

	Inputs to PI
	Scan-based / Unsolicited / Event Tags

	Outputs from PI
	Yes (Event-based, Scan-based)

	Text Transfer
	Yes

	Supports Questionable Bit
	No

	Supports Multi-character PointSource
	Yes

	Support for reading/writing to PI Annotations
	Yes

	Configuration Data
	Output

	Maximum Point Count
	Unlimited

	* Source of Timestamps
	RDBMS or PI Server

	* History Recovery
	Yes (for Output points)

	Failover
	No

	*UniInt-based

Disconnected Startup

SetDeviceStatus
	Yes 

No

Yes

	* Vendor Software Required
	Yes

	Vendor Hardware Required
	No

	* Additional PI Software Included with interface
	Yes

	* Device Point Types
	See below

	Serial Based Interface
	No


Table 1. RDBMSPI Supported Features   * See below for more information.
Platforms
The Interface is designed to run on the above mentioned Microsoft Windows operating systems.  

Uses PI SDK
The PI SDK and the PI API are bundled together and must be installed on each PI Interface node.  This Interface specifically makes PI SDK calls to access the PI Batch Database and read some PI Point Attributes. Since interface version 3.15, PI SDK is used to write and read PI Annotations.
Source of Timestamps

The interface can accept timestamps from the RDBMS or it can provide PI Server synchronized timestamps.

History Recovery

For output tags the interface goes back in time and uses values stored in the PI Archive. See section RDBMSPI - Recovery Modes later on. Recovery actions are taken at interface startup (or for a single tag, after a tag edit), but they do NOT cover the interface connection problems with RDBMS (see chapter Automatic Re-connection).

For input tags, history recovery depends on the WHERE condition of a SELECT query.  

UniInt-Based

UniInt stands for Universal Interface. UniInt is not a separate product or file; it is an OSIsoft-developed template used by the developers, and is integrated into many interfaces, such as the PI-OPC Interface, PItoPI interface, etc. The purpose of UniInt is to keep a consistent feature set and behavior across as many of OSIsoft’s  interfaces as possible. It also allows for the very rapid development of new interfaces. In any UniInt-based interface, the interface uses some of the UniInt‑supplied configuration parameters and some interface-specific parameters. UniInt is constantly being upgraded with new options and features.

The UniInt Interface User Manual is a supplement to this manual.

SetDeviceStatus

The RDBMSPI Interface is built with UNIINT 4.3, where the new functionality has been added to support health tags - the health tag with the point attribute 
Exdesc = [UI_DEVSTAT] is used to represent the status of the source device. 
The following events will be written into the tag:

a) "0 | Good | " - the interface is properly communicating and gets data from/to the RDBMS system via the given ODBC driver.

b) "2 | Connected/No Data | " - the interface is connected to the ODBC Data Source but has not started the query executions yet.

c) "3 | Devices(s) in error | "  - ODBC Data Source communication failure.

d) “4 | Intf Shutdown | " – the interface was shut down.
Please refer to the UniInt Interface User Manual.doc file for more information on how to configure health points.

Vendor Software Required

The ODBC Driver Manager comes with Microsoft Data Access Components (MDAC). 
It is recommended to use the latest MDAC available at http://www.microsoft.com/data
(and search for the MDAC keyword).

The particular, RDBMS specific ODBC driver must be installed, and configured on the interface node.

Additional PI Software Included with Interface

The Control Program (CPPI) is a tool that assists in troubleshooting the interface. For more details see the section Control Program.

Device Point Types

For full description of the ODBC supported data types see the ODBC Programmer's Reference available on http://msdn.microsoft.com . The interface does some internal consideration in terms of mapping the RDBMS data types to PI data types and vice versa. For more info on this topic see section Mapping of SQL (ODBC) Data Types to PI Point Types – Data Input and  Mapping of Value and Status – Data Output.
Configuration Diagram

In the following pictures there is the basic configuration of the hardware and software components in a typical scenario used with the RDBMSPI Interface:




[image: image1]
Figure 1. Configuration Diagram – PI Home Node with PI Interface Node and RDBMS Node

[image: image2]
Figure 2.  Configuration Diagram – All PI Software and RDBMS installed on one node

Note: 
The communication between the RDBMPI interface and a PI Server is established via PI API as well as PI SDK libraries. PI SDK is used for reading (some of) the PI Point Database attributes, for replication of the PI Batch Database and for reading and writing to PI Annotations. PI API is primarily used for the actual data transfer (to and from PI Data Archive).

The communication between the RDBMSPI interface and the relational database goes through the ODBC library. The interface can thus connect a relational database, which runs either on an interface node or can be remote. This remote node does not have to be Windows platform!
Principles of Operation

· The PI Relational Database Interface runs on Windows 2000/XP/Win2003 Server/ Windows Vista operating systems as a console application or as an NT service. It uses the extended PI API and PI SDK to connect to the PI Server node, and the specified ODBC driver for connection to the Relational DataBase (RDB).   The Data Source Name (DSN) must be created via the ODBC Administrator (the Data Sources ODBC icon in Control Panel), and this DSN name is passed in the start-up parameters of the interface (e.g. /DSN=Oracle8). 

· SQL queries are provided by the user in form of either ASCII files, or via direct definition in the point's Extended Descriptor. Queries are executed according to the scan class type (cyclic or event driven) of a PI point holding the query definition. 

· When data is read from a relational database, the interface tries to convert the result- set of a SELECT query into the PI concept of: [timestamp], value, status.
The opposite direction - writing data out of the PI system, storing it to RDB tables – utilizes the placeholders approach (see corresponding section later on).

General Features Supported by the Current Version

· Query Timestamp, Value, Status and Annotation in RDB Tables

· Millisecond timestamp resolution
· Query data (input) for single tags
· Query data (input) for multiple tags (Tag Group)

· Query data (input) via TagName Key (Tag Distribution)

· Query data (input) via multiple TagName Key (RxC Strategy)

· Scan or Event based (input) SELECT queries or stored procedures calls

· Event or Scan based (output) UPDATE,  DELETE and INSERT queries

· Support of multiple statements (multiple SQL queries per tag)

· Statements in SQL file can be one single transaction (/TRANSACT)
· Support of stored procedures

· Support of runtime placeholders Timestamp (Scan Time, Snapshot Time,...), Value, Status and Annotation
· Support of all classic point attribute placeholders (AT.x)
· Support of placeholders for Timestamp, Value, Status, and Annotation of a Foreign Tag - tags outside the interface point source

· Support of batch placeholders for Batch replication (BA.x)
· Support for new batch system (batches and unit batches)

· Storage of point attribute changes (all point types) in RDB 

· Recovery option for output points

· Interface can run in different Timezone/DST settings than PI Server

· RDB timestamps as well as timestamps taken from PI (placeholders) can optionally be in UTC

· And many others.

Concept of Data Input from Relational Database to PI

The SELECT query is generally expected to provide a result-set consisting of the following columns: [timestamp], value, [status],[ annotation]. The interface then internally transforms the result-set according to the selected distribution strategy. For more information, see chapter Inputs to PI via SELECT Clause – Detailed Description. The following paragraphs briefly describe the individual strategies that can be used for getting data from an ODBC compliant database to PI:
Query for Single Tag – One Value per Scan

There are Distributed Control Systems (DCS) that keep only current values in relational database tables. Via the scan-based, simple SELECT queries the interface can read the data in the timely manner and emulate the behavior of a standard DCS interface. An example is getting data from an ABB IMS station. There is a dedicated chapter later on - SQL SELECT Statement for Single PI Tag that has more details. 
The disadvantage of this kind of data retrieval is low performance and accuracy that is limited to scan frequency. 

( Example available in Appendix B Examples
Example 1.1 – single tag query
Query for Single Tag – Multiple Values per Scan
A good strategy for high data throughput is to have low scan rates (e.g. 1 minute) instead of doing one query every second. In other words, getting the same amount of data in one call is faster than getting it in many calls. (This assumes that an RDB table gets populated by an INSERT, not UPDATE). The interface then gets just the newly inserted values since the last reading.

Note: Supported SQL syntax and parameter description (Pn) is given later in the manual.

( Example available in Appendix B Examples
 Example 1.2 – query data array for a single tag
Note: A typical low throughput query is:
SELECT Timestamp, Value, Status FROM Table WHERE Name= ?;
Extended Descriptor: P1=AT.TAG
Location2: 0
Here the interface only gets one row, takes the first row in the returned result-set in case the SELECT returns more than one row. That is, the interface works similarly to an online DCS interface – polls a row in RDB.

The higher performing query is like:
SELECT Timestamp, Value, Status FROM Table WHERE Timestamp > ? ORDER BY Timestamp;
Extended Descriptor: P1=TS
Location2: 1

The interface gets a succession of rows. Ideally, only the new rows since the last scan.
Tag Groups

Another way of improving performance (compared to reading value(s) for a single tag) is grouping tags together. The RDB table should be structured in a way that multiple values are stored in the same record (in more columns); e.g. transferring LAB data, where one data sample is stored in the same row. Querying Tag Groups can also be combined with getting complete time series per scan (Location2 = 1). Only one timestamp is allowed in a result set, and is used for time stamping of all tags in a group. 

Note:  The group is created out of points that have the same Instrument Tag attribute => Group member Tags share the same ASCII SQL file. 

More detailed description - see chapter SQL SELECT Statement for Tag Groups.

( Example available in Appendix B Examples 
Example 1.3 – three PI points forming a GROUP
Tag Distribution

Compared to Tag Groups, where grouping happens in the form of multiple value, status columns in a result-set; “Tag Distribution” means multiple records per query. Each record can contain data for a different tag. To achieve this, an additional field must be provided – a field that contains the tag name (or an alias) telling the interface to which target point a particular row should be distributed. More detailed description - see section SQL SELECT Statement for Tag Distribution.
The “Distributor Tag” defines the SQL statement. This point does not receive any actual (selected) data from the result set. Instead, it gets the number of all rows successfully delivered to target points and this number is time stamped by the current time. Such information is useful for administration purposes. Target points are thus found either according to their tag name (value retrieved in PI_TAGNAME column should match the tag name of the point), or according to /ALIAS=alias_key definition found in the Extended Descriptor of the particular target point.

Note: Target points have to be of the same scan class as the “DistributorTag” 
Target points thus do not have any SQL Query assigned (InstrumentTag is empty, 
no /SQL= definition in their ExtendedDescriptor) 

Note: It is required that the “Distributor Tag” is of point type numeric.

( Example available in Appendix B Examples
Example 1.4 – Tag Distribution
RxC Distribution (combination of Group and Distribution)

Some laboratory data in RDB tables have a common structure that looks like:

SAMPLETIME,
TANK,
LEVEL,LEVEL_STATUS,
TEMPERATURE, TEMPERATURE_STATUS,
DENSITY, DENSITY_STATUS,
…

To transform this kind of result-set to PI tags the interface implements a strategy that accepts data being structured as follows:

[PI_TIMESTAMP1],PI_TAGNAME1, PI_VALUE1, [PI_STATUS1],
[PI_TIMESTAMP2],PI_TAGNAME2, PI_VALUE2, [PI_STATUS2],
...

[PI_TIMESTAMPn],PI_TAGNAMEn, PI_VALUEn, [PI_STATUSn],

...


or, in case there is only one TIMESTAMP for all values in the query:


[PI_TIMESTAMP],PI_TAGNAME1, PI_VALUE1, [PI_STATUS1],
PI_TAGNAME2, PI_VALUE2, [PI_STATUS2],
...

PI_TAGNAMEn, PI_VALUEn, [PI_STATUSn],

...
Note: 
RxC only works with ALIASed column names (that is, column list in the SELECT statement is ALIASed, like SELECT name AS PI_TAGNAME1,…).
If tag names do not correspond to names returned in PI_TAGNAMEn columns, use the /ALIAS keyword in Extended Descriptor. This works similarly to Tag Distribution.
Note: Target points have to be of the same scan class as the Distributor Tag. 
Target points thus do not have any SQL Query assigned (their InstrumentTag is empty, 
and no /SQL= definition in their ExtendedDescriptor)

See also info in chapter SQL SELECT Statement for RxC .
( Example available in Appendix B Examples
Example 1.5 – RxC Distribution
Concept of Data Output from PI to Relational Database

Transferring data from PI to a relational database works similarly to RDB reading. 
A SQL query (usually INSERT) is prepared and then executed - either event driven (sign-up for snapshot), or on a periodical basis. The interface thus continuously forwards the snapshot values of any PI point to RDB via the run time placeholders (see section SQL Placeholders).  
For copying data from PI to a relational database, the event based approach is used most often. To achieve this, the output tag (a tag that executes the SQL statement) has a reference to its SourceTag. The SourceTag triggers the execution and the output tag itself gets the copy of the exported data (to verify the output operation). If the output operation fails; that is, the ODBC SQLExecute() function ends with an error, the output point gets the status “Bad Output.”
Note: Writing data to Relational Databases is normally configured via output tags (event based output). Nevertheless, input points can also be used to write data to a Relational Database on a periodical basis. In this case, input points execute an INSERT statement instead of an ordinary SELECT (see examples 2.1)


More detailed description can be found in chapter Output from PI.
( Examples available in Appendix B Examples:
Example 2.1a – insert sinusoid values into table (event based)
Example 2.1b – insert sinusoid values into table (scan based)
Example 2.1c – insert 2 different sinusoid values into table  (event based)
Example 2.1d – insert sinusoid values with (string) annotations into RDB table (event based)
SQL Statements

As outlined in the previous paragraphs, SQL statements are defined in ASCII files, or can be specified directly within the Extended Descriptor of a PI tag. Both options are equivalent. ASCII files are located in the directory pointed to by the /SQL=path keyword (found among the interface start-up parameters). Names of these files are arbitrary; the recommended form is “filename.SQL”. The ASCII SQL file is bound to a given point via the Instrument Tag attribute. In case the Instrument Tag field is empty, the interface looks for a SQL statement definition in the Extended Descriptor - searching for the keyword /SQL. If no statement definition is found, the point is accepted, but marked inactive. Such a tag would only receive data via Tag Distribution or RxC Distribution. 

Example: SQL statement definition in Extended Descriptor:

/SQL= "SELECT Timestamp,Value,0 FROM Table WHERE Timestamp>? ORDER BY Timestamp;" P1=TS

Note: The entire statement(s) definition text in the Extended Descriptor has to be surrounded by double-quotes (" ") and the semicolon ';'  marking the end of a particular query, is mandatory.

The same SQL statement defined in an ASCII file SQL_in_ASCII.SQL:

SELECT Timestamp,Value,0 FROM Table WHERE Timestamp>? ORDER BY Timestamp; 

InstrumentTag: 

SQL_in_ASCII.SQL 

Extended Descriptor:

P1=TS

Note: Both ASCII file and Extended Descriptor definitions can contain a sequence of SQL commands separated by semicolons ';'. When the interface works in the ODBC AUTOCOMMIT mode (default setting), each SQL statement gets committed immediately after the execution. 
Transaction can be enforced by the /TRANSACT keyword in the Extended Descriptor of a given tag; see section Explicit Transactions later on for more details

Prepared Execution

Once SQL statement(s) have been accepted by the interface (during the interface startup or after a point creation/edit), the corresponding ODBC statement handles are internally allocated and prepared. These prepared statements are then executed whenever the related tag gets scanned/triggered. This setup is most efficient when statements are executed repeatedly with only different parameter values supplied. On the other hand, some ODBC drivers are limited on the number of concurrently prepared ODBC statements (see the section Database Specifics), therefore the interface allows for the direct execution mode as described in the next paragraph:

Note:
Prepared Execution is the default behavior. It was the only option in previous versions of this interface (prior to version 3.0.6)

Direct Execution

The interface will use the “direct” ODBC Execution (will call the SQLExecDirect() function) when the start-up parameter /EXECDIRECT is specified. In this mode, the interface allocates, binds, executes and frees the ODBC statement(s) each time the given tag is examined. Direct execution has the advantage of not running into the concurrently prepared statement limitation known for some ODBC drivers (see chapter Database Specifics). Another situation where the direct execution is useful, are complex stored procedures, because the direct execution thus allows dynamic binding and effectively examining different result-sets these stored procedures can generate.
A disadvantage is slightly increased CPU consumption; nevertheless, this constraint doesn't seem to be that important today.

Language Requirements, ODBC API Conformance

The level of API conformance of the ODBC driver used is checked on the interface startup. The interface requires the ODBC driver to be at least of Level 1 API conformance (SQL_ODBC_API_CONFORMANCE) and SQL statements should comply with the MINIMUM Grammar (SQL_ODBC_SQL_CONFORMANCE). The information about the supported conformance level (both API and Grammar) is written into the interface specific log-file (in debug level 1, section “ODBC General Info:”) immediately after the interface starts. 

The following SQL statements are supported:

SELECT …

INSERT …

UPDATE …

DELETE …

Additionally, the interface allows for calling stored procedures:

{CALL StoredProcedureName( [parameter list])}


If the syntax of an SQL statement is invalid, or the semantics do not comply with any of the interface specific rules / data retrieval strategies (e.g. an appropriate SELECT statement construction is not recognized for an input point), the tag is refused immediately before the first statement execution. The related error message is written into the log-file and the SQL statement(s) (of the tag) are not processed.

Note:  It is highly recommended to test a new query for the interface with the MS Query tool (such a query is then more likely to be accepted by the interface). Current versions of MS Query also support placeholders ('?'), so even complex queries can be graphically produced and tested before handed over to the RDBMSPI Interface
Note:  The interface exhibits the ODBC 3.x behavior; that is, it sets the SQL_OV_ODBC3 environment attribute after it starts.  Some ODBC drivers appear to have problems with this and the interface cannot connect then. The following error might appear:

SQLConnect [C][01000]: [Microsoft][ODBC Driver Manager] The driver doesn't support the version of ODBC behavior that the application requested (see SQLSetEnvAttr() ODBC function description)

Should this error come up, please check if the latest MDAC version is installed and also consult the ODBC driver documentation in regards to ODBC 3.x and ODBC 2.x behavior.

SQL Placeholders

The concept of placeholders allows for passing runtime values onto places marked by question marks '?'. Question mark placeholders can be used in many situations, for example, in a WHERE clause of the SELECT or UPDATE statements, in an argument list of a stored procedure etc.  Placeholders are defined in the tag's Extended Descriptor attribute. The assignment of a placeholder definition to a given question mark is sequential. This means that the first placeholder definition (P1=…) in the Extended Descriptor refers to the first question mark found in the SQL statement, second question mark to the second definition and so on. The individual Pn definitions are separated by spaces.  The syntax and a short description of the supported placeholder definitions is shown in the following table:

	Placeholder Keywords for Extended Descriptor
	Meaning / Substitution in SQL Query
	Remark

	Snapshot Placeholders

	Pn=TS
	Timestamp taken from the interface internal Snapshot 
	Detailed description:
see section Timestamp Format

	Pn=LST
	Last Scan Time
	

	Pn=ST
	Scan Time

Input: Start of new scan for a scan class
Output: Time of output event
	

	Pn=LET
	Last Execution Time

Execution Time = time when query finished execution. Since queries can be time consuming, this time difference (LST vs. LET) should not be underestimated.
	

	Pn=VL
	Current value
	

	Pn=SS_I
	Current status integer representation
	

	Pn=SS_C
	Current status digital code string
	Max. 12 characters

	Pn= ANN_TS
	Annotation TimeStamp
	

	Pn= ANN_R
	Annotation (Float) Number
	

	Pn= ANN_I
	Annotation (Integer) Number
	

	Pn= ANN_C
	Annotation (VarChar) String
	

	Pn='tagname'/TS
	Timestamp taken from the PI Snapshot of the tag 'tagname'
	Tag name can contain spaces

	Pn='tagname'/VL
	Current value of the tag 'tagname' 
	Tag name can contain spaces

	Pn='tagname'/SS_I 
	Current status of the tag 'tagname' – integer representation


	Max. 80 characters

Tag name can contain spaces

	Pn='tagname'/SS_C
	Current status of the tag 'tagname' – string representation
	Max. 80 characters

Tag name can contain spaces

	Pn='tagname'/ANN_TS
Pn='tagname'/ANN_R
Pn='tagname'/ANN_I
Pn='tagname'/ANN_C
	PI Annotations taken from the PI Snapshot of the tag 'tagname'
	Tag name can contain spaces

	Archive Placeholders

	Pn='tagname'/VL('*',
previous)
Pn='tagname'/VL('*',next)
Pn='tagname'/VL('*',
interpolated)

	Note: See the more detailed description of the Pn='tagname'/VL('*',mode) 
syntax at the end of this section.

	The archive retrieval placeholders’ syntax ; that is, the: 
('*', mode)  can also be used with statuses (SS_I, SS_C) as well as with annotations (ANN_R,..).



	PI Point Database Placeholders

	Pn=AT.TAG
	Tag name of the current tag
	Max. 80 characters

	Pn=AT.DESCRIPTOR
	Descriptor of the current tag
	Max. 26 characters

	Pn=AT.EXDESC
	Extended Descriptor of the current tag
	Max. 1024 characters

	Pn=AT.ENGUNITS
	Engineering units for the current tag
	Max. 80 characters

	Pn=AT.ZERO
	Zero of the current tag
	

	Pn=AT.SPAN
	Span of the current tag
	

	Pn=AT.TYPICALVALUE
	Typical value of the current tag
	

	Pn=AT.DIGSTARTCODE
	Digital start code of the current tag
	

	Pn=AT.DIGNUMBER
	Number of digital states of the current tag
	

	Pn=AT.POINTTYPE
	Point type of the current tag
	Max. 1 character

	Pn=AT.POINTSOURCE
	Point source of the current tag
	Max. 1 character

	Pn=AT.LOCATION1
	Location1 of the current tag
	

	Pn=AT.LOCATION2
	Location2 of the current tag
	

	Pn=AT.LOCATION3
	Location3 of the current tag
	

	Pn=AT.LOCATION4
	Location4 of the current tag
	

	Pn=AT.LOCATION5
	Location5 of the current tag
	

	Pn=AT.SQUAREROOT
	Square root of the current tag
	

	Pn=AT.SCAN
	Scan flag of the current tag
	

	Pn=AT.EXCDEV
	Exception deviation of the current tag
	

	Pn=AT.EXCMIN
	Exception minimum time of the current tag
	

	Pn=AT.EXCMAX
	Exception maximum time of the current tag
	

	Pn=AT.ARCHIVING
	Archiving flag of the current tag
	

	Pn=AT.COMPRESSING
	Compression flag of the current tag
	

	Pn=AT.FILTERCODE
	Filter code of the current tag
	

	Pn=AT.RES
	Resolution code of the current tag
	PI2

	Pn=AT.COMPDEV
	Compression deviation of the current tag
	

	Pn=AT.COMPMIN
	Compression minimum time of the current tag
	

	Pn=AT.COMPMAX
	Compression maximum of the current tag
	

	Pn=AT.TOTALCODE
	Total code of the current tag
	

	Pn=AT.CONVERS
	Conversion factor of the current tag
	

	Pn=AT.CREATIONDATE
	Creation date of the current tag
	

	Pn=AT.CHANGEDATE
	Change date of the current tag
	

	Pn=AT.CREATOR
	Creator of the current tag
	Max. 80 characters

	Pn=AT.CHANGER
	Changer of the current tag
	Max. 80 characters

	Pn=AT.RECORDTYPE
	Record type of the current tag
	

	Pn=AT.POINTNUMBER
	Point ID of the current tag
	

	Pn=AT.DISPLAYDIGITS
	Display digits after decimal point of the current tag
	

	Pn=AT.SOURCETAG
	Source tag of the current tag
	Max. 80 characters

	Pn=AT.INSTRUMENTTAG
	Instrument tag of the current tag
	Max. 1024 characters

	Pn=AT.USERINT1,2
	Userint1,Userint2
	

	Pn=AT.USERREAL1,2
	Userreal1,Userreal2
	

	PI Point Change Placeholders

	Pn=AT.ATTRIBUTE
	Changed attribute
	Max. 32 characters

	Pn=AT.NEWVALUE
	New value 
	Max. 80 characters

	Pn=AT.OLDVALUE
	Old value
	Max. 80 characters

	PI Batch Database Placeholders
	Useable only beginning with 
PI Server 3.3 
and PI SDK 1.1+

	Pn=BA.ID
	Batch identification
	Max. 1024 characters

	Pn=BA.PRODID
	Batch product identification
	Max. 1024 characters

	Pn=BA.RECID
	Batch recipe identification
	Max. 1024 characters

	Pn=BA.GUID
	Batch GUID
	16 characters

	
	
	

	Pn=UB.BAID
	PIUnitBatch identification
	Max. 1024 characters

	Pn=UB.MODID
	PI Module identification 
	Max. 1024 characters

	Pn=UB.PRODID
	PIUnitBatch product identification
	Max. 1024 characters

	Pn=UB. PROCID
	PIUnitBatch procedure identification
	Max. 1024 characters

	Pn=UB.GUID
	PIUnitBatch GUID
	16 characters

	Pn=UB.MODGUID
	PI Module GUID (IsPIUnit = true)
	16 characters

	Pn=UB. START
	PIUnitBatch start time
	

	Pn=UB. END
	PIUnitBatch end time
	

	Pn=SB.ID
	PISubBatch identification
	Max. 1024 characters

	Pn=SB.GUID
	PISubBatch GUID
	16 characters

	Pn=SB.HEADID
	PISubBatch Heading
	Max. 1024 characters

	Pn=SB.START
	PISubBatch start time
	

	Pn=SB.END
	PISubBatch end time
	

	PI Batch Database Placeholders
	Useable with all PI Servers

	Pn=BA.BAID
	Batch unit identification
	Max. 256 characters

	Pn=BA.UNIT
	Batch unit
	Max. 256 characters

	Pn=BA.PRID
	Batch product identification
	Max. 256 characters

	Pn=BA.START
	Batch start time
	

	Pn=BA.END
	Batch end time
	

	Miscellaneous

	Pn="any-string"
	Double quoted string 
	Max. 1024 characters


Table 2. Supported Placeholders

Note: Pn denotes the placeholder number (n). These numbers must be consecutive and in ascending order. Example of an Extended Descriptor, referring to an SQL statement using 3 placeholders: P1=TS P2=SS_I P3=AT.TAG

Note:  Placeholders defined in the global variable file (/GLOBAL=full_path start-up parameter) start with character 'G' 

Example: P1=G1 … Pn=Gm, see section Global Variables.
Note: If the same placeholder definition is used multiple times in a query, it is possible to shorten the definition string, using a back reference:

Example:  P1=TS P2=VL P3="Temperature" P4=SS_I P5=P3

Note:  For valid events, SS_C will be populated with the string “O.K.”

More Detailed Description of  Pn='tagname'/VL('*',mode) Placeholder


For output tags, the syntax with the reference tag placeholders; that is, 'tagname'/VL, means the tagname’s snapshot value.  However, the event times do not always have to correlate with the snapshot of the referenced tags. This situation can, for instance, happen when the interface tries to re-establish the connection to the relational database. 
The problem is that during the re-connection process the interface does not empty the event queue; the queue gets regularly emptied only after the ODBC connection was re-created, but after the ODBC re-connection, the snapshot timestamps of the referenced tags can potentially be already newer than the source tags events taken from the queue. 
The 'tagname'/VL construction was thus insufficent. Therefore, the interface  version 3.15 implemented a new placeholder syntax, specifying which archive value needs to be retrieved for the referenced tag: 'tagname'/VL('*',mode).  The table below summarizes what values will be taken from the PI Archive for the referenced tags (tagname). 


Note: The star '*' in Pn=’tagname’/VL('*',mode) syntax denotes the event time 
(for output tags, it is usually the source tag event). 

	Value at event time 
exists  
for the tagname

Pn='tagname'/VL('*',mode)

	Mode
	Result
(value of the referenced tag at the event time)

	No
	Previous
	The first value before the event time.

	Yes
	Previous
	Value at the event time.

	No
	Next
	The first value after the event time. 

Error, if the event time > referenced tag snapshot.

	Yes
	Next
	Value at the event time.

	No
	Interpolated
	Interpolated value at the event time.

	Yes
	Interpolated
	Value at the event time.



Table 3. 'tagname'/VL('*',mode) Placeholder

Binding of Placeholders to SQL (ODBC) Data Types

In order to assist database administrators in setting-up correct RDB tables, following description shows the assignment of the placeholders to SQL data types.
When testing against different databases and ODBC drivers, it is helpful to automatically support more than one data-type. For example, integer fields in dBase appear as data type SQL_DOUBLE while most of the databases use SQL_INTEGER. The interface therefore has a fallback data type (see the "If error" in the next table:).

	Placeholder and PI Data Type
	RDB Data Type

	Snapshot Placeholders

	TS, ST, LET, LST ANN_TS for all PI point types
	SQL_TIMESTAMP

	VL for real tags
ANN_R for all PI point types
	SQL_REAL
If error ( SQL_FLOAT

	VL for integer tags
	SQL_INTEGER
If error ( SQL_FLOAT

	VL for digital tags
	SQL_VARCHAR

	VL for string tags
	SQL_VARCHAR

	SS_I, ANN_I for all PI point types
	SQL_INTEGER
If error ( SQL_FLOAT

	SS_C, ANN_C for all PI point types
	SQL_VARCHAR


	PI Point Database Placeholders

	AT.TAG, AT.DESCRIPTOR, AT.EXDESC, AT.ENGUNITS, AT.POINTTYPE , AT.POINTSOURCE, AT.CREATOR , AT.CHANGER, AT.SOURCETAG, AT.INSTRUMENTTAG, AT.ATTRIBUTE, AT.NEWVALUE, AT.OLDVALUE, "any_string"
	SQL_VARCHAR

	AT.DIGSTARTCODE, AT.DIGNUMBER, AT.LOCATION1, AT.LOCATION2, AT.LOCATION3, AT_LOCATION4, AT.LOCATION5, AT.SQUAREROOT, AT.SCAN, AT.EXCMIN, AT.EXCMAX, AT.ARCHIVING, AT.COMPRESSING, AT.FILTERCODE, AT.RES, AT.COMPMIN, AT.COMPMAX, AT.TOTALCODE, AT.RECORDTYPE, AT.POINTNUMBER, AT.DISPLAYDIGITS, AT.USERINT1,AT.USERINT2
	SQL_INTEGER

If error ( SQL_FLOAT
If error ( SQL_DOUBLE

	AT_TYPICALVALUE, AT_ZERO, AT_SPAN, AT_EXCDEV, AT_COMPDEV, AT_CONVERS AT.USERREAL1,AT.USERREAL2
	SQL_REAL
If error ( SQL_FLOAT


	Placeholder and PI Data Type
	RDB Data Type

	PI Batch Database Placeholders

	BA.ID,BA. BAID, BA.UNIT, BA.PRODID, BA_GUID, BA_PRODID, BA_RECID, UB_BAID, UB_GUID, UB_MODID, UB_MODGUID, UB_PRODID, UB_PROCID, SB_ID, SB_GUID, SB_HEADID
	SQL_VARCHAR

	BA.START, BA.END, UB.START, UB.END, SB.START, SB.END
	SQL_TIMESTAMP



Table 3. Mapping of Placeholders onto RDB Data Types

Note: The 'If Error' means - when the ODBC function SQLBindParameter() fails using one data type, the second one is used. 
In addition, if the ODBC driver complies to Level 2 ODBC API conformance, or more precisely, ODBC driver supports the 'Level 2' - SQLDescribeParam() function, the interface binds the relevant variables to the appropriate data types - based on the info returned by the SQLDescribeParam() function. Otherwise the binding is hard-coded according to the above stated table. 

Timestamp Format

Even though the timestamp data type implementation is not consistent among RDB vendors, the ODBC specification nicely hides the inconsistencies. For an ODBC client, the timestamp data type is always unified (the ODBC data type marker for a timestamp column is SQL_TIMESTAMP). Thanks to this unification, the generic ODBC clients can easily work with many data sources without worrying about the data type implementation details.
The RDBMSPI interface recognizes two kinds/places of timestamps in queries it executes: 
· Input timestamps (those used in the SELECT's column lists, which are, along with the value, sent to PI) 
· Timestamps used as query parameters (through placeholders). 
This chapter briefly describes both of them. 
Timestamps in SELECT’s List

The interface by default expects that the input timestamps are the native timestamps (SQL_TIMESTAMP). However, in the RDBMSPI Interface version 3.14 and greater, it also allows for the numeric representation of a time. For example, in an RDB table, the timestamp column can be in the numeric form: Double or Integer. The numeric timestamps then represent the number of seconds since 01-Jan-1970. One of the advantages/reasons why the numeric timestamps are implemented is that the double timestamp can go behind the millisecond precision (the ODBC's SQL_TIMESTAMP can only store milliseconds). An example of a SELECT with a numeric timestamp column can be shown as follows:

SELECT time-as-number AS PI_TIMESTAMP, value AS PI_VALUE, 0 AS PI_STATUS FROM table WHERE …;

The interface detects that the time-as-number is not SQL_TIMESTAMP, and transforms the number to the PI timestamp automatically.

Note: The timestamp-as-number can only be used in aliased mode 
(see chapter Data Acquisition Strategies - Option 2: Arbitrary Position of Fields in a SELECT Statement - Aliases).

The numeric timestamps can also only be used in the SELECT column list. The interface will not bind the timestamp placeholders to them. The following query will therefore NOT be accepted:

SELECT time-as-number AS PI_TIMESTAMP, value AS PI_VALUE, 0 AS PI_STATUS FROM table WHERE time-as-number > ?; P1=TS

To overcome this, the number has to be converted to the timestamp explicitly. Following are two examples that show how to convert the time-as-number column to the native timestamp. The first example uses the ODBC extension function TimestampAdd(), the second is an example that uses the Oracle’s built in function To_date():
SELECT time-as-number AS PI_TIMESTAMP, value AS PI_VALUE, 0 AS PI_STATUS FROM table WHERE 
{fn TIMESTAMPADD(SQL_TSI_SECOND,time-as-number,
'1970-01-01 00:00:00')} > ?; P1=TS

SELECT time-as-number AS PI_TIMESTAMP, value AS PI_VALUE, 0 AS PI_STATUS FROM table WHERE (to_date('01-Jan-1970') + time-as-number /(24*3600)) > ?; P1=TS

Note: Both examples can only convert numbers (in the WHERE clause) that represent whole seconds since 01-Jan-1970. I.e. the millisecond part is truncated in the conversion.

Timestamps as Query Parameters - Placeholders

The tables below lists all the time related placeholders’ definitions supported by the interface. Because there are implementation differences between input and output points the first table describes keywords used with input points:
	Keyword
	Time Used

	Input:
	

	TS
	Time Stamp  (PI Snapshot Time)

Example:
I/f scans the RDB table for newly arrived values – rows and the amount of selected rows is INDEPENDENT of the scan frequency.

SELECT Time,Value,0 WHERE Time > ? ORDER BY Time ASC; P1=TS 

Relevant note for input points:

Due to the exception reporting mechanism – this time placeholder does not always correspond to the visible PI Snapshot. In fact, it is the latest value of a tag arrived from a query. This time is kept by the interface internally.

Example:
SQL statement for the input point:

SELECT Time,Value,0 FROM Table WHERE Time > ?; P1=TS

Current snapshot time is: 

20-Oct-2000 08:00:00
Latest timestamp in the result set: 
20-Oct-2000 08:01:10   
Placeholder P1 is populated with:  
20-Oct-2000 08:01:10
Since PI accepts only snapshot times that are no further than 10 min ahead of the PI Server time one should be aware of a situation that time retrieved from RDB can violate this limitation. Even if data that failed to go to the PI Server can be queried again, it is recommended to avoid this situation (and so avoid unnecessary error messages generated to the PI message log). A possible solution can be to construct a query with a safeguard, which out-filters the future data entries:

SELECT Time,Value,0 FROM Table WHERE Time > ? AND Time < sysdate+10*60/86400; P1=TS

in the above query - the 'sysdate' is Oracle's current time and '10*60/86400' is an expression for 10 minutes. For other-than-Oracle RDBMSs the query will of course look different. Another prerequisite is having the PI Server and RDB times synchronized.


	LST
	Last Scan Time 

Can be used to limit the amount of data obtained by executing the SELECT query to only newly inserted rows since the last scan.  The amount of selected rows is therefore DEPENDENT on the scan frequency (allows longer scan periods at the cost of potentially bigger result-sets).

Example:
SELECT Time,Value,0 WHERE Time > ? ORDER BY Time ASC; P1=LST 

Note: LST is always updated, even if the query fails

	ST
	Scan Time.

Time when a given scan class is scheduled.
A good example is to use this time to avoid transfer of future data from a table 

Example:
SELECT Time,Value,0 WHERE Time > ? AND Time < ? ORDER BY Time ASC; P1=TS P2=ST

	LET
	Last Execution Time

Time when the previous tag execution has finished. Queries can take some time to execute and LET thus differs from LST. 

When there are more statements defined (that is, a batch of SQL statements is executed), LET is the time when the last statement finished execution.
That also means that LET is different for each query.

Note: LET is not updated if a query fails.
On multi-statement query files LET is updated until the first query fails (no further queries are executed in the batch).

	ANN_TS
	PI Annotation in the form of DateTime. If the tag’s snapshot does not have any annotation, the value is undefined (NULL).




Table 4. Timestamp Placeholders – Input Points




The output direction (INSERT, {CALL()}) interprets the placeholders as follows:
	Keyword
	Time Used

	Output:
	

	TS
	Snapshot Time Stamp of a source tag (for an output tag), or any foreign tag pointed to by its name ('tag name'/TS)

Example:
INSERT INTO Table (Time,Value) VALUES (?,?); 
P1=TS P2=VL

Note: The first question mark will be populated by the Source Tag's snapshot. I.e. it is not necessary to define P1 as P1='sourcetag'/TS

	ST
	At interface startup:  ST=Snapshot Time, from that time on:  ST=event time

	ANN_TS
	PI Annotation in the form of DateTime. If the tag’s snapshot does not have any annotation, the value is undefined (NULL).


Table 5. Timestamp Placeholders – Output Points

Important Considerations Related to Timestamps

· Timestamp Placeholders are populated with Snapshot Time at Interface Start-up.

At interface startup, all timestamp placeholders are preset with the PI snapshot times. This, for example, allows for the temporary stops of the interface in case the input query is like:
SELECT … WHERE Time > ?; P1=TS
One can stop the interface for a while, let the data ‘buffer’ in an RDB table and the first query execution after the interface start will get all the rows since the last one retrieved; that is, since the snapshot timestamp.
If the ANN_TS placeholder is used and the snapshot of the corresponding PI tag is not annotated, the value of this placeholder is undefined (NULL).


· Internal Interface Snapshot.

For input tags - the TS will be taken from the internal interface snapshot. This is not the same as the PI Snapshot timestamp since exception reporting runs on the interface side. For example, if the RDB table stores new rows where the value remains stable or does not change that much for a long time, the PI snapshot will not be updated. The following query can thus potentially keep returning the same rows each scan (till there is a value that passes the exception test and makes it to PI):

SELECT … WHERE Time > ? ORDER BY time ASC; P1=TS
the internal interface snapshot will avoid it.


· SELECT Statement without Timestamp Column.

The interface offers the execution time for the input points when an RDB table does not have the timestamp column available. If the interface runs on an API node, the employed execution time is synchronized with the PI Server. 
An example of the timestamp-less query can be as follows:

SELECT Value,0 FROM Table WHERE …;

Another alternative is to use the timestamp provided by the RDB. Either use the ODBC function {Fn NOW()} or use the appropriate (database specific) built-in function. The second query uses the Oracle's sysdate() function:

SELECT {Fn NOW()},Value,0 FROM Table WHERE …;
SELECT sysdate,Value,0 FROM Table WHERE …;


· Timestamps have to Contain Both – Time and Date
The interface always expects the full timestamp (date+time). It does not implement any automatic date completion in case there is just the time column available in RDB.

Inputs to PI via SELECT Clause – Detailed Description

For passing values in the direction from RDB to PI, one has to configure PI tags that define either a SELECT query or a Stored Procedure call (which returns data in the form of a result-set). The retrieved data is then sent to corresponding PI points according to the specified distribution strategy (see the Data Acquisition Strategies chapter later on). Before diving into the acquisition strategies details, a short discussion about how the interface handles NULLs and result-sets that contain more than one row:

NULL Columns

As NULLs can come in any column of the SELECT list, the interface applies the following rule before it sends such a row to PI:

· If the timestamp column is NULL, the execution time is used. 

· If the status column is NULL and the value column is not NULL, the value is valid. 

· When both, the value and the status are NULLs (or just the value is NULL) 
the No Data digital state is used to indicate the fact that the expected value is absent.

For further details see section Evaluation of STATUS Field – Data Input.
Bulk Data Input

Location2 decides if the whole result-set (an array) of SELECTed rows will be sent to PI or whether the interface takes just the first row:

	Location2
	Bulk Option

	0
	Only the first row in the result-set is used.  

	1
	The interface sends all rows of the selected result-set to PI.



Table 6. Location2 and Bulk Reading

Note:  When Location2 = 1 (bulk read), it is advisable to sort the result-set by the timestamp column in the ascending order. Only then the PI System can support exception reporting and compression mechanism. The following example shows a suitable query: 
SELECT Timestamp,Value,0 FROM Table WHERE Timestamp > ? ORDER BY Timestamp ASC; P1=TS
Data Acquisition Strategies

To interpret records obtained by a SELECT statement in a flexible way, different data acquisition strategies can be defined. An individual acquisition strategy is recognized according to the Location3 attribute of a given tag. The following table summarizes the Location3 options:

	Location3
	Data Acquisition Strategy

	0
	SQL query populates a Single PI Tag.

	> 0
	Selects the Tag Group mode.
Location3 points to the column number of a multiple field query, where the indexed column contains data for this particular group-tag.

	-1
	Selects the Tag Distribution mode.
The SQL statement must return a key to denote the particular point.

	-2
	Selects the RxC Distribution mode
SELECT must return a result-set fitting to the following frame:

[PI_TIMESTAMP], PI_TAGNAME, PI_VALUE, [PI_STATUS], PI_TAGNAME, PI_VALUE, [PI_STATUS] ...




Table 7. Location3 Decides about Reading Strategy

SQL SELECT Statement for Single PI Tag
Option1: Fixed Position of Fields in a SELECT Statement 

To properly recognize the meaning of values read from a relational database, 
the following column sequence has to be kept:

SELECT [Timestamp,] Value, Status FROM Table ...;

If provided, the interface always expects the Timestamp field to be in the first position followed by the Value and Status columns. The interface detects the Timestamp field by checking the field-data-type against SQL_TIMESTAMP ODBC data-type marker. If a database does not support timestamps (like the dBase IV), and the timestamp is expressed in the string data type (SQL_CHAR), the query has to use the CONVERT() scalar function (or the ANSI CAST() ) to get the required timestamp data type.

See section Timestamp Format for more details.

In this strategy, valid combinations (positions) of the Timestamp, Value and Status fields in the SELECT statement are:

· SELECT Timestamp, Value, Status FROM Table...

· SELECT Value, Status FROM Table...

Note: The mandatory STATUS column can be provided in the form of a constant expression (zero) if the database stores only the value; that is:
SELECT Value,0 FROM Table …
is a valid query.

Option 2: Arbitrary Position of Fields in a SELECT Statement - Aliases

If the ODBC driver supports aliases, the interface offers keywords that are recognized and translated to the concept of Timestamp, Value, Status and Annotation as is it implemented in PI. By naming (aliasing) the columns there is no need to stick to the fixed positions of columns (like described in previous section). The corresponding keywords are:  
PI_TIMESTAMP, PI_VALUE, PI_STATUS, PI_ANNOTATION
E.g. the following query:

SELECT Time AS PI_TIMESTAMP, Value AS PI_VALUE, Status AS PI_STATUS, Annotation AS PI_ANNOTATION FROM…

is equivalent with 

SELECT Value AS PI_VALUE, Status AS PI_STATUS, Time AS PI_TIMESTAMP, Annotation AS PI_ANNOTATION FROM …

Note: In debug mode, the interface prints out the alias support information to the log file (whether the ODBC driver supports aliasing or not). (Debug level 1 ( /deb=1)

Note: Since interface version 3.11, also the timestamp and status column are optional in the aliased mode. The following statement is therefore accepted:
SELECT value AS PI_VALUE FROM Table;

Since interface version 3.15, the Annotation column can also be specified. 
It’s usage is optional and only supported in the Aliased mode. The following query shows how to input annotations to a PI Tag:
SELECT time AS PI_TIMESTAMP, value AS PI_VALUE, annotation AS PI_ANNOTATION FROM Table;

Since interface version 3.15, the PI Tag can be of the data type Timestamp. Input into this data type is also only possible in the Aliased mode. That is:
SELECT time AS PI_TIMESTAMP, value AS PI_VALUE FROM Table;

( Example available in Appendix B Examples, 
Example 3.1 – Field Name Aliases
Example 1.6 – Single Input with PI Annotations
SQL SELECT Statement for Tag Groups
One SELECT statement can be the source of data for multiple PI tags – a Tag Group. The filename that is stated in the InstrumentTag attribute is considered to be an unambiguous key that forms the group. This means that each member of the group must use the same SQL query file. Nevertheless, only one tag executes the SQL statement(s), the Master Tag.  This tag has Location3 attribute set to 1 or 2 and, additionally, holds all the placeholder definitions (P1=… in the ExtendedDescriptor). It is not required that the other group members have those placeholders defined, but their Location3 must be greater than zero to mark the group-member position (index) in a group.

Note: Single input tags can also share one SQL statement file (same InstrumentTag attribute), but they do not form a group because their Location3 = 0.

Option 1: Fixed Position of Fields in SELECT Statement 

All the tags in a group should be numbered/indexed (Location3) and the index points to the position of a column in the SELECT list. Furthermore, the Master tag has to have the Location3 parameter set to either 1 or 2 (depending on whether the optional timestamp field is available or not). 

( Example available in Appendix B Examples, 
Example 3.2 – fixed column positions
Note: If the SELECT statement contains the optional timestamp field, Location3 sequence is 2, 4, 6 … otherwise it would be 1, 3, 5 …   Location3 of a group member tag therefore reflects the real column position in the SELECT column list.

Points in a group can be of different data type. E.g. Tag1 is Float32; Tag2 is String.

	Tag
	Instrument
Tag
	Extended Descriptor
	Location2
	Location3
	Comment

	Master tag
	Filename.SQL
	P1=…
	0
First row only


1
Bulk read
	1 
If no timestamp field used  

2 
If the first field is timestamp

	

	Group member(s)
	Filename.SQL
	
	Not evaluated
	Field number of the value field

	All tags refer to same SQL  statement



Table 8. Location2 and Location3 & Group Strategy

Note: PI points with SQL statements defined in the Extended Descriptor (Instrument Tag attribute is empty) cannot form a group.

Option 2: Arbitrary Position of Fields in SELECT Statement - Aliases

The real column names in the RDB tables can be re-named (aliased) to the interface known keywords PI_TIMESTAMP, PI_VALUEn, PI_STATUSn, PI_ANNOTATIONn:
( Example available in Appendix B Examples, 
Example 3.3 – arbitrary column position - Aliases
Numbers used in column names (PI_VALUE1, PI_STATUS1…) correspond to the numbers stated in Location3.  The main difference to the numbering scheme used in the fixed position strategy is that Value and Status are equally numbered. This number therefore does not correspond to a position of a column in the SELECT statement. 
The Master Tag (point that actually gets executed) is recognized by  Location3 = 1.

SQL SELECT Statement for Tag Distribution
Option 1: Fixed Position of Fields in SELECT Statement

Second possibility (next to the Tag Groups) to get data for multiple PI points (out of one result set), is to have one field configured as a key (e.g. the name of a point).  
A SELECT statement like:

SELECT [Timestamp], Tagname, Value, Status FROM Table WHERE Timestamp > ?;

will then produce a suitable result-set:

[timestamp1,] tagname1, value1, status1
...

[timestampX,] tagnameX, valueX, statusX

... 

The query execution is again controlled by one PI tag, a tag that carries the actual SQL command. This tag is called the Distributor Tag. The Distributor Tag and the Target Tags must have the same PointSource and Location1 and, furthermore, they have to be of the same scan class - same Location4; otherwise the interface will not distribute the selected rows to the Target Tags.

Note:  When the Distributor Tag is EVENT based, Location4 of the Target Tags has to be 0.

Note: String comparison of data in the tag name column against PI tag names is case INSENSITIVE.

Distributor Tag and Target Tag Attributes
	Tag
	Instrument
Tag
	Extended Descriptor
	Location2
	Location3
	Location4

	Distributor tag
	Filename.SQL
	P1=…
	Not evaluated
	-1
	n

	Target tag
	
	
	Not evaluated
	Not evaluated

	n

	…
	
	
	Not evaluated
	Not evaluated
	n



Table 9. Location2 and Location3 & Distributor Strategy

Note:  The difference between the Master Tag (Tag Groups) and the Distributor Tag (Tag Distribution) is that the former is populated with the SELECTed data, the latter does not. The Distributor Tag only executes the query and is responsible for directing the data to appropriate targets. The name of the Distributor Tag should thus not be listed (appear) in the result set as the key, because the interface stores the number of rows retrieved and successfully distributed to target points in it. Distributor Tag is also time-stamped with current time. This reading strategy thus behaves differently than a SELECT query providing data for a single tag in relation to the TS placeholder. To construct a query that behaves similarly to the Single Tag Reading, it is advisable to use a UNION of as many SELECTs as there are target points. Each SELECT in this UNION will have a placeholder pointing to a timestamp of the corresponding target. For example:
SELECT pi_time, pi_tagname, pi_value,0 FROM Table WHERE pi_tagname LIKE 'target1' AND pi_time>? UNION ALL
SELECT pi_time, pi_tagname, pi_value,0 FROM Table WHERE pi_tagname LIKE 'target2' AND pi_time>?; P1='target1'/TS P2='target2'/TS
( Example available in Appendix B Examples, 
Example 3.4a – Tag Distribution, search according to real tag name

The aforementioned construction obviously cannot be used in situations when there are many targets. To reasonably limit the number of retrieved rows for each scan; one can consider the following options:
1) Use/create an additional column in the queried table that will be UPDATEd after each scan. I.e. the next statement (after the SELECT) will have to be an UPDATE that will mark each row that has already been sent to PI. The WHERE condition of the SELECT query will then out-filter the marked-as-read rows.

( Examples available in Appendix B Examples,
Example 3.4c – Tag Distribution with Auxiliary Column - rowRead
2) A variation of the above is to create an additional table in RDB consisting of two columns – TagName and Time. The interface will have to UPDATE this table after each scan with the most recent times of those TagNames that have been just sent to PI. This table will thus remember the most recent time (snapshot) of the involved tags in RDB. The actual SELECT will then be a JOIN between the data table and the snapshot table. I.e., it will deliver only rows (from the data table) that have the time column newer than is recorded in the snapshot table.

( Examples available in Appendix B Examples, 
Example 3.4d – Tag Distribution with Auxiliary Table Keeping Latest Snapshot
3) The number of returned rows can be limited via a WHERE clause that will ask only for rows that have the time column falling into a certain time-window (e.g. some time from now). In PI terminology one will use the following syntax: time > '*-1h'. 
In combination with the /RBO switch (see the description of this switch later on), the interface will only store those rows that have not been sent to PI yet. Yes, the time-window has to be wide enough to accommodate new entries (in RDB) that come into the data table between the interface's scans. On the other hand, the time-window mustn't be too wide so that the interface doesn't read the same rows each scan (only to throw them away, because the /RBO finds out these entries are already in the PI archive).
( Examples available in Appendix B Examples, 
Example 3.4e – Tag Distribution in Combination with /RBO and  Time-Window

/ALIAS


Since names of variables in RDB might not exactly correspond to PI tag names, the optional keyword /ALIAS is supported. This allows mapping of PI points to rows retrieved from the relational database where there is no direct match between the PI tag name and a value obtained from a table. Please note that this switch causes the case SENSITIVE comparison.
( Example available in Appendix B Examples, 
Example 3.4b – Tag Distribution, search according to tag's ALIAS name
Note: String comparison of the tag name column containing the value that is compared to the  /ALIAS definition in the Extended Descriptor of a target tag is case SENSITIVE.


PI2 Tag Name Matching Rules


PI2 tag names are always upper case. If using PI2 short names, they are internally evaluated in their delimited form e.g. XX:YYYYYY.ZZ  => spaces are preserved -  'XX:YYYY  .ZZ'

PI3 Tag Name Matching Rules

PI3 tag names preserve the case.

Note:  If the TagName column in RDB has a fixed length CHAR(n), the interface tries to automatically strip the possible trailing spaces for the comparison. To avoid this, just convert the TagName column via the CONVERT() scalar function to SQL_VARCHAR. 
SELECT Time, {Fn CONVERT(PI_TagName, SQL_VARCHAR)},…


Option 2: Arbitrary Position of Fields in SELECT Statement - Aliases

Using aliases in a SELECT statement containing the TagName column is also possible. 

SELECT Time AS PI_TIMESTAMP, Name AS PI_TAGNAME …

The interface then recognizes the column meaning by the following known keywords: PI_TIMESTAMP, PI_TAGNAME, PI_VALUE, PI_STATUS, PI_ANNOTATION
Note: Do not mismatch the column name aliases (SELECT original_name AS other_name) with the /ALIAS keyword used in the Extended Descriptor.

( Example available in Appendix B Examples, 
Example 3.5 – Tag Distribution with Aliases in Column Names
Signaling that not all Rows were Successfully Distributed

Since RDBMSPI version 3.13, the interface informs about the fact that not all selected rows (in a scan) were successfully delivered to the corresponding target tags; 
the @rows_dropped variable is set to true. Its type is boolean and the following construction can be used:

SELECT Time AS PI_TIMESTAMP, Name AS PI_TAGNAME … FROM Table1 WHERE Time > getdate()-1 ORDER BY Time,Name;

WHILE @ROWS_DROPPED INSERT INTO Table2 (Name,Time,Value) 
VALUES (?,?,?) LOOP; P1=AT.TAG P2=TS P3=VL

The aforementioned construction remembers which rows did not make it into the target tags. The interface keeps this info in an internal container and the next statement after the select loops through this container and executes the INSERT, which stores the not-delivered rows into a dedicated table in RDB. The undelivered rows are thus preserved and can be processed later on.

Nite: The @rowws_dropped  variable only works in the Tag Distribution strategy. 
I.e. it is not implemented for the RxC Distribution (see below).
SQL SELECT Statement for RxC Distribution

The Tag Distribution strategy is further extended so that it can contain entries for multiple PI tags in one row. This is called RxC Distribution, because the record-set looks like a matrix with columns, which keep information that is logically related (for example: a value, a quality and a comment); in PI, more than one tag is needed for this. 
The following bullets list the main RxC features:

· Only the following column names are accepted (ALIAS scheme):
PI_TIMESTAMPn, PI_TAGNAMEn, PI_VALUEn, PI_STATUSn, PI_ANNOTATIONn 
(PI_STATUSn and PI_ANNOTATIONn are optional)

· In case there is just one timestamp for the entries in a row, the keyword PI_TIMESTAMP has to be used (Example 3.6b – RxC Distribution using  PI_TIMESTAMP keyword)

· Location3 = -2 

· /ALIAS keyword in Extended Descriptor works the same way as in Tag Distribution - see the above section.
( Example available in Appendix B Examples, 
Example 3.6 – RxC Distribution
Event based Input

Input points can be scan based as well as event based (whenever the snapshot value of a trigger tag changes, an event is generated).  To achieve this, the keywords /EVENT=TagName or /TRIG=TagName have to be specified in the input tag's Extended Descriptor. The statement (usually SELECT) is then processed each time the Event Tag snapshot changes.

( Example available in Appendix B Examples, 
Example 3.7 – event based input
Note: The /EVENT=TagName keyword should be separated from the next keyword definition by the comma ',' like: /EVENT=sinusoid, /SQL="SELECT …;"
Note: If no timestamp field is provided in the query, the retrieved data will be stored in PI using the event timestamp rather than the query execution time.

As of RDBMSPI 3.11, conditions can be placed on trigger events.  Event conditions are specified in the extended descriptor as follows:

/EVENT=’tagname’ condition
The trigger tag name must be in single quotes.  For example:

/EVENT=’Sinusoid’ Anychange
will trigger on any event coming from tag 'Sinusoid' as long as the next event is different than the last event.  The initial event is read from the snapshot. 

For a complete list of available keywords see the ExDesc definition in chapter PI Point Configuration.

Mapping of Value and Status – Data Input 

A single PI tag can only ‘historize’ value or status, but never both together. Therefore a consistent method of mapping a given value / status pair (SELECTed from an RDB table) into the PI concept is provided. PI System interfaces mostly apply the following rule:
If the status of a value is ‘good’, store the value.

If the status of a value is other than ‘good’, store the status instead.

Note: Any requirement that goes beyond that needs more than one tag.


Previous sections of this manual demonstrate that the interface requires both Value and Status (in the SELECT field list). The following paragraphs will explain how these two fields make it into various PI point types.

Mapping of SQL (ODBC) Data Types to PI Point Types – Data Input

In general, the following columns can appear in the SELECT list:

TIMESTAMPn

TAGNAMEn (see section SQL SELECT Statement for Tag Distribution)
VALUEn


STATUSn

To be able to process the aforementioned fields, the interface makes some considerations for their data types. The following table shows what combinations of PI point types and SQL column data types (used in SELECT queries) are valid. Tags that do not match those criteria are rejected by the interface. This does not mean that those tags cannot be serviced at all. It only means that additional explicit conversion might be required. 

The following tables list the allowed RDB data types in combination with PI tag types:

	Input Field
	SQL Data Type
	PI Point Type

	Timestamp
	SQL_TIMESTAMP
	All PI point types

	Tag name
	SQL_CHAR, SQL_VARCHAR,  SQL_LONGVARCHAR
	All PI point types

	
	Real (R) 
	Integer(I)
	Digital(D)
	String(S)

	Value
	Approximate (floating points) data types

SQL_NUMERIC, SQL_DECIMAL,  SQL_REAL , SQL_FLOAT, SQL_DOUBLE
	Cast to the particular floating-point type.
	Cast to long integer 
	Cast to integer and  interpreted as pointer to Digital State Set
	Converted from floating-point to string.

	
	Exact (integer) data types

SQL_TINYINT, SQL_SMALLINT, SQL_INTEGER,    SQL_BIGINT,    SQL_BIT
	Cast to the particular floating-point type.
	Cast to the particular integer type
	Interpreted as pointer to Digital State Set
	Converted from integer to string.

	
	Character data types 

SQL_CHAR, SQL_VARCHAR , SQL_LONGVARCHAR
	Converted from string to double. (The double number is after that cast to the particular floating-point PI type.)
	Converted from string to long integer and cast to integer PI data type.
	Checked against Digital State Set.
	Retrieved number of bytes copied.

	Status
	See section Evaluation of STATUS Field – Data Input  below.



Table 10. RDB Data Types to PI Point Types Mapping - Value

Note: The full conversion of all possible data types supported in SQL to PI data types goes beyond the ability of this interface. To allow additional conversions, use the ODBC CONVERT() function described below or use the ANSI CAST().

Syntax and Usage of ODBC CONVERT() Scalar Function or ANSI CAST()

Explicit data type conversion can be specified as: 

CONVERT (value_exp, data_type)

Where the value_exp is a column name, the result of another scalar function or a literal value. The data_type is a keyword that matches a valid SQL data type identifier.

Examples:

{ Fn CONVERT( { Fn CURDATE() }, SQL_CHAR) }

converts the output of another scalar function CURDATE() to a string.

{ Fn CONVERT( ?, SQL_CHAR) }

converts the parameter ('?') to a string.

Note:  More information about the CONVERT() function can be gained from the ODBC.CHM file, which comes with the MSDN Library or from the documentation of a certain ODBC driver.

The ANSI CAST() function has similar functionality as the CONVERT(). As CAST is not ODBC specific, those RDBs that have it implemented, do accept the following queries:

SELECT Timestamp, CAST(Value AS Varchar(64)), Status FROM…

Note:  More information about the CAST() function can be found in any SQL reference, 
e.g. Microsoft SQL Server Books OnLine.

Evaluation of STATUS Field – Data Input

Prior to RDBMPI version  3.12, the existence of a status field (in a SELECT query) was mandatory.  The newer interface versions allow (in the aliased mode) for the status-less query like: SELECT PI_TIMESTAMP, PI_VALUE FROM …
If provided, the status field can be both – a number or a text and the following table shows which SQL data types are allowed:

	String
	SQL_CHAR, SQL_VARCHAR,  SQL_LONGVARCHAR

	Numeric
	SQL_NUMERIC, SQL_DECIMAL,  SQL_REAL , SQL_FLOAT, SQL_DOUBLE, SQL_TINYINT, SQL_SMALLINT, SQL_INTEGER, SQL_BIGINT, SQL_BIT



The interface translates the status column into the PI language as described in the table below.  For a string field, the verification is more complex, and in order to extend the flexibility of the interface, two areas in the PI System Digital Set table can be defined. The first area defines the success range and the second one the bad range. Those ranges are referenced via the following interface start-up parameters: /SUCC1, /SUCC2, /BAD, /BAD2, see chapter Startup Command File for their full description. 


	SQL Data Type of Status Field
	Success
	Bad
	Not Found
	Result for Tag

	String


	Status string is found between /succ1 and /succ2
	
	
	Go and evaluate 
Value Field

	
	
	Status string is found between /bad1 and /bad2
	
	<Digital State>
(the one which was found)

	
	
	
	String was not found in defined areas
	Bad Input

	
	Numeric Status Tested Against Zero
	

	Numeric


	> 0
	Bad Input

	
	< 0
	Interpret the status in System Digital Set

	
	0
	Go and evaluate 
Value Field

	Handling of the Status Field Containing NULL

	String, Numeric
	NULL

	Go and evaluate 
Value Field



Table 11. Status Field Interpretation

Note: String comparisons in /SUCC and /BAD ranges are case INSENSITIVE! 

Note: For a Digital PI tag any other numeric status but zero means Bad Input.

Multi Statement SQL Clause

The interface can handle execution of more than one SQL query and the semicolons (';') are used to separate the individual statements. 


Note: Every single statement is automatically committed immediately after the execution (AUTOCOMMIT is the default ODBC setting). In the AUTOCOMMIT mode, and in case of any run-time error [occurring for one statement in a batch], the interface continues execution with the following one. Explicit transaction control can change this behavior by setting the /TRANSACT keyword. See next section - Explicit Transactions.

Note: There can be multiple statements per tag, but there can only be one SELECT in such a batch.

Note: The interface only allows statements containing one of the following SQL keywords: SELECT, INSERT, UPDATE, DELETE, CALL; and any proprietary language construction (T-SQL, PL/SQL,…) is not guarantied to work. For example, the MS SQL Server's T-SQL is allowed with the MS SQL ODBC driver, but similar construction fails when used with an Oracle's ODBC.

The following example will work with MS SQL, nevertheless, 
other ODBCs can complain:

if(?<>0)
SELECT pi_time,pi_value,0 FROM table1
else
SELECT pi_value,0 FROM table1; P1=SS_I

The preferred way is to use store procedures for any kind of the code flow control.


In the example referenced below, the most recent value of the 'Sinusoid' tag is sent into an RDB table and the previously inserted record(s) are deleted. Output is event based.

( Example available in Appendix B Examples, 
Example 3.8 – multi statement query
Explicit Transactions

Transaction control is configurable on a per tag basis by specifying the /TRANSACT keyword in the Extended Descriptor. The interface then switches off the default AUTOCOMMIT mode and explicitly starts a transaction. After the statement execution, the transaction is COMMITed (or ROLLed BACK in case of any run-time error). For the multi-statement queries – the batch gets interrupted after the first runtime error and consequently ROLLed BACK.

Stored Procedures

As already stated in the above paragraphs, the interface offers the possibility of executing stored procedures. Stored procedure calls can use placeholders (input parameters) in their argument lists and they behave the same way as standard queries do. The syntax for a procedure invocation conforms to the rules of SQL extensions defined by ODBC:

{CALL procedure-name[([parameter][,[parameter]]...)]}

A procedure can have zero or more input parameters; the output parameters are not supported. Stored procedures are therefore mainly used for execution of more complex actions that cannot be expressed by the limited SQL syntax the interface supports.

Note: Some RDBMSs like MS SQL Server or IBM DB2  7.01 allow for having the SELECT statement inside a procedure body. The execution of such a procedure then returns the standard result-set, as if it were generated via a simple SELECT. A stored procedure can thus be used to read data out of the relational database into PI.
For information on how to construct a stored procedure on Oracle so that it behaves similarly (in terms of returning a result-set) as stored procedures on MS SQL Server or DB2, refer to section 'Oracle 7.0; Oracle 8.x, 9i,10g; Oracle RDB'
( Example available in Appendix B Examples, 
Example 3.9 – Stored Procedure call
Output from PI

Output of data towards a relational database is either internally handled via exceptions generated by the SourceTag, or alternatively, the input tags can also be used.  
Writing data from PI to a relational database is accomplished by executing INSERT, UPDATE, or CALL SQL statements in combination with the run-time placeholders. 

Note: Executing INSERT, UPDATE, or {CALL} SQL statements via input tags will result in a scan based output.

The examples referenced below INSERT a record into the RDB table each time the 'sinusoid' snapshot changes (ex. 2.1a), or each scan (ex. 2.1b). The third example UPDATEs an existing record in a given table. 
( Example available in Appendix B Examples
Example 2.1a – insert sinusoid values into table (event based)
Example 2.1b – insert sinusoid values into table (scan based)
Example 3.10 – event based output
Note: To UPDATE a row in a relational database, record(s) that match the WHERE condition should be present in the updated table. In other words if a table is empty, the UPDATE statement returns success, but the table remains empty.
For alternatives, please check the INSERT or UPDATE example in section More Examples.
Note: The output point itself is populated with a copy of the Source Tag data if the output operation was successful. Otherwise the output tag will receive a digital state of Bad Output.


Mapping of Value and Status – Data Output 

For output of data in the direction PI -> RDB, no fixed table structure is required. Corresponding placeholders are used for the intended data output. Although mapping of the placeholders VL, SS_I, SS_C to the RDB data types works similarly as in case of the data input (see chapter Mapping of Value and Status – Data Input), some variations do exist between the individual PI point types:

DIGITAL Tags

Digital output tag values are mapped only to RDB string types. This means that the corresponding field data type in the table must be string, otherwise explicit conversion is required CAST(value_exp AS data_type). The following table shows the assignment of value placeholders (VL, SS_I, SS_C) for a Digital tag:

	PI Value
	VL

Field Type String
	SS_I

Field Type Integer 
or Float
	SS_C

Field Type String

	Digital state is NOT in the error range defined by  /SUCC1 /SUCC2 start-up parameters
	<Digital State <String>
	0
	"O.K."

	Digital state IS in the error range defined by /BAD1 /BAD2 start-up parameters
	<Digital State String>
	1
	"Bad Value"



Table 12. Digital Output Tags Can only be Output to RDB Strings
( Example available in Appendix B Examples, 
Example 3.11 – output triggered by 'Sinusoid', values taken from 'TagDig'
FLOAT, INTEGER and STRING Tags

	PI Value
	VL

Field Type Numeric 
or String
	SS_I

Field Type Numeric
	SS_C

Field Type String

	Value NOT in error
	<Value>
	0
	"O.K."

	Digital State
	< Previous Value>
	<Digital State>
	<Digital State String>







Table 13. Float, Integer and String Output Tags – Value and Status Mapping
Global Variables

A file containing definitions of global variables allows for a pre-definition of placeholders that are either used many times or are large in size. The file is referenced via the /GLOBAL=full_path start-up parameter.
The syntax of global variables is the same as for placeholders Pn, but starting with the 'G' character. For more details, see the section SQL Placeholders
Syntax used in a global variable file is shown in an example:

( Example available in Appendix B Examples, 
Example 3.12 – global variables
Recording of PI Point Database Changes

The interface can record changes made to the PI Point Database. The concept is similar to the regular output point handling. The difference is that the Managing Tag is not triggered by a snapshot event, but by a point attribute modification. 

Note: Managing tag is recognized by having Location4 = -1 or Location4 = -2.

Short Form Configuration

When Location4 is set to –1, the interface expects a subset of the AT.* placeholders in the INSERT query. This statement (INSERT) thus has to be configured and the Managing tag executes it whenever there is a point attribute change.  
The following table summarizes the placeholders supported in the short form: 

	Example of the RDB Table Structure for the PIPoint Changes Recording
	Placeholder

	TAG_NAME (SQL_CHAR)
	AT.TAG

	ATTRIBUTE_NAME (SQL_CHAR)
	AT.ATTRIBUTE

	CHANGE_DATETIME (SQL_TIMESTAMP)
	AT.CHANGEDATE

	CHANGER (SQL_CHAR)
	AT.CHANGER

	NEW_VALUE (SQL_CHAR)
	AT.NEWVALUE

	OLD_VALUE (SQL_CHAR)
	AT.OLDVALUE



Table 14. PI Point Database Replication - Short Form
( Example available in Appendix B Examples, 
Example 4.1 – PI Point Database changes – short form configuration
Note:  The interface stores the number of executed queries into the Managing Tag.
In the Short Form, nothing is stored when a point was edited, but no real attribute change has been made.

Note:  By default the interface checks for attribute changes in 2 minute intervals. It can therefore happen that when an attribute is changed twice within 2 minutes ending with its original value, the interface will not record this change. Since RDBMSPI 3.11.0.0, the two minute interval can be changed by specifying the start-up parameter  /UPDATEINTERVAL

Note:  The interface does not record the change of a TagName (the Tag attribute edit)!
Long Form Configuration

Location4 = –2 indicates that all AT.* placeholders can be employed (see section SQL Placeholders for the complete list). In this mode, the interface does not remember what was the previous attribute value and just forwards the current PI point attributes state to RDB. The overall principles are the same as with the short form. I.e., any attribute change recognized by the interface is the trigger for the SQL statement (INSERT) execution.

( Example available in Appendix B Examples, 
Example 4.2 – PI Point Database changes – long form configuration (only change date and tag name recorded)
Note:  The interface stores the number of executed queries into the Managing Tag.

PI Batch Database Output

The PI Batch Database can be replicated to RDB tables in a timely manner. 
I.e., the interface remembers the timestamp of the last batch that was INSERTed during the previous scan, and via the Managing Tags (tags that hold and execute the INSERT statements) it keeps storing the newly arrived batches/unit-batches/sub-batches into RDB tables. The Managing Tags are recognized by the presence of any of the PI Batch Database placeholders; see section SQL Placeholders for more details. That means they are configured as standard input tags (Location4 defines the scan frequency) and just one occurrence of the 'BA.*' placeholder marks them 'batch replicator(s)'. The batch replication thus resembles the execution of standard output statements (e.g. INSERT) that periodically send out snapshot values. 

PI Batch Database Replication without Module Database

The interface allows for replication of batch records in a form similar to the structure of the PIBatch table visible via PI ODBC or PI OLEDB.  The following list shows placeholders that can be used:

	Property
	RDB data type 
	Placeholder

	Batch ID
	Character string up to 256 bytes
	BA.BAID

	Unit
	Character string up to 256 bytes
	BA.UNIT

	Product
	Character string up to 256
	BA.PRODUCT

	Start Time
	Timestamp
	BA.START

	End Time
	Timestamp
	BA.END



Table 15. PI Batch Database Replication without MDB (Old Batches)

The example referenced below demonstrates how to replicate the whole PI Batch Database using a standard input point carrying a simple INSERT statement. The interface periodically asks for new batches since the previous scan and only the closed batches (batches with non-zero end‑time) are stored.

Note:  The optional /RECOVERY_TIME=*-1d start-up parameter applies here in terms of going back into the PI Batch Database for the specified time period.

Note:  The input point carrying the INSERT statement receives the number of inserted batches after each scan. It is therefore advisable to define this point as numeric. 

( Example available in Appendix B Examples, 
Example 5.1 – Batch export (not requiring Module Database)
PI Batch Database Replication with Module Database

PI SDK divides the PI Batch Database into several object collections. The simplified object model is shown in the following picture:

[image: image40.png]



[image: image41.png]


[image: image42.png]D IIESls}
ELIFEE

© RDBMSPI-000-sinusaid
4602502





[image: image43.png]D IIEnls}
e

© RDBMSPI-000-sinusaid
2.0094E02





[image: image44.png]



[image: image45.png]D IIEnls}
e

© RDBMSPI-000-sinusaid
2.0094E02




[image: image46.png]able - dbo.THelper™ | Table.
time

17112007 12:00:00 AM
21142007 12:00:00 At
31112007 12:00:00 At
4/1/2007 12:00:00 AM





[image: image47.png]D IIESls}
ELIFEE

© RDBMSPI-000-sinusaid
4602502





[image: image48.png]PI APl Nodes
with Buffering

@ d

PIAPI Node PIAPI Node




[image: image49.png]timestamp. value
17112007 10:11:07 A 1
1/1/2007 10:11:08AM 2



[image: image50.png]2/1/2007 10:11:09 M 2.3
2/1/2007 10:11:10 AM 3




A more detailed description of each object can be found in the PI SDK Manual. 
The RDBMSPI Interface currently replicates these objects from the three main collections found in the PI Batch Database. These collections are:

1. PIBatchDB
stores PIBatch objects

2. PIUnitBatches
stores PIUnitBatch objects

3. PISubBatches
stores PISubBatch objects

Each aforementioned object has a different set of properties. Moreover, it can reference its parent object (object from the superior collection) via the GUID (Global Unique Identifier) – 16 byte unique number. This GUID can be used as a key in RDB tables to relate e.g. the PIUnitBatch records to their parent PIBatch(es) and PISubBatches to their parent PIUnitBatch(es). The structure of the RDB table is determined by the available properties on a given object. In the following tables list the description of the properties of each PI SDK object and the corresponding data type that can be used in an RDB table. The third column defines the corresponding placeholder required for the INSERT statement:

PI Batch Object

	Property
	RDB Data Type
	Placeholder

	Batch ID
	Character string up to 1024 bytes
	BA.ID

	Product
	Character string up to 1024 bytes
	BA.PRODID

	Recipe
	Character string up to 1024 bytes
	BA.RECID

	Unique ID
	Character string 16 bytes
	BA.GUID

	Start Time
	Timestamp
	BA.START

	End Time
	Timestamp
	BA.END


PIUnitBatch Object

	Property
	RDB Data Type
	Placeholder

	Batch ID
	Character string up to 1024 bytes
	UB.ID

	Product
	Character string up to 1024 bytes
	UB.PRODID

	Procedure Name
	Character string up to 1024 bytes
	UB.PROCID

	Unique ID
	Character string 16 bytes
	UB.GUID

	PI Unit
	Character string up to 1024 bytes
	UB.MODID

	PI Unit Unique ID
	Character string 16 bytes
	UB.MODGUID

	Start Time
	Timestamp
	UB.START

	End Time
	Timestamp
	UB.END


PISubBatch Object

	Property
	RDB Data Type
	Placeholder

	Name
	Character string up to 1024 bytes
	SB.ID

	PI Heading
	Character string up to 1024 bytes
	SB.HEADID

	Unique ID
	Character string 16 bytes
	SB.GUID

	Start Time
	Timestamp
	SB.START

	End Time
	Timestamp
	SB.END



Table 16. PI Batch Database Replication – (NewBatches/Unitbatches/SubBatches)


PI Batch Database Replication Details

As stated above, the interface scans the PI Batch Database in timely manner. After each scan (that is, after an execution of that many INSERTs as there were newly arrived entries into the PI Batch Database since the last scan) the number of successfully inserted rows is written into the Managing Tag. The interface determines what was the most recent timestamp sent to RDB and therefore allows for safe restarts/temporary interface stops (that is, after restart the interface begins to replicate the not-yet-stored batches in RDB).
The PI SDK provides two search functions for filtering the PI Batch Database entries. The search criteria can be defined through keywords, which have the same syntax as the corresponding placeholders, but are prefixed with slashes '/'. The summary of all Batch related keywords can be found in the section PI Point Configuration later on in this manual.

Note:  Both PIBatch and PIUnitBatch objects must be closed. This means they must have the non-empty 'End Time' property. The interface will not store the open PIBatches or PIUnitBatches. Exceptions to this rule are PISubBatches. PISubBatches are always sent to RDB at the time when their parent PIUnitBatch gets an 'End Time'.

Three tables are required for the data extracted from the PI Batch database. 

	Table Structure for PIBatch objects
	Table Structure for PIUnitBatch Objects

	BA_START (SQL_TIMESTAMP)
	UB_START (SQL_TIMESTAMP)

	BA_END (SQL_TIMESTAMP)
	UB_END (SQL_TIMESTAMP)

	BA_ID (SQL_VARCHAR)
	UB_ID (SQL_VARCHAR)

	BA_PRODUCT (SQL_VARCHAR)
	UB_PRODUCT (SQL_VARCHAR)

	BA_RECIPE (SQL_VARCHAR)
	UB_PROCEDURE (SQL_VARCHAR)

	[image: image51.png]


BA_GUID (SQL_CHAR[37])
	BA_GUID (SQL_CHAR[37])

	
	UB_MODULE  (SQL_VARCHAR)

	
	[image: image52.emf]UB_GUID (SQL_CHAR[37])

	Table Structure for PISubBatch Objects

	SB_START (SQL_TIMESTAMP)
	SB_HEAD (SQL_VARCHAR)

	SB_END (SQL_TIMESTAMP)
	UB_GUID (SQL_CHAR[37])

	SB_ID (SQL_VARCHAR)
	SB_GUID (SQL_CHAR[37])



Table 17.  Example of RDB Tables Needed for PI Batch Database Replication
The arrows show the keys that form the relationship between these three tables. PISubBatches can form their own tree structure allowing for a PISubBatch object to contain the collection of another PISubBatch. To express this hierarchy in one table, the interface constructs the PISubBatch name in a way that it contains the above positioned PISubBatches divided by a backslashes '\' (an analogy with the file and directory structure). In our case the SB_ID column will contain items like:

…

PIUnitBatch_01\SB_01\SB_101
PIUnitBatch_01\SB_01\SB_102
…

PIUnitBatch_01\SB_01\SB_10n
…

Because sub-batches have different properties than their parent objects – unit-batches, 
an independent INSERT is needed. Moreover, the unit-batch Managing Tag needs to know the sub-batch Managing Tag name.  A special keyword /SB_TAG ='subbatch_managing_tag' must therefore be defined in the Extended Descriptor of the unit-batch Managing Tag. At the time the unit-batch is closed, the interface replicates the related unit-batch properties, and also replicates the underlying sub-batches.
Refer to the examples that replicate all batches, unit-batches plus their sub-batches over the period of last 10 days:
( Example available in Appendix B Examples, Example 5.2a – Batch export
( Example available in Appendix B Examples, Example 5.2b – UnitBatch export
( Example available in Appendix B Examples, Example 5.2c – SubBatch export
RDBMSPI – Input Recovery Modes 
The primary task of the RDBMSPI interface is on-line copying of data from relational databases to the PI archive. For this, users specify SQL queries, mostly SELECTs, which are periodically executed. The interface then delivers the selected rows to PI tags.
With appropriately configured SQL queries, this interface can also be used for bulk data import; that is, for the input history recovery. However, a few things have to be kept in mind, as bulk imports usually deal with big amounts of data and are one-time actions. Following is a couple of hints that users, who consider using the RDBMSPI interface for bulk data imports, might find useful.
1. There must be an appropriate SELECT involved. The simplest scenario is when the input tag already has some data and its snapshot reflects the last timestamp/value pair obtained from RDB. The SELECT can remain “as is”, that means for instance: 
SELECT Time,Value,0 FROM Table WHERE Time>? ORDER BY time; P1=TS
Provided the amount of data in RDB between the snapshot and the current time is of “reasonable” size, the query above simply fills in the missing events in PI archive during the first execution. The interface will then continue executing the SELECT and the query will return only the newly inserted rows.
2. More likely scenario is, however, a PI tag has been just created; its snapshot thus contains current time and the data in RDB spans longer time period. For many reasons it is impractical to try to get the data through a SELECT that would return everything “at once”. Better is to divide the time-span into chunks and configure the SELECT so that it delivers the data in bulks of “limited size”. There is several ways how to achieve this; the simplest is to employ a query that defines how many rows should be returned. Such construct is supported in MS SQL Server via the Top n clause: SELECT TOP n...or, in Oracle, utilizing the Rownum:  SELECT... WHERE Rownum < n... An example can thus be like:
SELECT TOP 10000 Time,Value,0 FROM Table WHERE Time>? ORDER BY time; P1=TS
Alternatively, the chunk start-times can be defined in a helper table (in RDB) and the SELECT will “use them” in the WHERE clause, which can employ another SELECT. After one data chunk is processed, the DELETE statement takes away a row from the helper table so that the next SELECT execution can process another chunk: 

SELECT time,value,0 FROM TData WHERE time > ? AND time < (SELECT TOP 1 time FROM THelper ORDER BY time) ORDER BY time; DELETE FROM THelper WHERE time = 
(SELECT TOP 1 time FROM THelper ORDER BY time);

The figure below depicts the data table and the helper table, which defines chunks that span one month.

[image: image3]

Figure 3. The Data table and Helper table with chunks-timestamps


In both cases the input tag’s snapshot, however, has to be modified so that it is “older” than the timestamp of the first row of the first chunk. After the data is imported, the SQL statement will have to be changed to the “on-line” version (see the query in 1)).  To deliver values to more than one input tag, the GROUP strategy can be considered; that is, have more value-columns in the SELECT list and one timestamp. See chapter Tag Groups for more details.
3. For the more complex logic we recommend using a stored procedure. 
RDBMSPI – Output Recovery Modes 
(Only Applicable to Output Points)

Recovery TS

This recovery mode is specified by the /RECOVERY=TS start-up parameter. Whether the recovery handles out-of-order data or not, depends on the Location5 attribute of an output tag. If Location5=0, then recovery starts at snapshot timestamp of the output tag (or at the recovery start-time if that is later). Only in-order data can thus be recovered.
If Location5=1 then the recovery begins at the recovery start-time and can include the out-of-order data – the /OOO_OPTION then decides how the out-of-order events are handled.

Note: During the recovery, the snapshot placeholders (see Table 2. Supported Placeholders) are populated with historical (archive) values! Should the placeholder be defined as: Pn=’tagname’/VL the interpolated archive value is taken.
Out-Of-Order Recovery

For output points that have Location5=1, the interface compares the source with the output tag values and detects the archive events that were added, replaced or deleted. This comparison is done immediately after the interface started on condition the comparison time-window had been specified; e.g. /RECOVERY_TIME='*-10d'. 
The following two pictures depict the situation before and after the out-of-order recovery:


[image: image4]
Figure 4. Two New Values Added to SourceTag (green)

[image: image5]
Figure 5. OutputTag (blue) Synchronized with SourceTag (green).


The Out-Of-Order recovery can be further parameterized through another start-up parameter /OOO_OPTION. This parameter defines a combination of three keywords:

append
replace
remove

keywords are separated by commas::

/OOO_OPTION="append,replace"

Depending on these keywords, the interface only takes those actions, for which the corresponding options are set. In this case, even if there were some deletions of the source tag events, the interface will not synchronize them with the output tag (in terms of deleting the corresponding output tag entries).

The comparison results are signaled to the user via the following (Boolean) variables:

@source_appended
@source_replaced
@source_removed
So that they can be used in an 'IF' construct that the interface is able to parse.
For example:

IF @source_appended INSERT INTO table (…); 

IF @source_replaced UPDATE table SET column1 = ? …; 

IF @source_removed DELETE table WHERE column1 <= ?; 
Usually new source tag events come in in-order so that only the @source_appended variable is set to True (the others thus remain False).  

Note:
 If no /OOO_OPTION is specified in the startup file then "append" is the default.

	/Recovery=…
/ooo_option=…
	Location5
	SQL Execution
	@source_appended
@source_replaced
@source_removed
	Comment

	Source tag/output tag event comparison matches /ooo_option
	-1
	No
	n/a
	No Recovery for such tag

	
	0
	Yes
	@source_appended=True
@source_replaced=
False @source_removed=
False
	No out-of-order recovery
The recovery starts at snapshot time of the output tag, SQL queries are called for each source tag value after this point

	
	1
	Yes
	The option that was matched is setting the correlated parameter to True
	Example: /ooo_option="replace"
source archive event <> output archive event
(
@source_appended=False
@source_replaced=True
@source_removed=False

	
	
	

	Source tag/output tag event comparison matches  none of the /ooo_options
	-1

	No
	n/a
	No recovery for such tag

	
	0

	Yes
	@source_appended=True
@source_replaced=
False @source_removed=
False
	No out-of-order recovery
The recovery starts at snapshot time of output tag, SQL queries are called for each source tag value after this point

	
	1
	No
	n/a
	Not specifying a certain ooo_option means no action if the related situation is found



Table 18.  /ooo_option , Location5 and @* Variables – off line mode

The table above describes the recovery-relevant settings that are valid only when the interface starts (off-line-mode). During the normal operation (on-line-mode), the interface handles the Out-Of-Order events as described in the section below:
Out-Of-Order Handling in On-Line Mode (RDBMSPI Interface Runs)

Location5=1 supports out-of-order recovery also in the on-line-mode; When the Out-Of-Order source tag events are detected, either the @source_appended or the @source_replaced is set to True (depending on the addition, or replacement of the source tag event). 

Note:
 Deleted values are NOT honored in on-line-mode. 

Note:
A new event that has the same timestamp as the current snapshot is considered an out-of-order event too!

Note: If the source tag value is edited, but remains the same, then the @source_replaced variable stays False

	/ooo_option=…
	Location5
	SQL Execution
	@source_appended
@source_replaced
@source_removed
	Comment

	Source tag event is out of order and

Source tag/output tag event comparison matches /ooo_option
	-1
	No
	n/a
	out-of-order events ignored

	
	0
	Yes
	@source_appended=True
@source_replaced=
False @source_removed=
False
	Backward compatibility

	
	1
	Yes
	The option that was matched is set to True
	e.g. /ooo_option="replace"
source archive event <> output archive event
(
@source_appended=False
@source_replaced=True
@source_removed=False

	
	
	

	Source tag event is out of order and

Source tag/output tag event comparison matches  none of the /ooo_options
	-1

	No
	n/a
	out-of-order events ignored

	
	0

	Yes
	@source_appended=True
@source_replaced=
False @source_removed=
False
	Backward compatibility

	
	1
	No
	n/a
	e.g. /ooo_option="append"
source archive event <> output archive event
(
no query execution for replaced data

	
	
	

	New source tag event (in-order)

	-1

	Yes
	@source_appended=True
@source_replaced=
False @source_removed=
False
	in-order events trigger query execution

	
	0

	Yes
	@source_appended=True
@source_replaced=
False @source_removed=
False
	in-order events trigger query execution

	
	1
	Yes
	@source_appended=True
@source_replaced=
False @source_removed=
False
	in-order events trigger query execution



Table 19. /ooo_option , Location5 and @* Variables – on line mode

Recovery SHUTDOWN

Shutdown recovery is the same as 'TS', if the output tag's snapshot value is either Shutdown or I/O Timeout. If the output tag snapshot does not contain these digital states, NO recovery takes place.

Note: Shutdown recovery exists for compatibility reasons to earlier interface versions. It is recommended to use TS recovery instead.

Interface in Pure Replication Mode

During recovery, the interface retrieves and reprocesses the compressed data from the PI Archive (as opposed to executing the output points' events coming from the event queue during the interface's normal operation). When the recovery time-window does contain both the start and the end-time (separated by comma) e.g.: 
/RECOVERY_TIME = "*-1d,*" 
all output points are processed for the defined time interval and then the interface stops (exits). Tags other than outputs are not processed at all. In the Pure Replication Mode one can schedule the interface execution via the Windows scheduling service (AT) and let the PI Archive (compressed) data replicate in a batch manner.
For exact specification of all recovery related parameters, see section Startup Command File.

Automatic Re-connection

ODBC Connection Loss

The interface automatically tries to re-connect the RDBMS in cases when the relational system is not reachable. Because the ODBC API does not provide any direct function to find out whether the communication line is in a healthy state, the interface uses the following mechanism to determine a connection loss:

Any connection related error (ODBC returns error statuses starting with 08xxx) means closing all prepared SQL statements and entering the re-connection loop. (Before regarding the situation as a connection loss, an additional verification execution is made. The result of this verification finally decides about the re-connection action.)
According to the ODBC specification, ODBC drivers have to stamp the errors consistently and communication related problems have to be marked with a proper error state. As different ODBC drivers can return thousands of error codes, it is unlikely that each error code is properly marked. Since version 3.11, the interface implements a new start-up switch /ERC=n. This optional switch activates a mechanism, which counts consecutive occurred runtime errors, and decides for the re-connection action when the number of such errors reaches the specified number (n). This scenario helps to decide about a re-connection action when the interface communicates to an ODBC driver that does not return proper error codes.

Note: 
The interface tries to re-create the ODBC link every minute.

Note:
In version 3.12 and higher of the PI RDBMS Interface, for the output tags the placeholder values are retained and the query (that discovered the broken ODBC link) is executed again when the connection to RDB is re-established. 

Note:
During the re-connection attempts (1 min intervals) the interface does NOT empty the snapshot event queue (for output tags). Some events thus can be lost due to the queue overflow. Should such a situation happen, there is currently NO automatic recovery action taken. Only a manual solution is possible - set-up the corresponding /OOO_OPTION recovery parameters, and re-processes the period when the interface was disconnected from the RDBMS (see section RDBMSPI - Recovery Modes 
(Only Applicable to Output Points)) by restarting the interface.

See the PI Server Manual for details how the event queue size can be increased.


When the ODBC link is broken, and the PI System remains available, the interface normally writes the I/O Timeout digital state to all input points. This can be avoided by setting the interface start-up parameter /NO_INPUT_ERROR. 

PI Connection Loss

During the PI API or PI SDK connection loss, neither the snapshot place holders (TS, VL, SS_I,…) nor the attribute placeholders (AT.xxx) can be refreshed. Corresponding error messages are sent to the interface log-file and the interface enters a loop where it tries to re-login to PI in one minute intervals. The PI Server availability check is made before each scan class processing. 

Note:
In case the interface runs as a console application (and there are the /user_pi= or/and /pass_pi= startup parameters specified), the login dialog pops up waiting for the user to re-enter the authentication information.

Result Variables

Send Data to PI

The interface sets the following (Boolean) variables according to the result of the write-to-PI action.

@write_success
@write_failure

A failure sets the @write_success to False, the @write_failure to True and vice-versa. Both variables are accessible to users, as indicates the example below:

SELECT pi_timestamp,pi_value,0 FROM table WHERE pi_timestamp > ?;
IF @write_success DELETE FROM table WHERE pi_timestamp > ?; 

That is, the rows in the first table can be deleted, because they were already copied to PI.

Note:
Only if ALL SELECTed rows are successfully sent to the corresponding PI tags then the @write_success variable is true.
Data that have no corresponding PI tag (e.g. in the Tag Distribution strategy there is a row that references a non existent tag and this row thus cannot be sent to PI), do not count as a failure (to achieve this, consider the @rows_dropped variable in chapter SQL SELECT Statement for Tag Distribution).
Note:
@write_success and @write_failure are undefined before the first SELECT or {CALL …} command and they are set to the undefined state always before the query execution. That means that they can only be evaluated when placed after a query. It also only makes sense to place them after SELECT or {CALL …}; that is, after queries that return a result-set.

Result of ODBC Query Execution

At the interface start, all SQL statements are executed so that any syntax errors, data-type assignment errors etc. can be verified. This first, tentative execution is then rolled back and in case of failure, the corresponding PI tag is refused (excluded from any further interface operation). During run-time, ODBC errors are just logged, but the interface continues execution. To convey the information about a success or failure of individual SQL commands (during run-time) two Boolean variables are available:

@query_success
@query_failure

The @query_success is set to true (and @query_failure to false) when the PREVIOUS query was successfully executed and data fetched.

The variables can be used in an 'IF' construct; for example:

SELECT pi_timestamp,pi_value,0 FROM table WHERE pi_timestamp > ?;
IF @query_failure INSERT INTO table2 (pi_timestamp,pi_tag, pi_message) VALUES (?,?,'Query failed'); 

Note:
The @query_success and @query_failure variables always reflect the result of the last executed command; therefore it is not possible to add another statement; that is, in this example, a second INSERT: 'IF @query_success INSERT table3…' to react on the failure of the SELECT statement. This second INSERT will see the success or failure of the previous INSERT command.
If multiple queries shall be executed on failure, then the stored procedure has to be used.

RDBMSPI – Redundancy Considerations

Thanks to the overall configuration complexity the RDBMSPI interface offers; that is for example, the rich concept of placeholders, various distribution strategies, etc., it is very difficult to describe a scenario when and how to configure the interface redundancy.
However, a few guidelines and hints are listed below:

· Data in databases is persisted (stored on the disk); that is, even if the interface fails to retrieve it, in majority of cases the data “does not disappear”. The query can be formulated in a way, that after the interface restart, it selects the not-yet-stored-in-PI data during the first scan. See chapter RDBMSPI – Input Recovery Modes. 
· The same consideration is true for the output direction. The output recovery mode is discussed in RDBMSPI – Output Recovery Modes 
(Only Applicable to Output Points) 

· The RDBMSPI interface can be run as two instances against the same relational database, serving the same tags. In this case, the /RBO start-up parameter needs to be set to make sure there won’t be duplicates (in PI). However, there are a few possible pitfalls:
- if the SELECT of an input tag also contains the annotation column, the /RBO will NOT work
- float numbers comparisons; that is, for tags of the type Float32 or Float64 are not guaranteed to compare always the same. The reason is the inaccurate float number representation itself (the discrepancy stems from how the float value is represented in PI Archive and how it is retrieved via ODBC drivers from SQL database)

· The RDBMSPI interface doe not have any mean to support two instances doing identical (redundant) output to SQL. However, this logic can be easily implemented in stored procedures in RDBMS themselves.

Database Specifics

Although ODBC is the de-facto standard for accessing data stored in relational databases, there are ODBC driver implementation differences. Also the underlying relational databases differ in functionality, supported data-types, SQL syntax and so on. The following section describes some of the interface relevant limits or differences, but this list is by far not complete. 

Oracle 7.0; Oracle 8.x, 9i,10g; Oracle RDB

Statement Limitation

There is a limitation on the number of statements that can be opened concurrently and on some Oracle versions this limitation amounts to just 100 concurrently allocated statements. Since the interface normally uses one SQL statement per tag, not more than the specified number of tags could thus be serviced (per one RDBMSPI instance). Although it is possible to increase this limit via the keyword OPEN_CURSORS configured in the file INIT.ORA (located at the server side of the ORACLE database), this change, because it has the global influence, isn't easily applicable.

Note: The corresponding ODBC Error message, describing the aforementioned situation, is as follows:

[S][HY000]: [Oracle][ODBC][Ora]ORA-01000:  maximum open cursors exceeded

One way around this limit is to group tags together (see chapter 
Data Acquisition Strategies
), or run multiple instances of the interface (different Location1), because this limit is per connection. The other approach is to use the interface option /EXECDIRECT that does not use the prepared execution at all. The direct execution (/EXECDIRECT start up parameter) is the preferred solution.

Note: The described problem also occurs when too many cursors are open from stored procedures. All cursors open within a stored procedure thus have to be properly closed. 

TOP 10

If it is required to limit the number of returned rows (e.g. to reduce the CPU load), there is a possibility to formulate the SQL query with the number representing the maximum rows that will be returned. This option is database specific and Oracles' implementation is as follows:

Oracle RDB

SELECT timestamp,value,status FROM Table LIMIT TO 10 ROWS;

SELECT timestamp,value,status FROM Table LIMIT TO 10 ROWS WHERE Timestamp > ?;

Oracle 8.0 (NT) and above

Similar to the example for Oracle RDB, the statement to select a maximum of just 10 records looks as follows:




SELECT timestamp,value,status FROM Table WHERE ROWNUM<11;

How to Construct Stored Procedure that Returns Result-Set:

It is necessary to construct two Oracle objects – a PACKAGE and the actual STORED PROCEDURE:

1) package:




CREATE OR REPLACE PACKAGE myPackage IS 




TYPE gen_cursor IS REF CURSOR; 




END myPackage;

2) stored procedure (that takes for example the date argument as the input parameter):




CREATE OR REPLACE PROCEDURE myTestProc

(cur OUT myPackage.gen_cursor, ts IN date) 
IS res myPackage.gen_cursor; 




BEGIN 

OPEN res FOR SELECT pi_time,pi_value,0 FROM pi_test1 WHERE pi_time > ts;

cur := res; 




END testproc;
The aforementioned store procedure can then be executed like:

{CALL myTestProc(?)}; P1=TS

And it delivers a result-set; the same as if the SELECT statement were executed directly.

Note: the above example works only with Oracle's ODBC drivers. It has been tested with Oracle9i and ODBC driver 9.00.11.00


dBase III, dBase IV

Date and Time Data Type

dBase does not have any native timestamp data type. If sending PI timestamps to dBase, the interface and the ODBC driver will automatically convert the timestamp placeholder from the SQL_TIMESTAMP into SQL_VARCHAR (the dBase target column therefore has to be TEXT(20)). 

The other direction RDB->PI is not that simple. Actually, it is not possible to read a timestamp from a TEXT field because the required ODBC function CONVERT does not support the SQL_VARCHAR into SQL_TIMESTAMP conversion either.
However, a workaround is possible:
Use the dBase database as a linked table from within MS Access. Now the MS Access ODBC driver is available, which implements a function called CDATE(). 
The following query works for string columns e.g. TEXT(20) in dBase with the format  "DD-MMM-YY hh:mm:ss":

SELECT CDATE(Timestamp), Value, Status FROM Table  WHERE CDATE(Timestamp) > ?; P1=TS


ODBC drivers used:
Microsoft dBase Driver

4.00.4403.02
Microsoft Access Driver
4.00.4403.02

Login

dBase works without Username and Password. In order to get access from the interface a dummy username and password must be used in the startup line.

/user_odbc=dummy  /pass_odbc=dummy

Multi-User Access

The Microsoft dBase ODBC driver seems to lock the dBase tables. That means no other application can access the table at the same time.
There are no known workarounds, other than the MS Access linked table.

MS Access

Login

MS Access can also be configured without Username and Password. In order to get access from the interface a dummy username and password have to be used in the startup line.

/user_odbc=dummy  /pass_odbc=dummy

Slowdown in statement preparation for more than 50 tags

ODBC drivers used:
MS Access ODBC driver 
4.00.5303.01

The MS Access ODBC driver shows a decrease in performance that depends on the number of open statements. Using the prepared execution (default setting), this is equivalent to the number of tags that hold a SQL query.

For more than ~50 ODBC statements (concurrently prepared) there is a significant slowdown in speed during the preparation of additional statements. The solution is using the /EXECDIRECT start-up parameter.

An alternative way is to use OLE DB for Jet 4.0 and an ODBC driver for OLE DB 
(e.g. Attunity Connect) on top.

MS SQL Server 6.5, 7.0, 2000

DATETIME Data Type

Only the DATETIME data type represents the date and time implementation. The slightly misleading name TIMESTAMP, another MS SQL Server supported data type, is a database-wide unique number that cannot be bound to the interface time related placeholders (TS, ST,…).

TOP 10

The statement for selecting a maximum of 10 records looks as follows:

SELECT TOP 10 timestamp,value,status FROM Table;

SET NOCOUNT ON

Should the stored procedure on MS SQL Server contain more complex T-SQL code, e.g. a combination of INSERT and SELECT statements, the SET NOCOUNT ON setting is preferable. The DML statements (INSERT, UPDATE, DELETE) then do NOT return the number of affected rows (as the default result-set) which, in combination with the result set from a SELECT statement, causes the following error:

"[S][24000]: [Microsoft][ODBC SQL Server Driver]Invalid cursor state"
The following code scrap shows how to avoid the above error:

CREATE PROCEDURE sp_RDBMSPI1
(
 
@name varchar(30), 
-- tag name
 
@TS datetime

-- timestamp
)
AS
 
SET NOCOUNT ON
 
INSERT pi_rdbms VALUES(@name,@TS)
 
SELECT pi_time,pi_value,0 FROM pi_table1 WHERE   
pi_tagname = @name and pi_time > @TS

CA Ingres II

Software Development Kit

The ODBC driver which comes with the Ingres II Software Development Kit does not work for this interface. This is due to the fact that the ODBC driver expects the statements being re-prepared before each execution (even if the ODBC driver reports SQL_CB_CLOSE when checking SQL_CURSOR_COMMIT_BEHAVIOR). That means that the ODBC driver is inconsistent with the ODBC specification.

Other ODBC drivers for Ingres II may still work. Alternatively it is possible to set the /EXECDIRECT start-up switch.

IBM DB2 (NT)

Statement Limitation

There is a limitation on the number of statements that can be open concurrently (prepared ODBC execution) for the version 7.1. The limitation only allows 100 concurrently prepared ODBC statements. It is nevertheless possible to increase this value via a corresponding DB2 database parameter (applheapsz via the DB2 Control Center:  
Configure (right clicking the particular database instance) (Performance(Application heap size)

ODBC drivers used:
IBM DB2 (NT)


07.01.0000
ODBC Driver


06.01.0000

Note: The corresponding ODBC Error message describing the situation is as follows:

[S][57011]: [IBM][CLI Driver][DB2/NT] SQL0954C  Not enough storage is available in the application heap to process the statement.  SQLSTATE=57011


See the above discussion to the same topic with Oracle database.

Informix (NT)

ODBC drivers used:
Informix 07.31.0000 TC5 (NT)

02.80.0008 2.20 TC1

Error while ODBC Re-Connection

An access violation in the Informix ODBC driver DLL was experienced when the Informix RDB was shut down during the interface operation.

Paradox

ODBC drivers used:
Paradox, 5.x ODBC Driver

4.00.5303.01
BDE (Borland Database Engine) 
5.0

Error when ALIASES used in WHERE Clause

Following query returns runtime errors:

SELECT Timestamp AS PI_TIMESTAMP,Value,0 FROM Table WHERE PI_TIMESTAMP > ?; P1=TS

[S][07002]: [Microsoft][ODBC Paradox Driver] Too few parameters. Expected 2.

OSIsoft, Inc. recommends not using aliases.

More Examples

The interface installs with the pre-configured MS Access database (RDBMSPI.mdb). This database along with the Excel sheet with PI point configurations (pipoints.xls) can be found in PIPC\Interfaces\RDBMSPI\Examples directory. This suite contains the samples divided into certain categories and they are intended to demonstrate the implemented functionality. Together with the set of samples at the end of this manual (Appendix B) they should help the users with the SQL queries setup. 
See the Examples_readme.doc (in the Examples directory) for the detailed description of the samples presented. 
Insert or Update

A usual request is to keep a copy of current snapshot values in a relational table. The problem is that the query must decide between INSERT and UPDATE. If the tag already has a record in the table, an UPDATE is required. If there is no record for this tag yet, INSERT has to be used. Unfortunately the SQL language does not provide any if…then mechanisms and the usual solution is to write a stored procedure.

But there is also a SQL solution to this problem:

Use a second table with the same fields as the target table. This "dummy" table has to have exactly one record that will be updated. To do an INSERT or UPDATE, use the RIGHT JOIN between two tables:

Table1 has 2 fields, V1 and P1
Table2 has 2 fields, V1 and P1

Table2 has exactly one data record

UPDATE Table1 RIGHT JOIN Table2 ON Table1.P1=Table2.P2 SET Table1.P1=Table2.P1, Table1.V1=Table2.V1

How does it work?

The trick itself lies in the RIGHT JOIN. RIGHT JOIN means include all records from the table on the right-hand side (Table2) and those rows from the left-hand table (Table1) where the JOIN condition is met. If the RIGHT JOIN is used with the UPDATE statement, it either writes back a new record – (internal INSERT), or the ordinary UPDATE is performed.

For use with the RDBMSPI Interface, it is necessary to configure two queries:

UPDATE Table2 SET P1=?,V1=?;
UPDATE Table1 RIGHT JOIN Table2 ON Table1.P1=Table2.P1 SET Table1.P1=Table2.P1, Table1.V1=Table2.V1;

The following example reference inserts a new record into the PI_INSERT_UPDATE table only if the sinusoid event arrives in a minute that has no related record yet. If all (60) samples are inserted in the PI_INSERT_UPDATE table, only updates occur (overwrites existing rows). Thus, and if sinusoid has at least one event per minute, the PI_INSERT_UPDATE table holds sinusoid events from the last 60 minutes only. 

( Example available in Appendix B Examples, 
Example 6.1 – last one hour of 'Sinusoid'
Installation Checklist

For those users who are familiar with running PI data collection interface programs, this checklist helps get the Interface running. If not familiar with PI interfaces, return to this section after reading the rest of the manual in detail.

The steps below should be followed in the order presented.

1. Install the PI Interface Configuration Utility (which installs PI SDK and PI API)

2. Verify that PI SDK (PI API) have been installed.

3. Install the RDBMSPI interface.
4. Set up PI security.
5. Define digital states if needed.  
6. Choose a point source.  

7. Configure PI points. 
Location1 is the interface instance – has to match the /id= start-up parameter
Location2 bulk vs. non-bulk read
Location3 defines the reading strategy
Location4 is the scan class.
Location5 how the data is sent to PI (snapshot, archive write,..).
PointSource has to match with the /ps= start up parameter
ExDesc stores the various keywords
InstrumentTag name of the file that stores the SQL file
SourceTag for output points

8. Configure the interface using the PI ICU utility or edit startup command file manual. It is recommended to use PI ICU whenever possible.
9. Configure performance points.

10. Configure I/O Rate tag.
11. It is recommended to test the connection between the interface node and the RDB using any third-party ODBC based application. For example the ODBC Test app. from Microsoft or any other tool that works with ODBC data sources.
Verify that the SQL query(ies) are syntactically correct and they deliver data from/to the above mentioned third-party ODBC based application.

12. Start with one simple SQL statement or with the ‘tested’ one and verify the data in PI.
13. Set or check the interface node clock. 

14. Start the interface without buffering.

15. Verify data.

16. Stop interface, start buffering, start interface.
Interface Installation on Windows
OSIsoft recommends that interfaces be installed on PI Interface Nodes instead of directly on the PI Server node. A PI Interface Node is any node other than the PI Server node where the PI Application Programming Interface (PI API) has been installed (see the PI API manual). With this approach, the PI Server need not compete with interfaces for the machine’s resources. The primary function of the PI Server is to archive data and to service clients that request data. 

If the interface is installed on a separate interface node users may wish to enable buffering. In most cases OSIsoft recommends to install the interface with buffering, however, it is not recommended to enable buffering on a PI server. See Buffering for more details about buffering and this interface.

In most cases the interface should be installed as an automatic service. Services keep running after the user logs off. Automatic services automatically restart when the computer is restarted, which is useful in the event of a power failure. More considerations about NT Services and ODBC applications are given in: What is Meant by "Running an ODBC Application as Windows Service"?
Naming Conventions and Requirements

In the installation procedure below, it is assumed that the name of the interface executable is rdbmspi.exe and that the startup command file is called rdbmspi.bat. 

When Configuring the Interface Manually

When configuring the interface manually it is customary for the user to rename the executable and the startup command file when multiple copies of the interface are run. For example, rdbmspi1.exe and rdbmspi1.bat would typically be used for interface number 1, rdbmspi2.exe and rdbmspi2.bat for interface number 2, and so on. When an interface is run as a service, the executable and the command file must have the same root name because the service looks for its command-line parameters in a file that has the same root name.

Note: The interface is installed along with the .pdb file (file containing the debug information). This file can be found in %windir%\Symbols\exe. If you rename the rdbmspi.exe to rdbmspi1.exe, you also have to create/rename the corresponding .pdb file. I.e. rdbmspi.pdb to rdbmspi1.pdb
Interface Directories

PIHOME Directory Tree

The PIHOME directory tree is defined by the PIHOME entry in the pipc.ini configuration file. This pipc.ini file is an ASCII text file, which is located in the %windir% directory. A typical pipc.ini file contains the following lines:
[PIPC]
PIHOME=c:\pipc

The above lines define the \pipc directory as the root of the PIHOME directory tree on the C: drive. OSIsoft recommends using \pipc as the root directory name. The PIHOME directory does not need to be on the C: drive.

Interface Installation Directory

Place all copies of the interface into a single directory. The suggested directory is:

PIHOME\interfaces\rdbmspi\

Replace PIHOME with the corresponding entry in the pipc.ini file.

Interface Installation Procedure

The PI RDBMS Interface setup program uses the services of the Microsoft Windows Installer. Windows Installer is a standard part of Windows 2000 and greater operating systems. When running on Windows NT 4.0 systems, the PI RDBMS interface setup program will install the Windows Installer itself if necessary. To install, run the RDBMSPI_x.x.x.x.exe installation kit. 

Installing Interface as a Windows Service

The PI RDBMS Interface service can be created, preferably, with the PI Interface Configuration Utility, or can be created manually.
Installing Interface Service with PI ICU
The PI Interface Configuration Utility provides a user interface for creating, editing, and deleting the interface service:
[image: image6.png]. Pl-Interface Configuration Utility - RDBMSPI1
Interface Tools Fielp

NS X|d B
Ineiace:  [FOBMSPIT > ey < _Fename

Tope: dbodbe Rielational Database.

Descition sydney
Witeable

Pl Server Cornestion Status

Versions: [RDEMSPLee version 3.14.0.7 Unint verson 4120

General -~ Senvice Configualion

Unint e Stattup Type-—| [~ Ceste / Remove

Sewice name:  [RDEMSPIT 0:fi

oo Al (¢ e
Discornested Startup | Displayname:  [PLRDBMSPIT © Manual

Detus
Falove
PofomencePorts | Password
Pofomance Coumes | Cont passven
Health Paints. Co e & Installed services:

cbodbe Deperdences o

A

0 te g

rieace Status el

s

Biomser

<

Logon s Locasystern o Dzt

Aletter

Close. Apply

Service Urinstalled ROBMSPI - Not Installed




Service Configuration

Service name

The Service name box shows the name of the current interface service. This service name is obtained from the interface executable.
IN
This is the service id used to distinguish multiple instances of the same interface using the same executable. 
Display name

The Display Name text box shows the current Display Name of the interface service.  If there is currently no service for the selected interface, the default Display Name is the service name with a “PI-” prefix. Users may specify a different Display Name. OSIsoft suggests that the prefix “PI-” be appended to the beginning of the interface to indicate that the service is part of the OSIsoft suite of products.
Log on as

The Log on as text box shows the current “Log on as” Windows User Account of the interface service.  If the service is configured to use the Local System account, the Log on as text box will show “LocalSystem”.  Users may specify a different Windows User account for the service to use.

Password

If user specified a Windows User account in the Log on as text box that has a password, the password must be provided in the Password text box.

Confirm Password

If a password is specified in the Password text box, then repeat the password in the Confirm Password text box to confirm it.
Startup Type

The Startup Type indicates whether the interface service will start automatically or needs to be started manually on reboot.  

· If the Auto option is selected, the service will be installed to start automatically when the machine reboots.  

· If the Manual option is selected, the interface service will not start on reboot, but will require someone to manually start the service.  

· If the Disabled option is selected, the service will not start at all.  

Generally, interface services are set to start automatically.

Dependencies

The Installed services list is a list of the services currently installed on this machine. Services upon which this Interface is dependent should be moved into the Dependencies list using the [image: image7.png]


 button. For example, if PI API Buffering is running, then “bufserv” should be selected from the list at the right and added to the list on the left. To remove a service from the list of dependencies, use the [image: image8.png]


 button, and the service name will be removed from the “Dependencies” list.

When the PI Interface is started (as a service), the services listed in the dependency list will be verified as running (or an attempt will be made to start them). If the dependent service(s) cannot be started for any reason, then the PI interface service will not run. 

Note: Please see the PI Log and Operating System Event Logger for messages that may indicate the cause for any server not running as expected.   

[image: image9.png]


 - Add Button

To add a dependency from the list of Installed services, select the dependency name, and click the Add button.

[image: image10.png]


 - Remove Button

To remove a selected dependency, highlight the service name in the Dependencies list, and click the Remove button.  

The full name of the service selected in the Installed services list is displayed below the Installed services list box.

Create

The Create button adds the displayed service with the specified Dependencies and with the specified Startup Type.  

Remove 

The Remove button removes the displayed service. If the service is not currently installed, or if the service is currently running, this button will be grayed out.  

Start or Stop Service

To Start or Stop an interface service, use the Start button [image: image11.bmp] and a Stop button [image: image12.bmp] on the ICU toolbar. If this interface service is not currently installed, these buttons will remain grayed out until the service is added. If this interface service is running, the Stop button is available. If this service is not running, the Start button is available.

The status of the Interface service is indicated in the lower portion of the PI ICU dialog.
[image: image13.png]Ready Stopped RDBMSPI - Installed






Installing Interface Service Manually
Help for installing the interface as a service is available at any time with the command:
rdbmspi.exe –help 

Change to the directory where the rdbmspi1.exe executable is located. Then, consult the following table to determine the appropriate service installation command.
	Windows Service Installation Commands on a PI Interface Node or a PI Server Node
with Bufserv implemented

	Manual service
	rdbmspi.exe –install –depend “tcpip bufserv”

	Automatic service
	rdbmspi.exe –install –auto –depend “tcpip bufserv”

	*Automatic service with service id
	rdbmspi.exe –serviceid X –install –auto –depend “tcpip bufserv”

	Windows Service Installation Commands on a PI Interface Node or a PI Server Node
without Bufserv implemented

	Manual service
	rdbmspi.exe –install –depend tcpip

	Automatic service
	rdbmspi.exe –install –auto –depend tcpip

	*Automatic service with service id
	rdbmspi.exe –serviceid X –install –auto –depend tcpip


*When specifying service id, the user must include an id number. It is suggested that this number correspond to the interface id (/id) parameter found in the interface .bat file.
Check the Microsoft Windows services control panel to verify that the service was added successfully. The services control panel can be used at any time to change the interface from an automatic service to a manual service or vice versa. 

What is Meant by "Running an ODBC Application as Windows Service"? 

Please read the following bullets carefully before configuring the interface:

The interface MUST be capable of connecting to RDB as a console application before attempting to run it as a Windows service. 

Including this step is vitally important, because running an application as Windows service adds another level of complexity that can mask other issues that have nothing to do with the fact that the application is running as a Windows service. Once it has been verified that the application can run successfully as a stand-alone application, it can be assumed that any problems that arise when running the application as Windows service have something to do with the system’s configuration. 

The ODBC driver/client and any necessary database client software MUST be on the system PATH. 

On Windows 2000/XP machines, there is a distinction made between system environment variables and user environment variables. System environment variables are used whenever the operating system is in use, no matter whether there is a particular user-id logged in or not. This is important, because if the ODBC driver/client (and database client software, if needed) is listed on the PATH environment variable as user environment variables, these values will only be valid as long as the particular user-id for whom they are set is logged in, and not at system boot-up. 

If using an ODBC data source to establish the connection, the data source MUST be a System DSN. 

The reasons for this are similar to the first situation - user DSNs can only be accessed by someone logged into the machine with a particular user-id, and not at system boot-up. System DSNs are available at boot-up and by any application running under any account. 

To check this, open the ODBC Data Source Administrator and make sure that the data source in question appears on the list on the "System DSN" tab. If it is not there, create one and add it to this list, and ensure the application points to it. 

The latest version of MDAC MUST be on the interface node. 

There has been at least one occasion where a customer was able to resolve his issue running his application as a service with his database by installing the latest MDAC. As of the authoring of this document, MDAC 2.8 SP1 is the latest version. 

Control Program

The RDBMSPI Interface ships with a tool called the Control Program for PI Interfaces (CPPI). Its primary goal is to provide users with a trouble-shooting tool; CPPI users can for example on-line see the values of placeholders, inspect individual result-sets as they arrived from RDB, influence the debug printout without stopping the interface, etc.
The CPPI functionality is accessible via the Microsoft Management Console (MMC), or programmatically. 

CPPI/RDBMSPI Functionality Accessed via MMC

Microsoft Management Console (MMC) provides the graphical front-end, that simplifies working with individual text commands. The RDBMSPI install kit optionally installs the CPPI along with the MMC Snap-In into the directory PIPC\Interfaces\RDBMSPI\MMC.


[image: image14.png]2 P RDBMS (rdbodb) Interface Setup.

Select Features.

Please select which features you wauld .

=~ RDBMSFI Feature Descripti
| Corirol Program (CPP) for debugging and

culion and view data

98 Entire feature wilbe nstalled o focal hard drivetag i scheded forpro

G Feature wil be nstaled when requied mEnEslrE e

X Entire feature wil be unavaiable OKB on your hard diive.

Dot ] [ Resst ] [<Ba ) fe> ] [ Coesl






( Run RDBMSPI.msc and refer to the following screen shots for information on how to connect and communicate with the interface. The first step is to add the RDBMSPI interface to the CPPI folder - right click the CPPI folder, and select 'Add Interface…'

[image: image15.png]=lolx|

|y Consle inaow telp D= E|E -5
| acton view Esvortes || ¢ = | (@ | B | @

Tree | Favartes Name [

S — T

£ crpl

B Plinterface x|

Location

Nods:
Inteface:  [FRDEMSP

Interface ID: [100





Computer
- Windows Node Name of the computer the interface is running on.
(The dot '.' means the local node.)

Interface
- Interface name - RDBMSPI
Interface ID
- Instance number. (Corresponds to the /in=n start-up parameter.)

Note: When connecting to a computer in a different domain, use the Windows Explorer and map a drive on such a computer first. This should bypass the authentication problems the CPPI pipe might experience.

After the connection is successfully established, on the left-hand side of the MMC four folders appear. The Debug Level allows changing the current debug settings, the Monitor provides run-time statistics for the RDBMSPI Interface.

[image: image16.png]B2 = ST

|5 Coetimiow_tob

| scton Vew ewvortes || & = | Em|

Tree | Favartes | feld et -
[ Console Rost . Interface wn time: 0 dayls) 2 hourls) 3 min12 sec.
e i seren e Coi
S romser 100 e [ A Vesr: s
et el | T Vet sis
/3 Mnitor [RDBMSP Version 308
Deta Number of exccuted queties:
Text commands Scan Class 1 217
Scon S 2 s
Scon S 3 ki
v i s SISO 1
ot Coss SNUSOID | 222

Bytes received via UDBC calls_| 1258284
Prepared ODBC staements: | 24

(ODEC statemert erars occured| 0

(0DBC Enviorment setings: gl
50L_ATTR_CONNECTION_PO[SOL_CP_OFF
50L_ATTR_CP_MATCH 50L_CP_STRICT_MATCH
50L_ATTR_ODBC_ VERSION [50L_0V_ODBC3

50L ATTR_OUTPUT_NTS _[50L_TRUE

(ODEC Carnectian setings:
50L_ATTR_ACCESS MODE _|SGL_MODE_READ_WRITE
50L_ATTR_AUTOCOMMIT _|50L_AUTOCOMMIT_ON
50L_ATTR_DDBC_CURSORS |S0L_CUR_USE_DRIVER
50LATTR_QUIET_MODE | Nol Supported
50L_ATTR_TRACE SOL_OPT_TRACE_OFF

. o G _,_I
[ [





The table below describes what the Monitor view summarizes. Most of the Monitor information is also directed to the RDBMSPI specific log file.

	Data
	Comment

	Interface run time
	Elapsed time since the interface starts.

	Number of executed queries
	The overall number of queries that were executed in all scan classes since the interface startup.

	Bytes received via ODBC calls
	Total number of bytes fetched from SELECT queries.

	Prepared ODBC statements
	Total number of SQL statements prepared for execution.

	ODBC statement errors occurred
	All errors occurred (at the ODBC statement level) since the interface startup.

	Information that is ODBC driver specific follows:
- ODBC Environment
- Connection handle settings and several selected items regarding the ODBC driver used
- ODBC driver manager 
- Actual data source the interface is connected to


The Data folder provides a graphical front-end where one can select a tag, see the executed SQL query with actual values of placeholders and, finally, inspect the result-set returned by the query.

[image: image17.png]|5 Coetimiow_tob

| acton view Ewvortes || & » | @@ | 2

Tree |Favrtes | T
[ conoole oot Staws:  [FUNNING
-G Pl
B0 ROBMSPL100 nerte | | Scanclass: [ | Tag [Thectiiz 3
23 Debug level
ontor stop.. | ten | | Cotrue || Getstaus |
Sata
Tert commands | ~Restilset
50 sttements
[SELECT {Fn NOW/(}1.0 =

<0

Plaseholders:

placeholder value

Resulset

Exprl 000 Exprio0T
ZEdn02 1140440 1 0





· The Status Edit Box shows the actual interface's status in relation to the possible break point definitions. The content of the Edit Box is refreshed whenever the Get Status button is pressed. 

· Two Combo Boxes Scan Class and Tag contain all (active) interface tags divided into the three scan class types: I – standard (time based) input, E – event based input; O – event based output. Both combo boxes are filled immediately after the CPPI connects to the interface. 

· The Stop button defines break points. (It is only possible to define break points for one tag - the one selected). Two break points may be specified – one before the query is executed and one after the execution. Thus the values of the placeholders are visible before the query delivers a result-set (and immediately after).

·  Next and Continue buttons move the execution forward. The Next button forces the interface to continue running until it encounters a subsequent break point. The Continue button deletes all break points and let the interface to run normally. 

	Break Point(s) Defined
	Tag Has More  SQL Statements
	Pressing Next Means:

	Before Execution
	Yes
	Execution stops before the SQLExecute() call of individual statements in the batch of SQL statements defined for the given Tag. After stepping through all statements in a batch (by pressing the Next button), the subsequent tag from the same scan class follows.

	
	No
	Execution stops before the SQLExecute() function call for the subsequent tag in the same scan class. This tag is shown in the Tag edit box

	After Execution
	Yes
	Execution stops immediately after the SQLExecute() function call of individual statements in the batch of SQL queries for the given tag. After stepping through all statements in a batch (by pressing the Next button), the subsequent tag from the same scan class follows. 

	
	No
	Execution stops after the SQLExecute() function call for the subsequent tag in the same scan class. This tag is shown in the Tag edit box

	Before and After Execution
	Yes
	Combination of the above.

	
	No
	Combination of the above.


Note: An open connection through CPPI causes the interface stores the relevant information in memory for each tag serviced. I.e. it keeps the latest result sets (for input tags) as well as placeholders' run-time values. Disconnection causes this information to be released and the memory is freed.

The Text Commands folder lists all the commands that are supported by the CPPI. The table below summarizes them.

	Command
	Number of Parameters
	Description

	MONITOR
	0
	Returns the two-dimensional array of information about the interface.

	GETDEBUG
	0
	Returns the current debug level (/deb=n)

	SETDEBUG
	1
	Sets the new debug level.

	GETTAGS
	0
	Returns the two-dimensional array of tags serviced by the interface. The tags are divided according to scan classes.

	GETSQL
	3
	Returns the SQL statement(s) for the particular tag including the placeholders' values. 
The arguments are:
- scan class number
- scan class type (I/E/O)
- tag name

	GETRESULTSET
	3
	Shows the SELECTed result-set.
The arguments are:
- scan class number
- scan class type (I/E/O)
- tag name

	STOPON
	4
	Forces the interface to stop execution (sets the breakpoint) on the given scan class/tag.
The arguments are:
- scan class number
- scan class type (I/E/O)
- tag name
- breakpoint position (A/B) 
(A-After execution
B-Before execution)

	GETTRACESTATUS
	0
	Returns the execution status depending on the breakpoints set.

	NEXT
	0
	Forces the program execution to run until the next breakpoint.

	CONTINUE
	0
	Clears all breakpoints and allows the interface to continue normal execution.

	SHUTDOWN
	0
	Shuts down the interface.

	HELP
	0
	Provides a description of each command.


Digital States

For more information regarding Digital States, refer to the PI Server documentation.

Digital State Sets

PI digital states are discrete values represented by strings. These strings are organized in PI as digital state sets. Each digital state set is a user-defined list of strings, enumerated from 0 to n to represent different values of discrete data. For more information about PI digital tags and editing digital state sets, see the PI Server manuals.

An interface point that contains discrete data can be stored in PI as a digital tag. A Digital tag associates discrete data with a digital state set, as specified by the user.

System Digital State Set

Similar to digital state sets is the system digital state set. This set is used for all tags, regardless of type to indicate the state of a tag at a particular time. For example, if the interface receives bad data from an interface point, it writes the system digital state Bad Iput to PI instead of a value. The system digital state set has many unused states that can be used by the interface and other PI clients.

PointSource 

The PointSource is a unique, single or multi-character string that is used to identify the PI point as a point that belongs to a particular interface. For example, the string Boiler1 may be used to identify points that belong to the MyInt Interface. To implement this, the PointSource attribute would be set to Boiler1 for every PI Point that is configured for the MyInt Interface. Then, if /ps=Boiler1 is used on the startup-command line of the MyInt Interface, the Interface will search the PI Point Database upon startup for every PI point that is configured with a PointSource of Boiler1. Before an interface loads a point, the interface usually performs further checks by examining additional PI point attributes to determine whether a particular point is valid for the interface. For additional information, see the /ps parameter.
Case-sensitivity for PointSource Attribute

If the interface is running on a PINet node, use a capital letter (or a case-insensitive character such as a number, a question mark, etc.) for the PointSource attribute when defining points. For all other scenarios, the case of the PointSource is insignificant. 

In all cases, the PointSource character that is supplied with the /ps command-line parameter is not case sensitive. That is, /ps=P and /ps=p are equivalent. It is only necessary to be careful with the case of the PointSource during point definition and only if the Interface will be running on a PINet node communicating to a PI Server.

Reserved Point Sources

Several subsystems and applications that ship with PI are associated with default PointSource characters. The Totalizer Subsystem uses the PointSource character T, the Alarm Subsystem uses G and @, Random uses R, RampSoak uses 9, and the Performance Equations Subsystem uses C. Do not use these PointSource characters or change the default point source characters for these applications. Also, if a PointSource character is not explicitly defined when creating a PI point; the point is assigned a default PointSource character of L (PI 2) or Lab (PI 3). Therefore, it would be confusing to use L or Lab as the PointSource character for an interface

Note: Do not use a point source character that is already associated with another interface program. However it is acceptable to use the same point source for multiple instances of an interface.

PI Point Configuration

A PI point corresponds to a single parameter in the interfaced system. For example, a counter, a set point, a process variable, and the high and low control limits would each serve as a separate point in the PI System database. Each of these points must be defined and configured individually using PIDIFF, PICONFIG or the PI-SMT Excel Add-In. 
For more information regarding point configuration, see the Data Archive (DA) section of the PI System Manual. 
The following point attributes are relevant to configure tags used with the RDBMS to PI Interface.

Point Attributes

Use the point attributes below to define the PI Point configuration for the Interface, including specifically what data to transfer.
Tag

A tag is a label or name for a point. Any tag name can be used in accordance to the normal PI point naming conventions.

Length

The length of the Tag field is limited by the version of the PI API, the version of the PI Server, and sometimes by a specific Interface.  The table below explains this in more detail.  When the maximum possible lengths differ for the software installed on site, the shortest length applies.

	Software
	Version
	Maximum Length

	This Interface
	Current
	1023

	PI API
	Below 1.6
	255

	PI API
	1.6
	1023

	PI Server
	Below 3.4.370.x
	255

	PI Server
	3.4.370.x or higher
	1023


PointSource
The PointSource is a unique, single or multi-character string that is used to identify the PI point as a point that belongs to a particular interface. For additional information, see the /ps command-line parameter and the “Point Source” section.

Note:  See in addition the Location1 parameter – interface instance number.

Point Type 

Typically, device point types do not need to correspond to PI point types. For example, integer values from a device can be sent to floating-point or digital PI tags. Similarly, a floating-point value from the device can be sent to integer or digital PI tags, although the values will be truncated. 

	PointType
	How It Is Used

	Digital
	Used for points whose value can only be one of several discrete states. These states are predefined in a particular state set (PI 3.x).

	Int16
	15-bit unsigned integers (0-32767)

	Int32
	32-bit signed integers (-2147450880 – 2147483647)

	Float16
	Scaled floating-point values. The accuracy is one part in 32767

	Float32
	Single-precision floating point values.

	Float64
	Double-precision floating point values. 

	String
	Stores string data of up to 1000 characters.

	Timestamp
	The Timestamp point type for any time/date in the range 
01-Jan-1970 to 01-Jan-2038 Universal Time (UTC).


Table 20. Supported PI Point Types

For more information on the individual point types, see PI Data Archive for NT and UNIX.

Location1  

This is the number of the interface process that collects data for this tag. The interface can run multiple times on one node (PC) and therefore distribute the CPU power evenly. In other words Location1 allows further division of points within one Point Source.
The Location1 parameter should match the parameter /IN or /ID found in the startup file.

Note:  It is possible to start multiple interface processes on different PI API nodes. But then a separate software license for the interface is required. One API node can run an unlimited number of instances.

Location2

The second location parameter specifies if all rows of data returned by a SELECT statement should be written into the PI database, or if just the first one is taken (and the rest skipped).

Note:  For Tag Groups, the master tag will define this option for all tags in a group. It is not possible to read only the first record for one group member and all records for another one. 

Note:  For Tag Distribution, the interface ALWAYS takes the whole result-set regardless of the Location2 setting.

	Location2
	Data Acquisition Strategy

	0
	Only the first record is valid 
(except for the Tag Distribution Strategy)

	1
	The interface fetches and sends all data in the result-set to PI


Note:  If there is no timestamp column in the SELECTed result-set and Location2=1; that is, the interface automatically provides the execution time, all the rows will potentially be time-stamped with the same time.

Location3

The third location parameter specifies the Distribution Strategy - how the selected data will be interpreted and sent to PI:

	Location3
	Data Acquisition Strategy

	0
	SQL query populates a Single Tag

	> 0
	Location3 represents the column number of a multiple field query Tag Groups

	-1
	Tag Distribution 
(Tag name or Tag Alias name must be part of the result set)

	-2
	RxC Distribution
(multiple tag names or tag aliases name must be part of the result set)



Table 21. Location3
Location4

Scan-based Inputs

For interfaces that support scan-based collection of data, Location4 defines the scan class for the PI point. The scan class determines the frequency at which input points are scanned for new values. 

Note: For trigger-based inputs, unsolicited inputs, and output points, Location4 should be set to zero.

	Location4
	Type of Evaluation

	Positive number
	Index to the position of /f= startup parameter keyword (scan class number)

	0
	Event based output and event based input, unsolicited points 

	-1
	Specifies the managing tag for recording of Pipoint Database changes in the short form.   See section Recording of PI Point Database Changes for more details.

	-2
	Specifies the managing tag for recording of Pipoint Database changes in the full form.   See section Recording of PI Point Database Changes for more details.





Table 22. Location4 

Location5  

Input Tags 

If Location5 = 1 the interface bypasses the exception reporting. For sending data to PI it then uses the pisn_putsnapshot() function. 
Out-of-order data always goes directly to the archive (via the function piar_putarcvaluex(ARCREPLACE)).  

Out-of-order data means newvalue.timestamp < prevvalue.timestamp.

	Location5
	Behavior

	0
	The interface does the exception reporting in the standard way. Out-of-order data is supported, but existing archive values cannot be replaced; there will be the -109 error in the pimessagelog.
For PI points of type String and Blob - Exception Deviation>0 means sending only changes to PI (assuming ExcMax!=0).

	1
	In-order data - the interface gives up the exception reporting - each retrieved value is sent to PI;
For out-of-order data - the existing archive values (same timestamps) will be replaced and the new events will be added (piar_putarcvaluex(ARCREPLACE)). 
For PI3.3+ servers the existing snapshot data (the current value of a tag) is replaced. For PI2 and PI3.2 (or earlier) systems the snapshot values cannot be replaced. In this case the new value is added and the old value remains.

Note: When there are more events in the archive at the same timestamp, and the piar_putarcvaluex(ARCREPLACE) is used (out-of-order-data), only one event is overwritten – the first one entered!

	2
	If the data comes in-order - the behavior is the same as with Location5=1 
For out-of-order data – values are always added; that is, multiple values at the same timestamp can occur (piar_putarcvaluex(ARCAPPENDX)).


Output Tags

	Location5
	Behavior

	-1
	In-order data is processed normally.

Out-of-order data does not trigger the query execution.

	0
	In-order as well as out-of-order data is processed normally.

Note: No out-of-order data handling in the recovery mode! See chapter RDBMSPI - Recovery Modes 
(Only Applicable to Output Points)

	1
	In-order data is processed normally.
Enhanced out-of-order data management.

Note: special parameters that can be evaluated in the SQL query are available; see the chapter Out-Of-Order Recovery.



Table 23. Location5 for Input and Output Tags

InstrumentTag

Length

The length of the InstrumentTag field is limited by the version of the PI API, the version of the PI Server, and sometimes by a specific Interface.  The table below explains this in more detail.  When the maximum possible lengths differ for the software installed on site, the shortest length applies.

	Software
	Version
	Maximum Length

	This Interface
	Current
	1023

	PI API
	Below 1.6
	32

	PI API
	1.6
	1023

	PI Server
	Below 3.4.370.x
	32

	PI Server
	3.4.370.x or higher
	1023


The InstrumentTag attribute is the filename containing the SQL statement(s). The file location is defined in a start-up parameter by the /SQL= directory path.

The file is only evaluated when the pertinent tag gets executed for the first time, and after each point attribute change event. If the SQL statement(s) needs to be changed (during the interface operation), OSIsoft, Inc. recommends editing any of the PI point attributes - it forces the interface to re-evaluate the tag in terms of closing the opened SQL statement(s) and re-preparing the new statement(s) again.
ExDesc
Length

The length of the Extended Descriptor field is limited by the version of the PI API, the version of the PI Server, and sometimes by a specific Interface.  The table below explains this in more detail.  When the maximum possible lengths differ for the software installed on site, the shortest length applies.

	Software
	Version
	Maximum Length

	This Interface
	Current
	1023

	PI API
	Below 1.6
	80

	PI API
	1.6
	1023

	PI Server
	Below 3.4.370.x
	80

	PI Server
	3.4.370.x or higher
	1023


The following table summarizes all the RDBMSPI specific definitions that can be specified in Extended Descriptor:

	Keyword
	Example
	Remark

	/ALIAS
	/ALIAS=Level321_in
or
/ALIAS="Tag123 Alias"
 (support for white spaces)
	Used with the DISTRIBUTOR strategy. This allows having different point names in RDB and in PI.

	/EXD
	/EXD=D:\PIPC\...\PLCHLD1.DEF
	Allows getting over the 80-character limit (PI2) of the Extended Descriptor. (Suitable for tags with more placeholders.)

	/SQL
	/SQL="SELECT TIMESTAMP, VALUE, STATUS FROM TABLE WHERE TIMESTAMP >?;" P1=TS
	Suitable for short SQL statements. Allows the on-line statement changes (sign-up-for-updates) to be immediately reflected. The actual statement should be double-quoted and the ending semicolon is mandatory.

	/TRANSACT
	/TRANSACT
	Each transaction is explicitly committed or rolled back. It switches off the AUTOCOMMIT mode for this statement.

	/TRIG
or
/EVENT


	/EVENT=sinusoid

/EVENT='tag name with spaces'
/EVENT=tagname, /SQL="SELECT…;"

special:
/EVENT=sinusoid condition
	Used for event driven input points. Each time the particular event point changes the actual point is processed. Comma is used to divide the /EVENT keyword and possible following definition.
An optional condition keyword can be specified in order to filter input events (trigger conditions).



Timestamp Value Status and Annotation placeholder definitions:
	Keyword
	Example
	Remark

	TS VL SS_I SS_C
ANN_TS ANN_R ANN_I ANN_C
	P1=TS P2=VL P3=ANN_C
	Snapshot placeholder definitions.


PI Batch Subsystem related keywords:

	Keyword
	Example
	Remark

	/BA.ID


	/BA.ID="Batch1"
	Wildcard string of PIBatchID to match; defaults to "*".

	/BA.GUID
	/BA.GUID="16-bytes GUID"
	Exact Unique ID of PIBatch object

	/BA.PRODID
	/BA.PRODID="Product1"
	Wildcard string of Product to match; defaults to "*".

	/BA.RECID
	/BA.RECID="Recipe1"
	Wildcard string of Recipe name to match; defaults to "*".

	/BA.START
	/BA.START="*-3d"
	Search start time in PI time format.

	/BA.END
	/BA.END="*"
	Search end time in PI time format.

	/UB.BAID
	/UB.BAID="Batch1"
	Wildcard string of PIBatchID (Unit Batches) to match. Defaults to "*".

	/UB.GUID
	/UB.GUID="16-bytes GUID"
	Unique id of PIUnitBatch

	/UB.MODID
	/UB.MODID="Module1"
	Wildcard string of a PIModule name to match. Defaults to "*".

	/UB.MODGUID
	/UB.MODGUID="16- bytes GUID"
	Unique id of PIModule

	/UB.PRODID
	/UB.PRODID="Product1"
	Wildcard string of Product to match. Defaults to "*".

	/UB.PROCID
	/UB.PROCID="Procedure1"
	Wildcard string of ProcedureName to match. Defaults to "*".

	/SB.ID
	/SB.ID="SubBatch1"
	Wildcard string of PISubBatch name to match. Defaults to "*".

	/UB.START
	/UB.START="*-10d"
	Search start time in PI time format.

	/UB.END
	/UB.END="*"
	Search end time in PI time format.

	/SB_TAG
	/SB_TAG="Tagname"
	Control tag for PISubBatch INSERT


Note:
Extended Descriptor size is limited to 1024 characters.

Note:
The keyword evaluation is case SENSITIVE. I.e. the aforementioned keywords have to be in capital letters!

The keywords in the following table can be used to specify trigger conditions.  

	Event Condition
	Description

	Anychange
	Trigger on any change as long as the value of the current event is different than the value of the previous event.  System digital states also trigger events.  For example, an event will be triggered on a value change from 0 to "Bad Input," and an event will be triggered on a value change from "Bad Input" to 0.  

	Increment
	Trigger on any increase in value.  System digital states do not trigger events.  For example, an event will be triggered on a value change from 0 to 1, but an event will not be triggered on a value change from "Pt Created" to 0.  Likewise, an event will not be triggered on a value change from 0 to "Bad Input."

	Decrement
	Trigger on any decrease in value.  System digital states do not trigger events.  For example, an event will be triggered on a value change from 1 to 0, but an event will not be triggered on a value change from "Pt Created" to 0.  Likewise, an event will not be triggered on a value change from 0 to "Bad Input."

	Nonzero
	Trigger on any non-zero value.  Events are not triggered when a system digital state is written to the trigger tag.  For example, an event is triggered on a value change from "Pt Created" to 1, but an event is not triggered on a value change from 1 to "Bad Input."



Table 24. Keywords Recognized in Extended Descriptor

Performance Points

For UniInt-based interfaces, the extended descriptor is checked for the string “PERFORMANCE_POINT”. If this character string is found, UniInt treats this point as a performance point. See the section called “Performance Points.” 

Trigger-based Inputs
For trigger-based input points, a separate trigger point must be configured. An input point is associated with a trigger point by entering a case-insensitive string in the extended descriptor (ExDesc) PI point attribute of the input point of the form:

keyword=trigger_tag_name
where keyword is replaced by “event” or “trig” and trigger_tag_name is replaced by the name of the trigger point. There should be no spaces in the string. UniInt automatically assumes that an input point is trigger-based instead of scan-based when the keyword=trigger_tag_name string is found in the extended descriptor attribute.

An input is triggered when a new value is sent to the Snapshot of the trigger point. The new value does not need to be different than the previous Snapshot value to trigger an input, but the timestamp of the new value must be greater than (more recent than) or equal to the timestamp of the previous value. This is different than the trigger mechanism for output points. For output points, the timestamp of the trigger value must be greater than (not greater than or equal to) the timestamp of the previous value.

Conditions can be placed on trigger events.  Event conditions are specified in the extended descriptor as follows:

Event='trigger_tag_name' event_condition

The trigger tag name must be in single quotes.  For example,

Event='Sinuoid' Anychange
will trigger on any event to the PI Tag sinusoid as long as the next event is different than the last event.  The initial event is read from the snapshot.  

The keywords in the following table can be used to specify trigger conditions.  

	Event Condition
	Description

	Anychange
	Trigger on any change as long as the value of the current event is different than the value of the previous event.  System digital states also trigger events.  For example, an event will be triggered on a value change from 0 to “Bad Input,” and an event will be triggered on a value change from “Bad Input” to 0.  

	Increment
	Trigger on any increase in value.  System digital states do not trigger events.  For example, an event will be triggered on a value change from 0 to 1, but an event will not be triggered on a value change from “Pt Created” to 0.  Likewise, an event will not be triggered on a value change from 0 to “Bad Input.”

	Decrement
	Trigger on any decrease in value.  System digital states do not trigger events.  For example, an event will be triggered on a value change from 1 to 0, but an event will not be triggered on a value change from “Pt Created” to 0.  Likewise, an event will not be triggered on a value change from 0 to “Bad Input.”

	Nonzero
	Trigger on any non-zero value.  Events are not triggered when a system digital state is written to the trigger tag.  For example, an event is triggered on a value change from “Pt Created” to 1, but an event is not triggered on a value change from 1 to “Bad Input.”


Scan

By default, the Scan attribute has a value of 1, which means that scanning is turned on for the point. Setting the scan attribute to 0 turns scanning off. If the scan attribute is 0 when the interface starts, SCAN OFF will be written to the PI point. If the scan attribute is changed from 1 to 0 while the interface is running, SCAN OFF will also be written to the PI point after the point edit is detected by the interface.

There is one other situation, which is independent of the Scan attribute, where the interface will write SCAN OFF to a PI point. If a point that is currently loaded by the interface is edited so that the point is no longer valid for the interface, the point will be removed from the interface, and SCAN OFF will be written to the point. For example, if the Point Source of a PI point that is currently loaded by the interface is changed, the point will be removed from the interface and SCAN OFF will be written to the point.

Shutdown

The Shutdown attribute is 1 (true) by default. The default behavior of the PI Shutdown subsystem is to write the SHUTDOWN digital state to all PI points when PI is started. The timestamp that is used for the SHUTDOWN events is retrieved from a file that is updated by the Snapshot Subsystem. The timestamp is usually updated every 15 minutes, which means that the timestamp for the SHUTDOWN events will be accurate to within 15 minutes in the event of a power failure. For additional information on shutdown events, refer to PI Server manuals. 

Note: The SHUTDOWN events that are written by the PI Shutdown subsystem are independent of the SHUTDOWN events that are written by the interface when the /stopstat=Shutdown command-line parameter is specified.

SHUTDOWN events can be disabled from being written to PI when PI is restarted by setting the Shutdown attribute to 0 for each point. Alternatively, the default behavior of the PI Shutdown Subsystem can be changed to write SHUTDOWN events only for PI points that have their Shutdown attribute set to 0. To change the default behavior, edit the \PI\dat\Shutdown.dat file, as discussed in PI Server manuals.

Bufserv 

It is undesirable to write shutdown events when Bufserv is being used. Bufserv is a utility program that provides the capability to store and forward events to a PI Server, allowing continuous data collection when the Server is down for maintenance, upgrades, backups, and unexpected failures. That is, when PI is shut down, Bufserv will continue to collect data for the interface, making it undesirable to write SHUTDOWN events to the PI points for this interface.

SourceTag

Output points control the flow of data from the PI Data Archive to any outside destination, such as a PLC or a third-party database. The UNIINT based interfaces (including RDBMSPI) do use an indirect method for outputting values. I.e. there are always two points involved – the SourceTag and the output tag. The output tag is actually an intermediary through which the SourceTag's snapshot is sent out. The rule is that whenever a value of the SourceTag changes, the interface outputs the value and, consequently, the output tag receives a copy of this event.
That means that outputs are normally not scheduled via scan classes (executed periodically). Nevertheless, outputting data to RDB on a periodical basis is possible. The interface does not namely mandate that the SQL statements for input points must be SELECTs. Input points can execute INSERTs, UPDATEs, DELETEs – SQL statements that send values to RDB (see chapter Output from PI for examples).
For outputs triggered via the SourceTag, the trigger tag (SourceTag) can be associated with ANY point source, including the point source of the interface it works with (referenced through the /ps start-up parameter). Also, the point type of the trigger tag does not need to be the same as the point type of the output tag. The default data type transformation is implemented.
As mentioned in previous paragraphs, an output is triggered when a new value is sent to the snapshot of a SourceTag. If no error is indicated (during the interface's output operation) then this value is finally copied to the output point. If the output operation is unsuccessful (e.g. any ODBC run time error occurred), then an appropriate digital state (Bad Output) is written to the output point. 

Note: In case of an ODBC call failure the output tag will receive the status Bad Output. 

Unused Attributes

The interface does not use the following tag attributes

· Conversion factor

· Filter code

· Square root code

· Total code

· UserInt1,2

· UserReal1,2

Performance Point Configuration
Performance points can be configured to monitor the amount of time in seconds that an interface takes to complete a scan for a particular scan class. The closer the scan completion time is to 0 seconds, the better the performance. The scan completion time is recorded to millisecond resolution

Configuring Performance Points with PI ICU (Windows)

The PI Interface Configuration Utility (PI ICU) provides a user interface for creating and managing Performance Points. 
[image: image18.png]Performance Points

Status Soan Class | Tagname. Snapshat
St s

NotCrealed 2 5.5t RDBMSFI1 sc2

NotCrealed 3

5.5t RDBMSFI1 53





Create

To create a Performance Point, right-click the line belonging to the tag to be created, and select Create. 

Delete

To delete a Performance Point, right-click the line belonging to the tag to be deleted, and select Delete. 

Correct

If the “Status” of a point is marked “Incorrect”, the point configuration can be automatically corrected by ICU by right-clicking on the line belonging to the tag to be corrected, and selecting Correct. The Performance Points are created with the following PI attribute values. If ICU detects that a Performance Point is not defined with the following, it will be marked Incorrect:

	Attribute
	Details

	Tag
	Tag name that appears in the list box

	PointSource
	Point Source for tags for this interface, as specified on the first tab

	Compressing
	Off

	ExcMax
	0

	Descriptor
	Interface name + “ Scan Class # Performance Point”


Rename

Right-click the line belonging to the tag and select “Rename” in order to rename the Performance Point. 

Status

The Status column in the Performance Points table indicates whether the Performance Point exists for the scan class in column 2.

· Created – Indicates that the Performance Point does exist

· Not Created – Indicates that the Performance Point does not exist

· Deleted – Indicates that a Performance Point existed, but was just deleted by the user

Scan Class

The Scan Class column indicates which scan class the Performance Point in the Tagname column belongs to. There will be one scan class in the Scan Class column for each scan class listed in the Scan Classes combo box on the UniInt Parameters tab.

Tagname

The Tagname column holds the Performance Point tag name.

Snapshot

The Snapshot column holds the snapshot value of each Performance Point that exists in PI. The Snapshot column is updated when the Performance Points/Counters tab is clicked, and when the interface is first loaded.
Configuring Performance Points Manually

Performance point configuration is the same on all operating system platforms. Performance points are configured as follows.

1. Set the extended descriptor to:
PERFORMANCE_POINT
or to:
PERFORMANCE_POINT=interface_id
where interface_id corresponds to the identifier that is specified with the /id parameter on the startup command line of the interface. The character string PERFORMANCE_POINT is case insenstive. The interface_id does not need to be specified if there is only one copy of an interface that is associated with a particular point source.
2. Set Location4 to correspond to the scan class whose performance is to be monitored. For example, to monitor scan class 2, set Location4 to 2. See the /f parameter for a description of scan classes.
3. Set the PointSource attribute to correspond to the /ps parameter on the startup command line of the interface.
Set the PointType attribute to float32.

I/O Rate Tag Configuration
An I/O Rate tag measures the throughput of an Interface.  In particular, the value of an I/O Rate point represents a 10-minute average of the total number of values per minute that the Interface sends to the PI Server.  Because values are averaged over a 10-minute interval, the first calculated value is not written to the PI Server until 10 minutes after the Interface has started.  The user can configure one I/O Rate tag for each copy of the Interface that is in use. 

Monitoring I/O Rates on the Interface Node

For Windows nodes, the 10-minute rate averages (in events/minute) can be monitored with a client application such as PI ProcessBook. 

Configuring I/O Rate Tags with PI ICU (Windows)

The PI Interface Configuration Utility (PI ICU) provides a user interface for creating and managing I/O Rate Tags.

[image: image19.png]Input I0R ates Tag
¥ (il I0Fales fo s ifacs

=] 9
Crste Rt
Bt [
Tagrame:  [s71o sy AOBVGI

TagStatus:  [NotCrested
InFile: Mo

Sapshor [





PI ICU currently allows for one I/O Rate tag to be configured for each copy of the interface that is in use. Some interfaces allow for multiple I/O Rate tags.

Enable IORates for this Interface

The Enable IORates for this interface check box enables or disables the I/O Rate point for the Interface. To disable the I/O Rate point, uncheck this box.  To enable the I/O Rate point, check this box.

Event Counter

The Event Counter number correlates a point specified in the IORates.dat file with this Interface.  This correlation results from the command line parameter

/ec=x 

where x is the same number that is assigned to the point named in the IORates.dat file.

Tagname

The tag name listed under the Tagname column is the name of the I/O Rates point.

Tag Status

The Tag Status column indicates whether the I/O Rate point currently exists in PI Server. The possible states are:

· Created - This status indicates that the point exists in PI Server

· Not Created - This status indicates that the point does not yet exist in PI Server

· Deleted - This status indicates that the point has just been deleted

· Unknown - This status indicates that the PI ICU is not able to access PI Server

In File

The In File column indicates whether the I/O Rates point listed in the Tagname column and the event counter number listed in the Event Counter column are in the IORates.dat file.  The possible states are:

· Yes - This status indicates that the I/O Rate point and the event counter number are in the IORates.dat file

· No - This status indicates that the I/O Rate point and the event counter number are not in the IORates.dat file

Snapshot

The Snapshot column holds the snapshot value of the I/O Rate tag, if the I/O Rate tag exists in PI. The Snapshot column is updated when the IORates/Status Tags tab is clicked, and when the Interface is first loaded.

Button Menu Options

Create

Create the suggested I/O Rates point with the tag name indicated in the Tagname column.

Delete

Delete the I/O Rate point listed in the Tagname column.

Reset

Change the value in the Tagname text box back to the default value.

Rename

Allow the user to specify a new name for the I/O Rate point listed in the Tagname column.

Add to File

Add the I/O Rate point and the event counter number to the IORates.dat file.

Search [image: image20.bmp]
Allow the user to search the PI Server a previously defined I/O Rate points.

Update Snapshot [image: image21.bmp]
Allow the user to refresh the snapshot value.

Configuring I/O Rate Points Manually

There are two configuration steps.

1. Configuring the PI Point on the PI Server

2. Configuration on the Interface Node

Configuring the PI Point on the PI Server

Create an I/O Rate Point with the following PI point attribute values. 

	Attribute
	Value

	PointSource
	L

	PointType
	float32

	Compressing
	0

	ExcDev
	0


Configuration on the Interface Node

For the following examples, assume that the name of the PI tag is sycitect01 and that name of the I/O Rate on the home node is sycitect001. 
1. Edit/Create a file called iorates.dat in the PIHOME\dat directory. The PIHOME directory is defined either by the PIPCSHARE entry or the PIHOME entry in the pipc.ini file, which is located in the %windir% directory. If both are specified, the PIPCSHARE entry takes precedence.

Since the PIHOME directory is typically C:\PIPC, the full name of the iorates.dat file will typically be C:\PIPC\dat\iorates.dat.

Add a line in the iorates.dat file of the form:

sycitect001, x
where sycitect001 is the name of the I/O Rate Tag and x corresponds to the first instance of the /ec=x parameter in the startup command file. X can be any number between 2 and 34 or between 51 and 200, inclusive. To specify additional rate counters for additional copies of the interface, create additional I/O Rate tags and additional entries in the iorates.dat file. The event counter, /ec=x, should be unique for each copy of the interface. 

2. Set the /ec parameter on the startup command file of the interface to match the event counter in the iorates.dat file.  

The interface must be stopped and restarted in order for the I/O Rate to take effect.  I/O Rates will not be written to the tag until 10 minutes after the interface is started.
Startup Command File

Command-line parameters can begin with a slash /. 
Notes for Windows 

For Windows, command file names have a .bat extension. The Windows continuation character (^) allows for the use of multiple lines for the startup command. The maximum length of each line is 1024 characters (1 kilobyte). The number of parameters is unlimited, and the maximum length of each parameter is 1024 characters.

PI Interface Configuration Utility on Windows
The PI Interface Configuration Utility (PI ICU) provides a tool for configuring the Interface startup command file. Any new or existing PI interface can be configured and maintained using PI ICU. PI ICU uses the PI Module Database on the PI Server as a host for its interface startup information, so PI 3.3 is required on the host PI server.  In order to access the interface startup information stored in the Module Database, PI SDK 1.1 must be installed on the machine where the interface/PI ICU run.

Version Requirements

PI Host Server (PI Home Node)

· PI 3.3.361.43 or greater

PI ICU/interface Node

· Windows 2000/XP/2003/Vista
· PI SDK 1.1.0.142 or greater (installed by the PI ICU setup)

Functions

PI ICU includes a series of concise dialogs and tab sheets that allow the user to:

1. Set all interface parameters 

2. Start and stop the interface interactively or as a service 

3. View and configure interface service dependencies

4. Configure and run PI-Buffer Server application

5. Configure and run PI-Log Server application

Options

PI ICU also includes an assortment of tools and options that allow the user to:

6. Manage multiple PI interfaces 

7. Quickly find and view the PIPC log files 

8. Execute interface configuration diagnostics

9. Run BufUtil Buffering utility (Not recommended for this interface.)

From the PI ICU menu, select Interface, then NewWindows Interface Instance from EXE..., and then Browse to the RDBMSPI.exe executable file.  Then, enter values for Point Source and Interface ID#.  A window such as the following results: 

[image: image22.png]%y Configure a New Interface

Use the Browse butan to select Pl Inteface service fe (exe) to configure. The addiional
parameters shown may akso be selected.

1) Browse to nerface executable (iequied)

2) Host Pl Server/Cllective requied):

Bowss,

syaney

3) Optional Setings

Itettace name as displayed in the ICU (optona)

Point Saurce:

Intetface ID # Sewvice ID

RDEMS

i Suggest|  [1

Add

Ceaioks | Cime





“Interface name as displayed in the ICU (optional)” will have PI- pre-pended to this name and it will be the display name in the services menu.

Click on Add.  

The following display should appear: 

[image: image23.png]1) ROBMSPLL (ROBSPLL) i now ready o be configured wih PLnterface Confguraton Uty

&





Note that in this example the Host PI System is sydney, which means that the interface will be configured to communicate with the PI server, sydney. However, to configure the interface to communicate with a remote PI Server, select ‘Interface => Connections…’ item from PI ICU menu and make it the default server. If the remote node is not present in the list of servers, it can be added.  

Once the interface is added to PI ICU, near the top of the main PI ICU screen, the Interface Type should be rdbodbc.  If not, use the drop-down box to change the Interface Type to be rdbodbc.

Click on Apply to enable the PI ICU to manage this copy of the PI RDBMS Interface.

[image: image24.png]. Pl-Interface Configuration Utility - RDBMSPI1

Interface Tools Fielp
QEx B R

Iteitzce: [FDBMSFIT (RDBMSFI1) > sycney

Tope: dbodbe Rielational Database. Pl Server Cornestion Status

Descition sydney

Witeable

Versions: tp2000 Uniint version 4.3.0.36
saabienkeii

oo [ El
Detug SDK Member:

Type: Nanepicated - PI3

Sean Frequency Sean Class # Description:

Intetface Instalaton Path

PR efacesOBEA, .|
Cose

Service Urinstalled ROBMSPI - Not Installed




The next step is to make selections in the interface-specific tab (i.e. “rdbodbc”) that allow the user to enter values for the startup parameters that are particular to the PI RDBMS Interface.  

[image: image25.png]. Pl-Interface Configuration Utility - RDBMSPI1

Interface Tools Fielp
DEX|Hd|) o0 BR|dO

neiace:  [FOBMSPIT FOBHSPIT] > ey < _Fename

Tope: dbodbe ~] Relaional Database Pl Server Connection Status—

Descition sydney
Witeable

Versions: [RDEMSPLete version 315.0.11 Unint version 43036

Generl - elatonal Database Intaface Specic Parameters (315.0.11)
Unint |-D5N Settings File Locations
Global 501

FISDK oo al

DSt p— el
Debug - 3 =

Username:

Falover

Perfomance Poinls | “gean Class Rate Tags Recovery Out of Order Options
Perfamance Counters

Scan e jorate tag = W fopend
HeathPoris poree 1| [ e

= Time: T~ Remove

Senice
Siccossd S Range
10 Rate & I~ Nowmputerrors

Inetace Staus e =] = I Direct 5QL Exec

I Tines re U1
I Read before overwrte. DebugLevel
I~ Extbefore recomnect

Reconnect errars:

Bad Input Status Range

e -

Addtional Parameters

Close. Apply

[ Service Uninstalled RDBMSPIT - Not Installed




Since the PI RDBMS Interface is a UniInt-based interface, in some cases the user will need to make appropriate selections in the UniInt tab.  This tab allows the user to access UniInt features through the PI ICU and to make changes to the behavior of the interface.  

To set up the interface as a Windows Service, use the Service tab.  This tab allows configuration of the interface to run as a service as well as to starting and stopping of the interface. The interface can also be run interactively from the PI ICU.  To do that go to menu, select the Interface item and then Start Interactive.

For more detailed information on how to use the above-mentioned and other PI ICU tabs and selections, please refer to the PI Interface Configuration Utility User Manual.  The next section describes the selections that are available from the rdbodbc tab.  Once selections have been made on the PI ICU GUI, press the Apply button in order for PI ICU to make these changes to the interface’s startup file.  

PI ICU RDBODBC Control on Windows
Since the startup file of the PI RDBMS Interface is maintained automatically by the PI ICU, use the rdbodbc tab to configure the startup parameters and not make changes in the file manually.  The following is the description of interface configuration parameters used in the PI ICU Control and corresponding manual parameters.

[image: image26.png]. Pl-Interface Configuration Utility - RDBMSPI1

Interface Tools Fielp
DEX|Hd|) o0 BR|dO

neiace:  [FOBMSPIT FOBHSPIT] > ey < _Fename

Tope: dbodbe ~] Relaional Database Pl Server Connection Status—

Descition sydney
Witeable

Versions: [RDEMSPLete version 315.0.11 Unint version 43036

Generl - elatonal Database Intaface Specic Parameters (315.0.11)
Unint |-D5N Settings File Locations
Global 501

FISDK oo al

DSt p— el
Debug - 3 =

Username:

Falover

Perfomance Poinls | “gean Class Rate Tags Recovery Out of Order Options
Perfamance Counters

Scan e jorate tag = W fopend
HeathPoris poree 1| [ e

= Time: T~ Remove

Senice
Siccossd S Range
10 Rate & I~ Nowmputerrors

Inetace Staus e =] = I Direct 5QL Exec

I Tines re U1
I Read before overwrte. DebugLevel
I~ Extbefore recomnect

Reconnect errars:

Bad Input Status Range

e -

Addtional Parameters

Close. Apply

[ Service Uninstalled RDBMSPIT - Not Installed




The rdbodbc control for PI ICU has several sections. 

DSN Settings

DSN

Data Source Name

Username

Username for access to the DSN

Password

Password for access to the DSN

Scan Class Rate Tags

Scan class:

Select a scan class to assign to a rate tag.

I/O Rate Tag

Select the rate tag for this scan class. 

Recovery_TIme

Maximum length of time to recover.

The interaction of these 2 options is best described in RDBMSPI - Recovery Modes 
(Only Applicable to Output Points).
Successful Status Range

Select the range of "Successful" status strings from the system digital state table.

Bad Input Status Range

Select the range of "Bad Input" status strings from the system digital state table.

File Locations

Global SQL

Full path to the global SQL variable file

Log

Full path to the interface specific log file

Sql

Directory of the SQL statement files

Recovery

Select the output recovery mode, possible options are: NO_REC, TS, and SHUTDOWN.

Out of Order Options

In conjunction with Location5=1, the /ooo_option= specifies situations, for which corresponding SQL queries are executed.

Full details are in the tag configuration section for Location5. 

No Input Errors

Suppresses writing the BAD_INPUT,  IO_TIMEOUT digital states when a runtime error occurs.

Direct SQL Execution

This parameter forces the direct SQL statement execution. All SQL statements are prepared, bound and executed each time they are scheduled for execution. The default is prepare and bind once, execute many.

Times are UTC

If this is specified, the interface expects the incoming timestamp values (from RDB) in UTC and outgoing timestamps are converted to UTC - all the timestamp related placeholders (TS, ST, LST, LET, ANN_TS) are transformed.
Since version 3.15, which implemented support for the data type PItimestamp, the input as well as output to this data type is transformed to UTC as well.
To do a correct transformation it is required that Time Zone and DST settings of the interface node are valid.

Read Before Overwrite

Forces the interface to check if same value already exists in archive at the given timestamp. Interface will not send duplicate values retrieved from RDB to PI when this is checked.

Reconnect Errors

Number of consecutive occurring errors that causes the interface tries to de-allocate all ODBC statements and attempts to re-connect the RDBMS.

Debug Level

The interface prints additional information into the interface specific log file, depending on the debug level used. The amount of log information increases with the debug number as specified in the table below (see the /deb= description)
Additional Parameters

The Additional Parameters section is provided for any parameters that may be required in the future.

Command-Line Parameters

	Parameter
	Description

	/bad1=# 

Default: 0

Optional
	The /bad1 parameter is used as an index pointing to the beginning of the range (in the system digital state table) that contains "Bad Input" status strings

Strings coming as statuses from RDB are compared with this range. The following example indicates what rule is implemented

Example:

SELECT pi_timestamp, pi_value, 'N/A' FROM table .. 

In case the interface finds a match for the 'N/A' string in the PI system digital set table (in the range defined through /bad1 and /bad2), the event is archived as 'N/A'; that is, as the digital state selected from RDB.

See section Evaluation of STATUS Field – Data Input.

	/bad2=#
Default: 0

Optional
	The /bad2 parameter is used as an index pointing to the end of the range (in the system digital state table) that contains ‘Bad Input’ status strings

	/deb=#
Default: 1

Optional
	The interface prints additional information into the interface specific log file, depending on the debug level used. The amount of log information increases with the debug number as follows:

Debug Level

Output

0

No debug output.

1
(Default)

Additional information about the interface operation – PI and ODBC connection related info, defined SQL queries, information about actions taken during the ODBC link re-creation, output points recovery, etc.

2

Not implemented

3

Prints out the original data (raw values received by ODBC fetch calls per tag and scan).This helps to trace a data type conversion or other inconsistencies.

4

Prints out the actual values just before sending them to PI.

5

Prints out relevant subroutine markers, the program runs through.

Note: Only for onsite test purposes! 
Potentially huge print out!

Table 25. Debug Level Granularity

The message in the file is prefixed with the [DEB-n] marker where n reflects the set debug level.

Note: The interface has an internal limitation on the length of the print out debug information. The limitation is 1400 characters. Use the /deb=n cautiously!
Once the configuration and query execution are working, go back to /deb=1.

Note: The error and warning messages are ALWAYS printed.

	/dsn=dsn_name
Required
	Data source name created via the ODBC Administrator utility (found in Windows Control Panel). This interface only supports Machine data-sources and preferably System data-sources. 

Note: If the interface is installed as a Windows service, only the System data-sources will work!

For more information on how to setup a DSN, please see the ODBC Administrator Help, or consult the ODBC driver documentation. 

[image: image27.png]



CAUTION The configuration of using the PI ODBC driver based data source (DSN) is NOT ALLOWED. 
PI API will finally only talk to one server only (the one the PI ODBC is connected to).

	/ec=x
Optional
	The first instance of the /ec parameter on the command line is used to specify a counter number, x, for an I/O Rate point. If x is not specified, then the default event counter is 1. Also, if the /ec parameter is not specified at all, there is still a default event counter of 1 associated with the interface. If there is an I/O Rate point that is associated with an event counter of 1, each copy of the interface that is running without /ec=x explicitly defined will write to the same I/O Rate point. This means either explicitly defining an event counter other than 1 for each copy of the interface or not associating any I/O Rate points with event counter 1. Configuration of I/O Rate points is discussed in the section called “I/O Rate Tag Configuration.”

Subsequent instances of the /ec parameter may be used by specific interfaces to keep track of various input or output operations. Subsequent instances of the /ec parameter can be of the form /ec*, where * is any ASCII character sequence. For example, /ecinput=10, /ecoutput=11, and /ec=12 are legitimate choices for the second, third, and fourth event counter strings.

	/ebr
	Exit Before Reconnect. When this parameter is set and the interface encounters a connection problem with the RDBMS, it does NOT enter the reconnection loop (trying to re-create the ODBC link in one minute interval), rather, the interface exits. Then, and in case the Windows Services Recovery Option is set, the operating system automatically restarts it. RDBMSPI is then able to go through the output points’ history recovery, which only takes place at the interface start-up. Such construct avoids the “event-queue overflow” situation, should the RDBMS be not available a long time. 
The downside, however, is that  the recovery takes compressed values from PI Archive and not the snapshots, which are in the event queue.

	/erc=x
Default: (not specified)

Optional
	The /erc parameter defines the number (x) of consecutive occurring errors that causes the interface tries to de-allocate all ODBC statements and attempts to re-connect the ODBC link.  

The interface uses the ODBC error codes for finding out if a runtime error is connection specific and re-creates the ODBC link if it is.

Note: This start-up parameter was implemented because of the inconsistent behavior of some ODBC drivers with regard to the returned error codes. 


	/execdirect

Default: (when not specified) prepared execution. See the chapter Prepared Execution
Optional
	Direct SQL statement execution - SQLExecDirect()
This parameter forces direct SQL statement execution. All SQL statements are prepared, bound and executed each time before they get executed. The default mode (without this start up parameter) is to prepare-and-bind once, execute many.

	/f=SS
or
/f=SS,SS
or 
/f=HH:MM:SS
or
/f=HH:MM:SS,
hh:mm:ss

Required for reading scan-based inputs
	The /f parameter defines the time period between scans in terms of hours (HH), minutes (MM), and seconds (SS). The scans can be scheduled to occur at discrete moments in time with an optional time offset specified in terms of hours (hh), minutes (mm), and seconds (ss). If HH and MM are omitted, then the time period that is specified is assumed to be in seconds. 

Each instance of the /f parameter on the command line defines a scan class for the interface. There is no limit to the number of scan classes that can be defined. The first occurrence of the /f parameter on the command line defines the first scan class of the interface; the second occurrence defines the second scan class, and so on. PI Points are associated with a particular scan class via the Location4 PI Point attribute. For example, all PI Points that have Location4 set to 1 will receive input values at the frequency defined by the first scan class. Similarly, all points that have Location4 set to 2 will receive input values at the frequency specified by the second scan class, and so on. 

Two scan classes are defined in the following example:
/f=00:01:00,00:00:05 /f=00:00:07
or, equivalently:
/f=60,5 /f=7
The first scan class has a scanning frequency of 1 minute with an offset of 5 seconds, and the second scan class has a scanning frequency of 7 seconds. When an offset is specified, the scans occur at discrete moments in time according to the formula:

scan times = (reference time) + n(frequency) + offset

where n is an integer and the reference time is midnight on the day that the interface was started. In the above example, frequency is 60 seconds and offset is 5 seconds for the first scan class. This means that if the interface was started at 05:06:06, the first scan would be at 05:06:10, the second scan would be at 05:07:10, and so on. Since no offset is specified for the second scan class, the absolute scan times are undefined.

The definition of a scan class does not guarantee that the associated points will be scanned at the given frequency. If the interface is under a large load, then some scans may occur late or be skipped entirely. See the section called “Performance Point Configuration” for more information on skipped or missed scans.
Sub-second Scan Classes
Sub-second scan classes can be defined on the command line, such as

/f=0.5 /f=00:00:00.1

where the scanning frequency associated with the first scan class is 0.5 seconds and the scanning frequency associated with the second scan class is 0.1 of a second.

Similarly, sub-second scan classes with sub-second offsets can be defined, such as

/f=0.5,0.2 /f=1,0

Wall Clock Scheduling
Scan classes that strictly adhere to wall clock scheduling are now possible. This feature is available for interfaces that run on Windows and/or UNIX. Previously, wall clock scheduling was possible, but not across Daylight Saving time. For example,  /f=24:00:00,08:00:00 corresponds to 1 scan a day starting at 8 AM. However, after a Daylight Saving Time change, the scan would occur either at 7 AM or 9 AM, depending upon the direction of the time shift. To schedule a scan once a day at 8 AM (even across Daylight Saving time), use /f=24:00:00,00:08:00,L. The ,L at the end of the scan class tells UniInt to use the new wall clock scheduling algorithm.


	/global=FilePath

Default: no global variables file

Optional
	The /global parameter is used to specify the Full path of the file that contains definitions of the global variables.

	/host=host:port
Required 


	The /host parameter is used to specify the PI Home node.  Host is the IP address of the PI Sever node or the domain name of the PI Server node.  Port is the port number for TCP/IP communication. The port is always 5450. It is recommended to explicitly define the host and port on the command line with the /host parameter. Nevertheless, if either the host or port is not specified, the interface will attempt to use defaults. 

Examples:
The interface is running on a PI Interface Node, the domain name of the PI home node is Marvin, and the IP address of Marvin is 206.79.198.30. Valid /host parameters would be:
/host=marvin                      
/host=marvin:5450 
/host=206.79.198.30
/host=206.79.198.30:5450

	/id=x

or 

/in=x

Highly Recommended
	The /id parameter is used to specify the interface identifier.  This number must match the value of Location1 for all tags that belong to the same instance of the particular interface.

The interface identifier is a string that is no longer than 9 characters in length. UniInt concatenates this string to the header that is used to identify error messages as belonging to a particular interface. See the section called “Error and Informational Messages” for more information.

UniInt always uses the /id parameter in the fashion described above. This interface also uses the /id parameter to identify a particular interface copy number that corresponds to an integer value that is assigned to Location1. For this interface, use only numeric characters in the identifier. For example,

/id=1

	/no_input_error

Default: writes BAD_INPUT,
 IO_TIMEOUT in case of any runtime error

Optional
	The /no_input_error parameter suppresses writing IO_TIMEOUT and BAD_INPUT for input tags when any runtime error occurs or ODBC connection is lost. 

Example:
SELECT time,value,0 WHERE time > ?; P1=TS
? will be updated during run-time with the latest timestamp already read. Now, if the interface runs into a communication problem, it will normally write I/O Timeout to all input tags and the latest timestamp will thus be the I/O Timeout, which is potentially a problem. The next query will miss all values between the last real data timestamp and the I/O Timeout timestamp delivered by the interface! 
The /no_input_error will avoid it.

	/ooo_option= 
"append,replace,remove"
Default:
/ooo_option="append"

Optional
	For output tags that have Location5=1, this option specifies what kind of out-of-order output-point events will trigger the SQL query execution. In addition, the option will set a variable that can be evaluated in the query file (see chapter Out-Of-Order Recovery for the description of the related @* variables).

E.g.:
/ooo_option= "append, replace" 
means only additions and modifications of the source tag's values cause the defined SQL query(ies) to be executed .

The order of the keywords (append, replace, remove) is arbitrary, they can appear only once and the user can specify any of these.

Note: The remove option will only have an effect during the interface start-up. Value deletions will not be detected when the interface in on-line mode.

	/output=Filepath

Required


	The /output parameter is used to specify the Interface-specific error log file name and location.

If the path contains spaces the parameter has to be surrounded by double quotes:

/output="d:\program   files…\rdbmspi.log"

The interface generates output messages into the given log-file. In order NOT to overwrite the previous log-file after each restart, the interface renames the previous log-file to log-file.log;n, where n is the consecutive number.

Note: System administrator should regularly delete the old log-files to conserve disk space.

	/pass_odbc=
password_odbc

Default: empty string

Optional
	The /pass_odbc parameter is used to specify the password for the ODBC connection.  The password entered is Case sensitive. If this parameter is omitted, the standard ODBC connection dialog prompts the user for his name and password. The password has to be entered only once. On all future startups the interface will remember the password from the encrypted file. This encrypted file has the same name as the interface executable and the file extension is ODBC_PWD. The file is stored in the same directory as the interface specific output file. 

Example of the relevant start-up parameters:
rdbmspi.exe …/in=2… /output=c:\pipc\interfaces\rdbmspi\log\rdbmspi.log …

Encrypted password is stored in: c:\pipc\interfaces\rdbmspi\logsrdbmspi.ODBC_PWD

In order to run RDBMSPI as the Windows service, one has to start (at least once) the interface in the interactive mode (to create the encrypted password file). If this file is deleted, the interface will prompt for a new password during the next interactive startup.

Note: The interface fails to start as an Windows service if it does not find a valid password-file.

Databases like MS Access or dBase may not always have security set up. In this case a dummy username and password can be used, e.g. /pass_odbc=dummy. 

	/pass_pi=
password_pi

Default: empty string

Optional


	The /pass_pi parameter is used to specify the password for the piadmin account (default), or for the account set by the /user_pi parameter. The password entered is Case sensitive. If the interface is started in the console mode, the log-on prompt will request the password. The password is consequently stored in the encrypted form; named as the interface executable and the file extension will be PI_PWD. It is stored in the same directory as the output log-file. The password has to be entered only once. In the course of all future startups, the interface will read the password from this encrypted file. 

Example: 
rdbmspi.exe … /in=2… /output=c:\pipc\interfaces\rdbmspi\log\rdbmspi.log …

The encrypted password is stored in: c:\pipc\interfaces\rdbmspi\log\rdbmspi.PI_PWD



In order to run the interface as a Windows service, one has to start it (at least once) in the interactive mode (to create the encrypted password file). If this file is deleted, 
the interface will prompt for a new password during the next startup again.

Note:  In order to achieve a connection with the PI Server, the file PILOGIN.INI must contain a reference to that PI Server. The interface automatically adds a new server to the local list of servers (in PILOGIN.INI).
Since this version of the interface is also based on PI SDK, make sure that the requested PI Server is also defined in the PI SDK known server table.
[image: image28.png]



CAUTION! Since the RDBMSPI 3.14 (and UniInt 4.1.2), the interface does NOT explicitly login to PI anymore. Users always have to configure the trust entry (PI 3.3 or better) or proxy table (PI 3.2.x) for this interface. For PI Servers earlier than 3.2 this startup parameter works as described.

	/perf=#

Default: 8 hours

Optional
	The /perf parameter specifies the interval between output of performance summary information in hours.  If zero is specified, no performance summaries will be done.

This printout is directed to pipc.log

UniInt monitors interface performance by keeping track of the number of scans that are hit, missed, and/or skipped for scan-based input points.  Scans that occur on time are considered hit.  If a scan occurs more than 1 second after its scheduled time, the scan is considered missed.  If a scan occurs 1 scan period or more after its scheduled time, then 1 or more scans are considered skipped.   Say that a particular scan class has a period of 2 seconds.  If a scan for this class occurs 1.1 seconds after its scheduled time, then 1 scan has been missed.  However, no scans have been skipped because the next scan still has the opportunity to occur at its scheduled time, which happens to be 0.9 seconds after the last scan in this case.  For scans that have periods of 1 second or less, the above definition of a missed scan does not make sense.  In these cases, scans are considered either hit or skipped.  Since every skipped scan is also considered to be a missed scan, the scan performance summary should indicate the same percentage of skipped and missed scans for scan classes with periods of 1 second or less.

By default, UniInt prints out a performance summary to the message log every 8 hours if the hit ratio (hit ratio = hits / (hits + misses)) drops below 0.95. The performance summary shows the percentage of scans that are missed and skipped for every scan class. The frequency at which performance summaries are printed out can be adjusted using the /perf command-line parameter. 

For interfaces that use unsolicited input points, performance summaries should be inactivated by setting /perf=0 because performance summaries are meaningless for unsolicited inputs.

	/pisdk=#
	The /pisdk parameter can be used to enable or disable the PI SDK. Use /pisdk=1 to enable the PI SDK. Use /pisdk=0 to disable the PI SDK. Default is /pisdk=0.

Note: Since the version 3.15, the interface can run with disabled PI SDK, that is, with /pisdk=0. However, the features that require PI SDK will NOT be available! For example, read/write to PI Annotations and PI Batch Database replication.

	/ps=x
Required
	The /ps parameter specifies the point source for the interface. X is not case sensitive and can be any single character. For example, /ps=P and /ps=p are equivalent. 

The point source that is assigned with the /ps parameter corresponds to the PointSource attribute of individual PI Points. The interface will attempt to load only those PI points with the appropriate point source. 

	/rbo

Default: 
No comparison with archive values. 

Optional
	The read before overwrite /rbo parameter tells the interface to check upfront if a new event already exists in the archive. The interface does a comparison, and if at a given timestamp it finds the SAME value, the interface will NOT send it. This setting applies only to those input points, which have Location5=1 (see section Input Tags).

This parameter is intended for customers using audit logs. Re-writing the same values can make the audit logs grow too fast and this is the way how to stop this.

Note:
This option should be applied carefully, 
because the interface has to always read the archive values 
before sending it. 

	/recovery=TS

Default: no recovery  (NO_REC)

Optional
	Recovery parameter. Possibilities are SHUTDOWN, TS and NO_REC
The /recovery parameter determines how to handle output points during the start-up. Based on this setting, the interface goes into the PI archive to process events of the SourceTag since the given time. 

Note:
A tag edit of an output tag will also trigger recovery, but for this tag only.

The following table summarizes the possible recovery modes:

/recovery=

Behavior

SHUTDOWN

Only if the Shutdown or I/O Timeout digital states are found in the output point's snapshot, the interface goes back into the PI archive either starting at /recovery_time  (when Shutdown or I/O Timeout timestamp is older than the /recovery_time) or starts the recovery at the snapshot time.

TS

In-order recovery (Location5=0):
     
Starts the recovery from /recovery_time="stime time" or from the last   snapshot of the output point if this is later.

Enhanced out-of-order recovery (Location5=1):
Recovery starts from the time defined by /recovery_time and the interface compares the source and output tag values looking for additions, changes and deletions in the source tag.  In conjunction with Location5=1 the /ooo_option start-up parameter defines which types of source tag data modifications are taken into account (see section Out Of Order Recovery).

NO_REC

Default settings. No recovery takes place. The /recovery_time keyword is ignored.

Table 26. Recovery Modes

Note:  Remember, an output point contains a copy of all events successfully downloaded from the source point and sent out of the interface. The current snapshot of the output point therefore marks the last downloaded and exported event. 

	/recovery_time=
"*-8 h"
or
/recovery_time=
*-1d
or
/recovery_time=
*-1h,*
or
/recovery_time=
"01-Jan-02 15:00:00,
31-Jan-02 15:00:00"
Default: no recovery

Optional
	In conjunction with the recovery parameter (/recovery) the /recovery_time parameter determines the oldest timestamp for retrieving data from the archive. The time syntax is in PI time format. (See the Data Archive Manual for more information on the PI time string format.)
If the pattern is: /recovery_time=start_time,end_time
I.e., if both - the start as well as end times are specified, all output points are processed for the given interval. Events are taken from the PI archive. After processing all output points the interface exits. In this case the /recovery parameter  is taken into account as well. See the /recovery table above for supported recovery modes.

	/sio

Optional

	The /sio parameter stands for “suppress initial outputs.” The parameter applies only for interfaces that support outputs. If the /sio parameter is not specified, the interface will behave in the following manner.

When the interface is started, the interface determines the current Snapshot value of each output tag. Next, the interface writes this value to each output tag. In addition, whenever an individual output tag is edited while the interface is running, the interface will write the current Snapshot value to the edited output tag.

This behavior is suppressed if the /sio parameter is specified on the command line. That is, outputs will not be written when the interface starts or when an output tag is edited. In other words, when the /sio parameter is specified, outputs will only be written when they are explicitly triggered.

	/sn

Default: the interface uses exception reporting.

Optional
	Overrides exception reporting with snapshot reporting.  Use the snapshot call instead of the pisendexceptions call to send values to the PI database. 

This parameter affects only tags whose Location5 attribute is set to 0.

	/sql=Filepath

Optional
	The /sql parameter specifies the location of the SQL statement files. 

If this parameter is not specified, the interface searches for the /SQL keyword in ExtendedDescriptor
If there are spaces in the file path structure, the path must be enclosed in double quotes.

	/stopstat
or
/stopstat=
digstate
Default:
/stopstat=
”Intf shut”
Optional
	If the /stopstat parameter is present on the startup command line, then the digital state Intf shut will be written to each PI Point when the interface is stopped. 

If /stopstat=digstate is present on the command line, then the digital state, digstate, will be written to each PI Point when the interface is stopped Digstate must be in the system digital state table. UniInt uses the first occurrence in the table.

If neither /stopstat nor /stopstat=digstate is specified on the command line, then no digital states will be written when the interface is shut down.

Examples:
/stopstat=”Intf shut” 

The entire parameter is enclosed within double quotes when there is a space in digstate. 

	/succ1=#

Default: 0

Optional
	The /succ1 parameter points to the beginning of the range in the system digital state table that contains the 'OK value area' strings

	/succ2=#
Default: 0

Optional
	The /succ2 parameter points to the end of the range in the system digital state table that contains 'OK value area' strings

	/tf=tagname

Optional
	The /tf parameter specifies the query rate tag per scan and stores the number of successfully executed queries in a scan

Each scan class can get its own query rate tag. The order in the startup line will correlate the tag name to the related scan class (same as the /f=hh:mm:ss /f=hh:mm:ss do)

After each scan, the number of successfully executed queries will be stored into the related  /tf=tagname.

Example: 2 scan frequencies and corresponding two query rate tags:

. . . /f=00:00:03 /f=00:00:05 /tf=tagname1 /tf=tagname2

Scan class 1 will service the query rate tag tagname1 and scan class 2 will service the tag tagname2. The tags pointed to by the /tf have to be of the same PointSource 
(/ps=) and location4 must correspond to a scan class a given 'tf' tag measures.

	/updateinterval=#

Default=120 seconds

Optional
	Adjusts the minimum interval (in seconds) when the interface checks for point updates

The default interval is 120 seconds, the minimum interval is 1 second, and the maximum interval is 300 seconds

Example:
. . . /updateinterval=60

	/user_odbc=
username_odbc

Optional
	The /user_odbc parameter specifies the username for the ODBC connection. 

 Databases like MS Access or dBase may not always have usernames set up. In this case a dummy username must be used, e.g. /USER_ODBC=dummy. 

	/user_pi=
username_pi

Default: piadmin

Optional
	The /user_pi parameter specifies the PI username. PI interfaces usually log in as piadmin and rely on an entry in the PI trust table to get the piadmin credentials. This switch is maintained for legacy reasons and the suggested scenario today (with PI Servers 3.3+) is thus is to always specify a PI trust.

Note:
Since RDBMSPI version 3.11.0.0 - when this parameter is NOT present, the interface does not explicitly log in and relies on entries in the PI trust table

[image: image29.png]



CAUTION Users of PI API 1.3.8 should always configure a trust/proxy for the interface. The reason is a bug in the PI API that causes the interface not to regain its user credentials after an automatic re-connect to the PI Server executed by PI API. Without having a trust/proxy configured data may get lost (error -10401).
[image: image30.png]



CAUTION! Since the RDBMSPI 3.14 (and UniInt 4.1.2), the interface does NOT explicitly login to PI anymore. Users always have to configure the trust entry (PI 3.3 or better) or proxy table (PI 3.2.x) for this interface. For PI Servers earlier than 3.2 this startup parameter works as described.

	/utc

Default: no UTC transformation

Optional
	If this start-up parameter is specified, the interface expects the incoming timestamp values (from RDB) are in UTC and the interface stores them in PI as UTC timestamps. All the timestamp related placeholders (TS, ST, LST, LET, ANN_TS) are also transformed; that is, the output to RDB is in UTC as well.
Note: Since version 3.15, which implemented support for the data type PItimestamp, the input as well as output to this data type is transformed to UTC as well!

To do a correct UTC transformation it is required that the Time Zone/DST settings on the interface node are valid.




Table 27. Start-up Parameters

Sample RDBMSPI.bat File

REM ======================================================================

REM

REM     RDBMSPI.BAT

REM

REM Sample startup file for the Relational Database (RDBMS via ODBC)  Interface

REM


to the PI System

REM

REM ======================================================================
REM 

REM OSIsoft recommends using PI ICU to modify startup files.

REM

REM Sample command line

REM
          RDBMSPI.exe ^

/ps=RDBMSPI ^
/id=1 ^

/dsn=Oracle8 ^

/user_odbc=system ^

/pass_odbc= ^

/host=XXXXXX:5450 ^

/f=00:00:05 ^

/f=00:00:10 ^

/f=00:00:15 ^

/output=”C:\Program Files\PIPC\Interfaces\RDBMSPI\Log\RDBMSPI.out” ^

/sql=”C:\Program Files\PIPC\Interfaces\RDBMSPI\SQL\” ^

/deb=1 ^

/recovery=TS ^

/recovery_time=*-5m

REM

REM End of RDBMSPI.bat

Interface Node Clock 

Make sure that the time and time zone settings on the computer are correct.  To confirm, run the Date/Time applet located in the Windows Control Panel.  If the locale the interface node resides in observes Daylight Saving Time, check the box marked “Automatically adjust clock for Daylight Saving changes”.  For example,

[image: image31.png]Date and Time Properties

Date & Time | Time

[t6M1-08:00) Pocic Time (U5 & Canada); Tiuens v

kfor daylight saving





In addition, make sure that the TZ environment variable is not defined.  All of the currently defined environment variables can be viewed by opening a Command Prompt window and typing set.  That is,

C:> set

Confirm that TZ is not in the resulting list.  If it is, run the System applet of the Control Panel.  Click the Environment tab.  Remove TZ from the list of environment variables. More info – see chapter Time Zone and Daylight Saving below.
Time Synchronization with PI Server

The interface time is automatically synchronized with the PI Server. The interface finds out the time difference (between the PI Server node and the local node at its start-up) and adds this difference to all timestamps it provides. The aforementioned time difference is re-checked each 10 minutes (before each scan class the interface finds out if the difference was refreshed in the last 10 minutes). The time difference is independent of the TZ/DST settings of the PI Server and the interface node.
Time Zone and Daylight Saving
The interface can be connected to a PI Server, which is installed in a different Time Zone or has different DST rules (than the interface node). Nevertheless, the interface operation is usually not influenced by this, because the extended PI API automatically handles all these differences. 
As far as the actual RDB timestamps are concerned, it is assumed that they reflect the Time Zone/DST setting as specified in the (Windows) operating system. Because ODBC has no standard way of telling the client about the Time Zone/DST settings of the connected RDB, no timestamp conversion can be applied (should the RDB reside in some other Time Zone/DST than the interface). 

Note: The RDB timestamps are thus sent to PI with the Time Zone/DST settings of the interface node! 

OSIsoft, Inc. suggests to set the same (Time Zone/DST) settings on the interface node AS THEY ARE on the RDB machine. For example, many RDB systems are running with DST off; that is - set the DST off also for the interface node and let the PI API to take care of the timestamp conversion between the interface node and the PI Server. 
The other scenario assumes the RDB timestamps are UTC timestamps; that is, the interface considers them independent of the local operating system settings. This mode is activated by the /UTC  startup switch; see chapter Command-Line Parameters for more details.

Note:  The RDBMSPI Interface uses the extended PI API functions, which do the time zone/DST adjustment automatically. PI API version 1.3.8 or above is therefore required.
Security

The PI Firewall Database and the PI Proxy Database must be configured so that the interface is allowed to write data to the PI Server. See “Modifying the Firewall Database” and “Modifying the Proxy Database” in the PI Server manuals.

Note that the Trust Database, which is maintained by the Base Subsystem, replaces the Proxy Database used prior to PI version 3.3. The Trust Database maintains all the functionality of the proxy mechanism while being more secure.
See “Trust Login Security” in the chapter “PI System Management” of the PI Universal Data Server System Management Guide.

If the interface cannot write data to the PI Server because it has insufficient privileges, a –10401 error will be reported in the pipc.log file. If the interface cannot send data to a PI2 Server, it writes a –999 error. See the section “Appendix A: Error and Informational Messages” for additional information on error messaging.

PI Server v3.3 and Higher

Use of piconfig

For PI Server v3.3 and higher, the following example demonstrates how to edit the PI Trust table:

C:\PI\adm> piconfig

@table pitrust

@mode create

@istr Trust,IPAddr,NetMask,PIUser

a_trust_name,192.168.100.11,255.255.255.255,piadmin

@quit

For the above,

Trust: An arbitrary name for the trust table entry; in the above example,

a_trust_name
IPAddr: the IP Address of the computer running the Interface; in the above example,

192.168.100.11
NetMask: the network mask; 255.255.255.255 specifies an exact match with IPAddr
PIUser:  the PI user the Interface to be entrusted as; piadmin is usually an appropriate user

Trust Editor

The Trust Editor plug-in for PI System Management Tools 3.x may also be used to edit the PI Trust table.

See the PI System Management chapter in the PI Server manual for more details on security configuration.

PI Server v3.2

For PI Server v3.2, the following example demonstrates how to edit the PI Proxy table:

C:\PI\adm> piconfig

@table pi_gen,piproxy

@mode create

@istr host,proxyaccount

piapimachine,piadmin

@quit

In place of piapimachine, put the name of the PI Interface node as it is seen by PI Server.
Starting / Stopping the Interface on Windows 

This section describes starting and stopping the interface once it has been installed as a service. See the UniInt End User Document to run the interface interactively.

[image: image32.png]



Starting Interface as a Service

If the interface was installed a service, it can be started from PI ICU, the services control panel or with the command:

rdbmspi.exe –start

To start the interface service with PI ICU, use the [image: image33.png]


 button on the PI ICU toolbar.

A message will inform the user of the the status of the interface service. Even if the message indicates that the service has started successfully, double check through the Services control panel applet. Services may terminate immediately after startup for a variety of reasons, and one typical reason is that the service is not able to find the command-line parameters in the associated .bat file. Verify that the root name of the .bat file and the .exe file are the same, and that the .bat file and the .exe file are in the same directory. Further troubleshooting of services might require consulting the pipc.log file, Windows Event Viewer, or other sources of log messages. See the section “Appendix A: Error and Informational Messages,” for additional information.
Stopping Interface Running as a Service

If the interface was installed a service, it can be stopped at any time from PI ICU, the services control panel or with the command:

rdbmspi.exe –stop

The service can be removed by:

rdbmspi.exe –remove

To stop the interface service with PI ICU, use the [image: image34.png]


 button on the PI ICU toolbar.

Buffering

For complete information on PI API node buffering, please refer to the PI API Installation Instruction. The following paragraphs will just shortly describe the buffering principles and potential issues:

PI API node buffering consists of a buffering process (bufserv), which runs continuously on the local node, and of a utility program (bufutil) used for examining and controlling of the buffering state. The PI API based application (e.g. the interface) sends data to PI through the bufserv process (via the shared memory) and in case there is any problem with the connection to the PI Server, the buffering makes sure the data is cached on the API node. As soon as the PI connection is up again, the bufserv forwards the cached data to the PI Server.

Note:  When buffering is configured, the bufserv process must be started before any other PI API based program, so that these programs can access the shared buffering resources (the shared memory buffers have to exist before a PI API program establishes the PI connection).
It is also desirable to run the bufserv process in the same Windows account as the interface, for example in Local Administrator!

Note: On Windows XP, the Local Security Policy can be changed so that the bufserv behaves the same as it does on NT4 and W2K. 

1. Open "Administrative Tools" from the control panel. 
2. Open "Local Security Policy" from administrative tools. 
3. Browse to "Security Options" under "Local Policies." 
4. Double click on "System Objects: Default owner for objects created by members of the Administrators group." 
5. Change the dropdown from "Object Creator" to "Administrators group."
It is worth mentioning that combining the RDBMSPI interface with buffering does have a couple of issues. Buffering is, in general, very useful concept, especially when run with interfaces that scan for example the classic DCS systems. Such interfaces mostly keep sending data to PI. They do not read anything back from the PI Server. The RDBMSPI interface, on the other hand, needs to refresh its placeholders before each query execution, because buffering is just the one-way communication (to PI). Queries with placeholders will thus not execute and this makes the buffering useless. The only exception is queries without placeholders like:

SELECT pi_time,pi_value,0 FROM table where pi_tagname='Tag1';

For these kinds of queries it does have a sense to run RDBMSPI with buffering. 

When looking at the problem from another perspective, the data is actually already buffered - in RDB itself, and one can for example exploit the @write_* variables (see chapter Result Variables) to remember which rows have been successfully sent to PI. 

Whether buffering will or will not be installed thus depends on the individual installation and data retrieval scenarios.

Configuring Buffering with PI ICU (Windows-Intel)

Buffering is enabled through the PI Interface Configuration Utility's Tools>API Buffering… menu. Unless buffering is explicitly enabled, the PI API will not buffer data, sending data directly to the home node. 

The API Buffering… dialog allows the user to view and configure the parameters associated with the API Buffering (bufserv) process. The user can start and stop the API Buffering process from the Service tab:

[image: image35.png]y APl Buffering
Service | Settngs |
Senice name
Display ame:
Logon s
Password

Confim password

Dependencies:

Dependent services:

—

Pl Bulfer Server

Locasystern
Stattup Type.
© g
© Manual

IEr— C -

Create / Remave.

Cieate

ok | Cael





Service Tab

The Service tab allows for some API Buffering service configuration. For further configuration changes, use the Services applet.

Service name

The Service name displays the name of the API Buffering Service.

Display Name

The Display name displays the full name associated with the API Buffering service.

Log On As

Log on as indicates the Windows user account under which the API Buffering service is setup to start automatically on reboot, or manually. 

Password

Password is the name of the password for the Windows user account entered in the Log on as: above.

Confirm password

Re-enter the password again to verify it was typed correctly both times.

Dependencies

The Dependencies lists the Windows services on which the API Buffering service is dependent.

Dependent Services

The Dependent services area lists the Windows services that depend on bufserv to function correctly.

Start / Stop
The Start / Stop buttons allow for the API Buffering service to be started and stopped.  If the service is not created this box will show Not Installed.

After a change is made to any of the settings on the Settings tab, the OK button must be clicked to save these settings, and then the service must be stopped and restarted for the changes to be picked up by bufserv.

Startup Type

The Startup Type indicates whether the API Buffering service is setup to start automatically on reboot or manually on reboot, or is disabled.

· If the Auto option is selected, the service will be installed to start automatically when the machine reboots.  

· If the Manual option is selected, the interface service will not start on reboot, but will require someone to manually start the service.  

· If the Disabled option is selected, the service will not start at all.  

Generally, the API Buffering service is set to start automatically.

Create/Remove
The Create / Remove buttons allow for the creation or removal of the API Buffering service.  Clicking the Create button will cause the service to be created using the Log on as and passwords given.  Once the service is created the Start / Stop buttons will be activated.

Settings Tab

The Settings tab allows for configuration of the 7 configurable settings used by API Buffering. Default values are used if no other value is provided.

[image: image36.png]y APl Buffering
Senvice  Seltings
 Enable bifeinet
Mainum fe s
Sendiale:
Frimary memory bufe sce
Secondary memory bufe s
Mainum tensfercbjects:
Pause rate
Rety rate:

Mainum theoreticalsend rat:

[ 100000
[ o0
[ s
[ s
[ 500
[ 2

Use Default

Use Default

Use Default

Use Default

Use Default

Use Default

Use Default





Enable Buffering

Enables the API Buffering feature.

Maximum File Size

Maximum buffer file size in kilobytes before buffering fails and discards events. Default value is 100,000. Range is 1 to 2,000,000.

The Use Default button places the default value into the text box. To keep this value, click the Apply button.

Send Rate

Send rate is the time to wait between sending up to MAXTRANSFEROBJS to the server (milliseconds). Default value is 100. Range is 0 to 2,000,000.

The Use Default button places the default value into the text box. To keep this value, click the Apply button.

Primary Memory Buffer Size

Primary memory buffer size is the size in bytes of the Primary memory buffer. Default value is 32768. Range is 64 to 2,000,000.

The Use Default button places the default value into the text box. To keep this value, click the Apply button.

Secondary Memory Buffer Size

Secondary memory buffer size is the size in bytes of the Secondary memory buffer. Default value is 32768. Range is 64 to 2,000,000.

The Use Default button places the default value into the text box. To keep this value, click the Apply button.

Max Transfer Objects

Max transfer objects is the maximum number of events to send between each SENDRATE pause. Default value is 500. Range is 1 to 2,000,000.

The Use Default button places the default value into the text box. To keep this value, click the Apply button.

Pause Rate

When buffers are empty the buffering process will wait for this number of seconds before attempting to send more data to the home node. Default value is 2. Range is 0 to 2,000,000.

The Use Default button places the default value into the text box. To keep this value, click the Apply button.

Retry Rate

When the buffering process discovers the home node is unavailable it will wait this number of seconds before attempting to reconnect. Default value is 120. Range is 0 to 2,000,000.

The Use Default button places the default value into the text box. To keep this value, click the Apply button.

Max Theoretical Send Rate

This is the theoretical max send rate which is calculated like this:
max = MAXTRANSFEROBJS / SENDRATE * 1000
Default value is 5000.  This value is automatically calculated for the user and can not be changed.

There are no additional steps needed to install buffering after installing the PI API. The delivered PI API library supports both buffered and un-buffered calls.

Configuring Buffering Manually

Buffering is enabled through the use of a configuration file, piclient.ini. Unless this file is modified to explicitly enable buffering, the PI API will not buffer data, sending data directly to the home node.

There are no additional steps needed to install buffering after installing the PI API. The delivered PI API library supports both buffered and un-buffered calls.

Configuration of buffering is achieved through entries in the piclient.ini file. The file is found in the dat subdirectory of the PIHOME directory (typically c:\pipc\dat) under Windows. This file follows the conventions of Microsoft Windows initialization files with sections, keywords within sections, and values for keywords. All buffering settings are entered in a section called [APIBUFFER]. To modify settings, simply edit the piclient.ini file in a text editor (Notepad on Windows) to the desired values. 

The following settings are available for buffering configuration:

	Keywords
	Values
	Default
	Description

	BUFFERING
	0,1
	0
	Turn off/on buffering. OFF = 0, ON = 1, 

	PAUSERATE
	0 – 2,000,000
	2
	When buffers are empty the buffering process will wait for this long before attempting to send more data to the home node (seconds)

	RETRYRATE
	0 – 2,000,000
	120
	When the buffering process discovers the home node is unavailable it will wait this long before attempting to reconnect (seconds)

	MAXFILESIZE
	1 – 2,000,000
	100,000
	Maximum buffer file size before buffering fails and discards events. (Kbytes)

	MAXTRANSFEROBJS
	1 – 2,000,000
	500
	Maximum number of events to send between each SENDRATE pause.

	BUF1SIZE
	64 – 2,000,000
	32768
	Primary memory buffer size. (bytes)

	BUF2SIZE
	64 – 2,000,000
	32768
	Secondary memory buffer size. (bytes)

	SENDRATE
	0 – 2,000,000
	100
	The time to wait between sending up to MAXTRANSFEROBJS to the server (milliseconds)


In addition to the [APIBUFFER] section, the [PISERVER] section may be used to define the default PI server and an optional time offset change that may occur between the client and server.

	Keywords
	Values
	Default
	Description

	PIHOMENODE
	String
	none
	Windows default server is in pilogin.ini

	DSTMISMATCH
	0 – 2,000,000
	0
	The time that the server and client local time offset is allowed to jump. Typically, 3600 if the nodes are in time zones whose DST rules differ (seconds)


Example piclient.ini File

Windows
On Windows platforms the default server information is stored in the pilogin.ini file so the piclient.ini would only have the [APIBUFFER] section. The BUFFERING=1 indicates that buffering is on. The MAXFILESIZE entry in Kbytes of 100000 allows up to 100 Megabytes of data storage. Do not use commas or other separators in the numeric entries. The retry rate is set to 600 seconds meaning wait 10 minutes after losing a connection before retrying.

On Windows a piclient.ini file might look like:

[APIBUFFER]

BUFFERING=1

MAXFILESIZE=100000

; The PI API connection routines have a 1 minute default timeout.

RETRYRATE=600

Interface Shutdown

The user can manually stop the interface by pressing Ctrl^C or Ctrl^Break, when used in interactive mode. When the interface runs as service, the user can stop it via the Control Panel or by entering the command: rdbmspi -stop


On a Windows PI3 Home Node, include the interface stop procedure in pisrvsitestop.bat. It should look like this:


echo Stopping Site Specific PI System Services...
net stop rmp_sk
net stop random
net stop rdbmspi
:theend

Appendix A:
Error and Informational Messages

A string RDBMSPI'ID' is prefixed to error messages written to the message log. RDBMSPI is a non-configurable identifier. ID is a configurable identifier that is no longer than 9 characters and is specified using the /in parameter on the startup command line.

General information messages are written to the pipc.log file. Additionally all PI API errors (pilg_putlog() function) are directed there.  The location of the pipc.log file is determined by the PIHOME entry in the pipc.ini file.  The pipc.ini file should always be in the WinNT directory.  For example, if the PIHOME entry is 

C:\PIPC

then the pipc.log file will be located in the c:\PIPC\dat directory.

Messages are written to PIHOME\dat\pipc.log at the following times.

· When the interface starts, many messages are written to the log. These include the version of the interface, the version of UniInt, the command‑line parameters used, and the number of points.

· As the interface retrieves points, messages are sent to the log if there are any problems with the configuration of the points.

· If the /db is used on the command line, then various messages are written to the log file. The /db the Uniint start-up switch. For more about it, see the relevant documentation. However, with this interface it is recommended using the /deb param. instead.
Note: For PI API version 1.3 and greater, a process called pilogsrvxe "pilogsrv"

xe "pilogsrv:Installation"

xe "Log Files:Purging" may be installed to run as a service.  After the pipc.log file exceeds a user-defined maximum size, the pilogsrvxe "pilogsrv"

xe "pilogsrv:Installation"

xe "Log Files:Purging" process renames the pipc.log file to pipcxxxx.log , where xxxx ranges from 0000 to the maximum number of allowed log files.  Both the maximum file size and the maximum number of allowed log files are configured in the pipc.ini file.  Configuration of the pilogsrvxe "pilogsrv"

xe "pilogsrv:Installation"

xe "Log Files:Purging" process is discussed in detail in the PI API Installation Instructions manual.

Interface-specific Output File

The file pointed to via the start-up parameter /OUTPUT=filename, stores relevant operational information. During normal operation (/deb=0) error logging is sufficient just to detect problems. A problem can then be drilled down with modified debug level. The amount of extra information is depending on the debug level: /deb=1-5. 
Note:  The debug level can be changed online via CPPI (right clicking on the Debug Level folder in the MMC CPPI Snap-In overwrites the current /deb= setting) without restarting the interface.

Note:  Errors related to tag values will also be reported in giving the tag a Bad Input or Bad Output state. This happens, if the status of a RDBMS value is BAD or the output operation failed. Points can also get a status of I/O Timeout if the interface detects connection problems.

Appendix B:
Examples

Example 1.1 – single tag query

	SQL Statement
(defined in file PI_REAL1.SQL)

	SELECT PI_TIMESTAMP, PI_VALUE, PI_STATUS  FROM T1_1 WHERE PI_KEY_VALUE = ?;

	

	Relevant PI Point Attributes

	Extended Descriptor
	Location1
	Location2
	Location3
	Location4
	Location5

	P1="Key_1234"
	1
	0
	0
	1
	0

	
	
	
	
	
	

	InstrumentTag
	Point Type
	Point Source
	
	
	

	PI_REAL1.SQL
	Float32
	S
	
	
	

	
	
	
	
	
	

	RDBMS Table Design

	Table T1_1

	PI_TIMESTAMP
	PI_VALUE
	PI_STATUS
	PI_KEY_VALUE

	Datetime 
(MS SQL Server)

Date/Time 
(MS Access)
	Real 
(MS SQL Server)

Number-Single Precision 
(MS Access)
	Smallint 
(MS SQL Server)

Number-Whole Number 
(MS Access)
	Varchar(50) 
(MS SQL Server)

Text(50) 
(MS Access)


Example 1.2 – query data array for a single tag

	SQL Statement
(defined in file PI_STRING1.SQL)

	SELECT PI_TIMESTAMP, PI_VALUE, 0 FROM T1_2 WHERE PI_TIMESTAMP > ? 
ORDER BY PI_TIMESTAMP ASC;

	

	Relevant PI Point Attributes

	Extended Descriptor
	Location1
	Location2
	Location3
	Location4
	Location5

	P1=TS
	1
	1
	0
	1
	0

	
	
	
	
	
	

	Instrumenttag
	Point Type
	Point Source
	
	
	

	PI_STRING1.SQL
	String
	S
	
	
	

	
	
	
	
	
	

	RDBMS Table Design

	Table T1_2

	PI_TIMESTAMP
	PI_VALUE

	Datetime 
(MS SQL Server)

Date/Time 
(MS Access)
	Varchar(1000)                                                                         (MS SQL Server)

Text(255)                                                                                    (MS Access)


Note: The STATUS column, which is mandatory, is represented by the constant expression '0'. 

Example 1.3 – three PI points forming a GROUP

	SQL Statement
(defined in file PI_INT_GROUP1.SQL)

	SELECT PI_TIMESTAMP, PI_VALUE1, 0 ,PI_VALUE2, 0, PI_VALUE3, 0 FROM T1_3 WHERE PI_TIMESTAMP > ? ORDER BY PI_TIMESTAMP ASC;

	

	Relevant PI Point Attributes

	Extended Descriptor
(Master Tag)
	Location1

(All points)
	Location2

(All points)
	Location3


	Location4

(All points)
	Location5

(All points)

	P1=TS
	1
	1
	Target_Point1  2
Target_Point2  4
Target_Point3  6
	1
	0

	
	
	
	
	
	

	Instrumenttag

(All Points)
	Point Type
	Point Source

(All Points)
	
	
	

	PI_INT_
GROUP1.SQL
	Int32
	S
	
	
	

	
	
	
	
	
	

	RDBMS Table Design

	Table T1_3

	PI_TIMESTAMP
	PI_VALUEn

	Datetime 
(MS SQL Server)

Date/Time 
(MS Access)
	Smallint                                                              (MS SQL Server)

Number (Whole Number)                                         (MS Access)


Example of an appropriate result-set:

PI_TIMESTAMP

PI_VALUE1
PI_VALUE2
PI_VALUE3

20-Oct-2000 08:10:00
10

20

30


20-Oct-2000 08:20:00
11

21

31
20-Oct-2000 08:30:00
12

22

32
…

Target_Point1 gets 10, 11, 12
Target_Point2 gets 20, 21, 22
Target_Point3 gets 30, 31, 32

Example 1.4 – Tag Distribution

	SQL Statement
(defined in file PI_REAL_DISTR1.SQL)

	SELECT PI_TIMESTAMP, PI_TAGNAME, PI_VALUE, PI_STATUS  FROM T1_4 WHERE PI_TAGNAME  LIKE  'Tag%';

	

	Relevant PI Point Attributes

	Extended Descriptor

(Distributor)
	Location1

(All points)
	Location2

(All points)
	Location3
	Location4

All points
	Location5

All points

	
	1
	0
	'Distributor'
-1

'Target_Point(n)'
 0
	1
	0

	
	
	
	
	
	

	Instrumenttag

(Distributor)
	Point Type

(Distributor)
	Point Source

(All Points)
	
	
	

	PI_REAL_DISTR1.SQL
	Float32
	S
	
	
	

	
	
	
	
	
	

	RDBMS Table Design

	Table T1_4

	PI_TIMESTAMP
	PI_VALUE
	PI_STATUS
	PI_TAGNAME

	Datetime 
(MS SQL Server)

Date/Time 
(MS Access)
	Real                          (MS SQL Server)

Number (Single) Prec.(MS Access)
	Varchar(12)                 (MS SQL Server)

Text(12)                      (MS Access)
	Varchar(80)               (MS SQL Server)

Text(80)                 (MS Access)


Example of an appropriate result-set:

PI_TIMESTAMP

PI_TAGNAME

PI_VALUE
PI_STATUS

20-Oct-2000 08:10:00
Target_Point1
10

NULL
20-Oct-2000 08:10:00
Target_Point2
20

NULL
20-Oct-2000 08:10:00
Target_Point3
30




10 goes to Target_Point1; 20 to Target_Point1; 30 to Target_Point3 …

Example 1.5 – RxC Distribution

	SQL Statement
(defined in file PI_REAL_DISTR1.SQL)

	SELECT sampletime AS PI_TIMESTAMP1, 'Tag1' AS PI_TAGNAME1, [level] AS PI_VALUE1, sampletime AS PI_TIMESTAMP2, 'Tag2' AS PI_TAGNAME2, temperature AS PI_VALUE2, temperature_status AS PI_STATUS2, sampletime AS PI_TIMESTAMP3,'Tag3' AS PI_TAGNAME3, density AS PI_VALUE3, density_status AS PI_STATUS3 FROM T1_5 WHERE sampletime > ?  AND tank = 'Tank1'

	

	Relevant PI Point Attributes

	Extended Descriptor

(RxC Distributor)
	Location1

(All points)
	Location2

(All points)
	Location3
	Location4

(All points)
	Location5

(All points)

	P1=TS


	1
	0
	'RxC Distributor'     
-2

'Target points' 
0
	1
	0

	Instrumenttag

(Distributor)
	Point Type

(All points)
	Point Source

(All Points)
	
	
	

	PI_REAL_DISTR_RxC.SQL
	Float32
	S
	
	
	

	RDBMS Table Design

	Table T1_5

	SAMPLETIME
	LEVEL,
TEMPERATURE,
DENSITY
	LEVEL_STATUS,
TEMPERAURE_
STATUS,
DENSITY_STATUS
	TANK

	Datetime 
(MS SQL Server)

Date/Time 
(MS Access)
	Real                          (MS SQL Server)

Number (Single) Prec.(MS Access)
	Varchar(12)                 (MS SQL Server)

Text(12)                      (MS Access)
	Varchar(80)               (MS SQL Server)

Text(80)                 (MS Access)


Example of an appropriate result-set:

PI_TIMESTAMP1

PI_TAGNAME1

PI_VALUE1

20-Jul-2002 08:10:00
Target_Point1
1


PI_TIMESTAMP2
PI_TAGNAME2

PI_VALUE2
PI_STATUS2

20-Jul-2002 08:10:00 
Target_Point2
10

NULL

PI_TIMESTAMP3

PI_TAGNAME3

PI_VALUE3
PI_STATUS3

20-Jul-2002 08:10:00 
Target_Point3
100

NULL

1 goes to Target_Point1; 10 to Target_Point2; 
100 to Target_Point3

Example 1.6 – Single Input with PI Annotations

	SQL Statement
(file PI_ANNO1.SQL)

	SELECT time AS PI_TIMESTAMP, value AS PI_VALUE, annotation AS PI_ANNOTATION FROM T1_6 WHERE time  > ? ORDER BY time;

	

	Relevant PI Point Attributes

	Extended Descriptor
	Location1


	Location2


	Location3


	Location4


	Location5



	P1=TS
	1
	1


	0
	1
	1

	Instrumenttag
	Point Type


	Point Source
	
	
	

	PI_ANNO1.SQL
	Float32
	S
	
	
	

	

	RDBMS Table Design

	T1_6

	TIME
	VALUE
	ANNOTATION

	Datetime                            (MS SQL Server)

Date/Time                     
(MS Access)
	Real 
(MS SQL Server)

Number-Single Precision 
(MS Access)
	Varchar(255) 
(MS SQL Server)

Text(50) 
(MS Access)


Example 2.1a – insert sinusoid values into table (event based)

	SQL Statement
(defined in  file PI_SINUSOID_OUT.SQL)

	INSERT INTO T2_1a (PI_TIMESTAMP1, PI_VALUE, PI_STATUS) VALUES (?,?,?);

	Relevant PI Point Attributes

	Extended Descriptor
	Location1 
	Location2
	Location3
	Location4
	Location5

	P1=TS P2=VL P3=SS_I
	1
	0
	0
	0
	0

	
	
	
	
	
	

	Instrumenttag
	Point Type
	Source Tag
	Point Source
	
	

	PI_SINUSOID_OUT.SQL
	Float32
	SINUSOID
	S
	
	

	
	
	
	
	
	

	RDBMS Table Design

	Table T2_1a

	PI_TIMESTAMPn
	PI_VALUE
	PI_STATUS

	Datetime                 
(MS SQL Server)

Date/Time                  
(MS Access)
	Real                         
(MS SQL Server)

Single Precision 
(MS Access)
	Smallint                 
(MS SQL Server)

Whole Number 
(MS Access)



Example 2.1b – insert sinusoid values into table (scan based)

	SQL Statement
(defined in  file PI_SIN_OUT_SCAN.SQL)

	INSERT INTO T2_1b (PI_TIMESTAMP1, PI_VALUE, PI_STATUS) VALUES (?,?,?);

	Relevant PI Point Attributes

	Extended Descriptor
	Location1 
	Location2
	Location3
	Location4
	Location5

	P1='SINUSOID'/TS P2='SINUSOID'/VL P3='SINUSOID'/SS_I
	1
	0
	0
	1
	0

	
	
	
	
	
	

	Instrumenttag
	Point Type
	Source Tag
	Point Source
	
	

	PI_SIN_OUT_SCAN.SQL
	Float32
	
	S
	
	


	RDBMS Table Design

	Table T2_1b

	PI_TIMESTAMPn
	PI_VALUE
	PI_STATUS

	Datetime                 
(MS SQL Server)

Date/Time                  
(MS Access)
	Real                         
(MS SQL Server)

Single Precision 
(MS Access)
	Smallint                 
(MS SQL Server)

Whole Number 
(MS Access)



Example 2.1c – insert 2 different sinusoid values into table 
(event based)

	SQL Statement
(defined in  file PI_SIN_VALUES_OUT.SQL)

	INSERT INTO T2_1c (PI_TAGNAME1, PI_TIMESTAMP1, PI_VALUE1, PI_STATUS1, PI_TAGNAME2, PI_VALUE2, PI_STATUS2) VALUES (?,?,?,?,?,?,?);

	Relevant PI Point Attributes

	Extended Descriptor
	Location1 
	Location2
	Location3
	Location4
	Location5

	/EXD=…path…\ pi_sin_values_out.plh

Content of the above-stated file:

P1=AT.TAG 
P2=TS 
P3=VL 
P4=SS_I P5='SINUSOIDU'/AT.TAG 
P6='SINUSOIDU'/VL P7='SINUSOIDU'/SS_I
	1
	0
	0
	0
	0

	
	
	
	
	
	

	Instrumenttag
	Point Type
	Source Tag
	Point Source
	
	

	PI_SIN_VALUES_
OUT.SQL
	Float16
	SINUSOID
	S
	
	

	
	
	
	
	
	


	RDBMS Table Design

	Table T2_1c

	PI_TIMESTAMPn
	PI_VALUEn
	PI_STATUSn
	PI_TAGNAMEn

	Datetime                 (MS SQL Server)

Date/Time                  (MS Access)
	Real                         (MS SQL Server)

Single Precision 
(MS Access)
	Smallint                 (MS SQL Server)

Whole Number 
(MS Access)
	Varchar(80)                     (MS SQL Server)

Text(80)
(MS Access)


Note: the /EXD=  keyword is used when the overall length of placeholders is bigger than 1024 bytes. Normally, the placeholder definitions can be stated in the ExtendedDescriptor directly
Example 2.1d – insert sinusoid values with (string) annotations into RDB table (event based)
	SQL Statement
(file PI_ANNO2.SQL)

	INSERT INTO  T2_1d (time, value, annotation) VALUES (?,?,?);

	

	Relevant PI Point Attributes

	Extended Descriptor
	Location1


	Location2


	Location3


	Location4


	Location5



	P1=TS 
P2=VL P3=ANN_C
	1
	0


	0
	0
	0

	Instrumenttag
	Point Type


	Source Tag
	Point Source
	
	

	PI_ANNO2.SQL
	Float32
	SINUSOID
	S
	
	

	

	RDBMS Table Design

	Table T2_1d

	TIME
	VALUE
	ANNOTATION

	Datetime                            (MS SQL Server)

Date/Time                     
(MS Access)
	Real 
(MS SQL Server)

Number-Single Precision 
(MS Access)
	Varchar(255) 
(MS SQL Server)

Text(50) 
(MS Access)


Example 3.1 – Field Name Aliases

	SQL Statement
(defined in file PI_STRING2.SQL)

	SELECT VALIDITY AS PI_STATUS, SCAN_TIME AS PI_TIMESTAMP, VOLUME AS PI_VALUE FROM T3_1 WHERE KEY_VALUE = ?;

	

	Relevant PI Point Attributes

	Extended Descriptor
	Location1


	Location2


	Location3
	Location4
	Location5

	P1="Key_1234"
	1
	0
	0
	1
	0

	
	
	
	
	
	

	Instrumenttag
	Point Type
	Point Source
	
	
	

	PI_STRING2.SQL
	String
	S
	
	
	

	
	
	
	
	
	

	RDBMS Table Design

	Table T3_1

	SCAN_TIME
	VOLUME
	VALIDITY
	KEY_VALUE

	Datetime 
(MS SQL Server)

Date/Time 
(MS Access)
	Varchar(1000)                   (MS SQL Server)

Text(255)                      (MS Access)
	Smallint                         (MS SQL Server)

Whole Number 
(MS Access)
	Varchar(50)                   (MS SQL Server)

Text(50)                        (MS Access)



Example 3.2 – Tag Group, Fixed Column Positions

	SQL Statement
(file PI_GR1.SQL)

	SELECT Time0, VALUE1, 0, VALUE2, 0 FROM T3_2 WHERE  Time0 > ?;

	

	Relevant PI Point Attributes

	Tag
	Instrument
Tag
	Extended Desc.
	Location1
	Location2
	Location3
	Location4

	Target_Point1
	PI_GR1.SQL
	P1=TS
	1
	1
	2
	1

	Target_Point2
	PI_GR1.SQL
	
	1
	1
	4
	1

	RDBMS Table Data

	Table T3_2

	Time0
	Value1
	Value2

	20-Oct-2000 08:10:00
	1.123
	"String1"

	20-Oct-2000 08:10:10
	2.124
	"String2"

	20-Oct-2000 08:10:20
	3.125
	"String3"

	20-Oct-2000 08:10:30
	4.126
	"String4"


Values selected in column Value1 go to Target_Point1
Values selected in column Value2 go to Target_Point2

Example 3.3 – Tag Group, Arbitrary Column Position - Aliases

	SQL Statement
(file PI_GR2.SQL)

	SELECT PI_TIMESTAMP, PI_VALUE1, PI_VALUE2, PI_STATUS1=0, PI_STATUS2=0  FROM T3_3 WHERE  PI_TIMESTAMP > ? ORDER BY PI_TIMESTAMP ASC;

or

SELECT PI_TIMESTAMP, VALUE1 AS PI_VALUE1, VALUE2 AS PI_VALUE2, 0 AS PI_STATUS1, 0 AS PI_STATUS2  FROM T3_3 WHERE  PI_TIMESTAMP > ? ORDER BY PI_TIMESTAMP ASC;

	

	Relevant PI Point Attributes

	Tag
	Instrument
tag
	Extended Descriptor
	Location1
	Location2
	Location3
	Location4

	Target_Point1
	PI_GR2.SQL
	P1=TS
	1
	1
	1
	1

	Target_Point2
	PI_GR2.SQL
	
	1
	1
	2
	1

	RDBMS Table Data

	Table T3_3

	PI_TIMESTAMP
	PI_VALUE1
	PI_VALUE2

	20-Oct-2000 08:10:00
	1.123
	4.567

	20-Oct-2000 08:10:10
	2.124
	5.568

	20-Oct-2000 08:10:20
	3.125
	6.569

	20-Oct-2000 08:10:30
	4.126
	7.570


Values selected in column PI_VALUE1 go to Target_Point1 
Values selected in column PI_VALUE2 go to Target_Point2
Example 3.4a – Tag Distribution, Search According to Real Tag Name

	SQL Statement
(file PI_DIST1.SQL)

	SELECT PI_TIME, PI_TAGNAME, PI_VALUE, 0  FROM T3_4a WHERE  PI_TIME > ? ORDER BY PI_TIME;

	

	Relevant PI Point Attributes

	Tag
	Instrument
tag
	Ext. Desc.
	Location1
	Location2
	Location3
	Location4

	Tag1
	PI_DIST1.SQL
	P1=LST
	1
	
	-1
	1

	Tag2
	
	
	1
	
	
	1

	Tag3
	
	
	1
	
	
	1

	Tag4
	
	
	1
	
	
	1

	RDBMS Table Data

	Table T3_4a

	PI_TIME
	PI_TAGNAME
	PI_VALUE

	20-Oct-2000 08:10:00
	Tag1
	4.567

	20-Oct-2000 08:10:10
	Tag2
	5.568

	20-Oct-2000 08:10:20
	Tag3
	6.569


Example 3.4b – Tag Distribution, Search According to Tag's ALIAS Name

	SQL Statement
(file PI_DIST2.SQL)

	SELECT TIME, PI_ALIAS, VALUE,0  FROM T3_4b WHERE  TIME > ?;

	

	Relevant PI Point Attributes

	Tag
	Instrument
tag
	Extended Descriptor
	Location1
	Location3
	Location4

	Tag1
	PI_DIST2.SQL
	P1=TS
	1
	-1
	1

	Tag2
	
	/ALIAS=Valve1
	1
	
	1

	Tag3
	
	/ALIAS=Valve2
	1
	
	1

	Tag4
	
	/ALIAS=Valve3
	1
	
	1

	RDBMS Table Data

	Table T3_4b

	Time
	PI_Alias
	Value

	20-Oct-2000 08:10:00
	Valve1
	"Open"

	20-Oct-2000 08:10:00
	Valve2
	"Closed"

	20-Oct-2000 08:10:00
	Valve3
	"N/A"



Example 3.4c – Tag Distribution with Auxiliary Column - rowRead

	SQL Statement
(file PI_DIST3.SQL)

	SELECT time, tag, value, 0 AS status FROM T3_4c WHERE rowRead=0;

UPDATE TData SET rowRead=1 WHERE rowRead=0;

	

	Relevant PI Point Attributes

	Tag
	Instrument
tag
	Extended Descriptor
	Location1
	Location3
	Location4

	Tag1
	PI_DIST3.SQL
	
	1
	-1
	1

	Tag2
	
	
	1
	
	1

	...
	
	
	
	
	

	RDBMS Table Design

	Table T3_4c

	tag
	time
	value
	rowRead

	Varchar(255) 
(MS SQL Server)
	DateTime
 (MS SQL Server)
	Real
 (MS SQL Server)
	Integer                     (MS SQL Server)


Example 3.4d – Tag Distribution with Auxiliary Table Keeping Latest Snapshot

	SQL Statement
(file PI_DIST4.SQL)

	SELECT TData.time, TData.tag, TData.value, 0 AS status FROM T3_4data INNER JOIN TSnapshot ON TData.tag=T3_4snapshot.tag WHERE TData.time > TSnapshot.time;

UPDATE T3_4snapshot SET time=(SELECT MaxTimeTag.maxTime FROM 
(SELECT DISTINCT (SELECT MAX(time) FROM T3_4data WHERE tag=T3_4dataTmp.tag) As maxTime,tag FROM T3_4data TDataTmp) MaxTimeTag
INNER JOIN T3_4snapshot  TSnapshotTmp ON MaxTimeTag.tag=TSnapshotTmp.tag WHERE T3_4snapshot.tag=MaxTimeTag.tag)

	

	Relevant PI Point Attributes

	Tag
	Instrument
tag
	Extended Descriptor
	Location1
	Location3
	Location4

	Tag1
	PI_DIST4.SQL
	
	1
	-1
	1

	Tag2
	
	
	1
	
	1

	...
	
	
	
	
	

	RDBMS Table Design

	Table T3_4data

	tag
	time
	value
	status

	Varchar(255) 
(MS SQL Server)
	DateTime
 (MS SQL Server)
	Real
 (MS SQL Server)
	Integer                     (MS SQL Server)

	Table T3_4snapshot

	tag
	time

	Varchar(255) 
(MS SQL Server)
	DateTime
 (MS SQL Server)


Explanation:

The TSnapshot table has to contain a list of all 'Target Points'; the second statement - UPDATE will get the most recent timestamps - MAX(time)  from the TData table and update the TSnapshot table. Next scan the JOIN makes sure only the new entries to TData are SELECTed.

Example 3.4e – Tag Distribution in Combination with /RBO and 
'Time-Window'
	SQL Statement
(file PI_DIST5.SQL)

	SELECT time, tag, value, 0 AS status FROM T3_4e WHERE 
time > GETDATE()-(1./24.);

	

	Relevant PI Point Attributes

	Tag
	Instrument
tag
	Extended Descriptor
	Location1
	Location3
	Location4

	Tag1
	PI_DIST5.SQL
	
	1
	-1
	1

	Tag2
	
	
	1
	
	1

	...
	
	
	
	
	

	RDBMS Table Design

	Table T3_4e

	tag
	time
	value
	status

	Varchar(255) 
(MS SQL Server)
	DateTime
 (MS SQL Server)
	Real
 (MS SQL Server)
	Integer                     (MS SQL Server)



Explanation:

The time-window is created by the MS SQL function GETDATE() (returning the current time). The (1./24.) means one hour. The interface will thus have to have the /RBO start-up parameter specified to avoid duplicates in the PI Archive.

Example 3.5 – Tag Distribution with Aliases in Column Names

	SQL Statement
(file PI_DIST3.SQL)

	SELECT NAME AS PI_TAGNAME, VALUE AS PI_VALUE , STATUS AS PI_STATUS, DATE_TIME AS PI_TIMESTAMP FROM T3_5 WHERE NAME  LIKE  ?;

	

	Relevant PI Point Attributes

	Extended Descriptor
	Location1

All points
	Location2

All points
	Location3


	Location4

All points
	Location5

All points

	Distributor – P1="Key_123%"
Target points - /ALIAS='value retrieved from NAME column'
	1
	Not evaluated


	-1


Not evaluated
	1
	0

	Instrumenttag
	Point Type

(Distributor)
	Point Source

S
	
	
	

	PI_DIST3.SQL
	Float32
	
	
	
	

	

	RDBMS Table Design

	Table T3_5

	DATE_TIME
	NAME
	VALUE
	STATUS

	Datetime                            (MS SQL Server)

Date/Time                     (MS Access)
	Char(80)                          (MS SQL Server)

Text(80)                             (MS Access)
	Real                                 (MS SQL Server)

Text(255)                          (MS Access)
	Real                               (MS SQL Server)

Text(12)                           (MS Access)


Example 3.6 – RxC Distribution

	SQL Statement
(file PI_DIST4.SQL)

	SELECT sampletime AS PI_TIMESTAMP1, name1 AS PI_TAGNAME1, value1 AS PI_VALUE1, sampletime AS PI_TIMESTAMP2, name2 AS PI_TAGNAME2, value2 AS PI_VALUE2, status2 AS PI_STATUS2, sampletime AS PI_TIMESTAMP3,name3 AS PI_TAGNAME3, value3 AS PI_VALUE3, status3 AS PI_STATUS3 FROM T3_6 WHERE sampletime > ?;

	

	Relevant PI Point Attributes

	Extended Descriptor
	Location1

All points
	Location2

All points
	Location3


	Location4

All points
	Location5

All points

	RxC Distributor: P1=TS

Targets:


	1
	Not evaluated


	-2


Not evaluated
	1
	0

	InstrumentTag
	Point Type

(Distributor)
	Point Source

S
	
	
	

	PI_DIST4.
SQL
	Float32
	
	
	
	

	

	RDBMS Table Design

	Table T3_6

	SAMPLETIME
	NAMEn
	VALUEn
	STATUSn

	Datetime                            (MS SQL Server)

Date/Time                     (MS Access)
	Char(80)                          (MS SQL Server)

Text(80)                             (MS Access)
	Real                                 (MS SQL Server)

Number                          (MS Access)
	Real                               (MS SQL Server)

Number                           (MS Access)


Example 3.6b – RxC Distribution Using  PI_TIMESTAMP Keyword 

	SQL Statement
(file PI_DIST4.SQL)

	SELECT sampletime AS PI_TIMESTAMP, name1 AS PI_TAGNAME1, value1 AS PI_VALUE1, name2 AS PI_TAGNAME2, value2 AS PI_VALUE2, status2 AS PI_STATUS2, name3 AS PI_TAGNAME3, value3 AS PI_VALUE3, status3 AS PI_STATUS3 FROM T3_6b WHERE sampletime > ?;


Example 3.7 – Event Based Input

	SQL Statement
(file PI_EVENT.SQL)

	SELECT PI_TIMESTAMP, PI_VALUE, PI_STATUS FROM T3_7;

	

	Relevant PI Point Attributes

	Extended
Descriptor
	Location1


	Location2


	Location3
	Location4
	Location5

	/EVENT=sinusoid
	1
	0
	0
	Not evaluated
	0

	
	
	
	
	
	

	InstrumentTag
	Point Type
	Point Source
	
	
	

	PI_EVENT.SQL
	String
	S
	
	
	

	
	
	
	
	
	

	RDBMS Table Design

	Table T3_7

	PI_TIMESTAMP
	PI_VALUE
	PI_STATUS

	Datetime
 (MS SQL Server)

Date/Time
 (MS Access)
	Varchar(1000)
 (MS SQL Server)

Text(255)
 (MS Access)
	Smallint
 (MS SQL Server)

Byte
 (MS Access)


Example 3.8 – Multi Statement Query

	SQL Statement
(file PI_MULTI.SQL)

	

	INSERT INTO T3_8 (PI_TIMESTAMP, PI_VALUE, PI_STATUS) VALUES (?, ?, ?);
DELETE FROM T3_8 WHERE PI_TIMESTAMP < ?;

	

	Relevant PI Point Attributes

	Extended Descriptor
	Location1


	Location2


	Location3
	Location4
	Location5

	P1=TS 
P2=VL 
P3=SS_I 
P4=TS
	1
	0
	0
	0
	0

	InstrumentTag
	Point Type
	Source Tag
	Point Source
	
	

	PI_MULTI.SQL
	Float32
	SINUSOID
	S
	
	

	

	RDBMS Table Design

	Table T3_8

	PI_TIMESTAMP
	PI_VALUE
	PI_STATUS

	Datetime                                       (MS SQL Server)

Date/Time                                     (MS Access)
	SmallInt                                        (MS SQL Server)

Number-Whole Number                 (MS Access)
	Smallint                                        (MS SQL Server)

Number Single Precision                 (MS Access)


Example 3.9 – Stored Procedure Call

	SQL Statement

	{CALL SP_T3_9(?,?)};

	Stored procedure definition

	CREATE  PROCEDURE SP3_9 @Start_Time DateTime, @End_Time DateTime AS

SELECT PI_TIMESTAMP,PI_VALUE,PI_STATUS FROM T3_9 WHERE PI_TIMESTAMP BETWEEN  @Start_Time   AND  @End_Time

	

	Relevant PI Point Attributes

	Extended Descriptor
	Location1
	Location2
	Location3
	Location4
	Location5

	/SQL=
"{CALL SP3_9(?,?)};" 
P1=LST P2=ST
	1
	1
	0
	1
	0

	InstrumentTag
	Point Type
	Point Source
	
	
	

	
	Float16
	S
	
	
	

	

	RDBMS Table Design

	Table T3_9

	PI_TIMESTAMP
	PI_VALUE
	PI_STATUS

	Datetime 
(MS SQL Server)
	Real 
(MS SQL Server)
	Smallint 
(MS SQL Server)


Example 3.10 – Event Based Output

	SQL Statement
(file PI_EVOUT1.SQL)

	UPDATE  T3_10 SET PI_TIMESTAMP=?, PI_VALUE=?, PI_STATUS=? WHERE PI_KEY LIKE 'Key123';

	

	Relevant PI Point Attributes

	Extended Descriptor
	Location1


	Location2


	Location3
	Location4
	Location5

	P1=TS P2=VL P3=SS_I
	1
	0
	0
	0
	0

	
	
	
	
	
	

	InstrumentTag
	Point Type
	Source Tag
	Point Source
	
	

	PI_EVOUT1.SQL
	Float16
	SINUSOID
	S
	
	

	

	RDBMS Table Design

	Table T3_10

	PI_TIMESTAMP
	PI_VALUE
	PI_STATUS

	Datetime                            
 (MS SQL Server)

Date/Time                                    (MS Access)
	Real                                            (MS SQL Server)

Byte                                           (MS Access)
	Smallint                                           (MS SQL Server)

Number Whole Number                   (MS Access)


Example 3.11 – Output Triggered by 'Sinusoid', Values Taken from 'TagDig'
	SQL Statement
(file PI_EVOUT2.SQL)

	UPDATE  T3_11 SET PI_TIMESTAMP=?, PI_VALUE=?, PI_STATUS_I=?, PI_STATUS_STR=?;

	

	Relevant PI Point Attributes

	Extended Descriptor
	Location1
	Location2
	Location3
	Location4
	Location5

	P1='TagDig'/TS  P2='TagDig'/VL P3='TagDig'/SS_I P4='TagDig'/SS_C
	1
	0
	0
	0
	0

	
	
	
	
	
	

	InstrumentTag
	Point Type
	Source Tag
	Point Source
	
	

	PI_EVOUT2.SQL
	Float16
	SINUSOID
	S
	
	

	

	RDBMS Table Design

	Table T3_11

	PI_TIMESTAMP
	PI_VALUE
	PI_STATUS_I
	PI_STATUS_STR

	Datetime                           (MS SQL Server)

Date/Time                        (MS Access)
	Char(12)                               (MS SQL Server)

Text(12)                            (MS Access)
	Smallint                              (MS SQL Server)

Number Single Precision 
(MS Access)
	Varchar(20)
(MS SQL Server)

Text(12)                            (MS Access)


Example 3.12 – Global Variables

	SQL Statement
(file PI_G1.SQL)

	UPDATE T3_12 SET PI_TIMESTAMP=?, PI_TAGNAME=?, PI_VALUE=?, PI_STATUS=?; 

	

	Relevant PI Point Attributes

	Extended Descriptor
	Location1


	Location2


	Location3
	Location4
	Location5

	P1=G1 P2=G4 P3=G5 P4=G6
	1
	0
	0
	1
	0

	
	
	
	
	
	

	InstrumentTag
	Point Type
	Point Source
	
	
	

	PI_G1.SQL
	Int16
	S
	
	
	

	

	RDBMS Table Design

	Table T3_12

	PI_TIMESTAMP
	PI_TAGNAME
	PI_VALUE
	PI_STATUS

	Datetime                             (MS SQL Server)

Date/Time                                                     (MS Access)
	Char(50)                         (MS SQL Server)

Text(50)                 (MS Access)
	Real                                    (MS SQL Server)

Number 
Single Precision               (MS Access)
	Char(12) 
(MS SQL Server)

Text(12)
(MS Access)

	

	Content of the global variables file

	G1='sinusoid'/TS G2="any_string1" G3="any_string2" G4='sinusoid'/AT.TAG G5='sinusoid'/VL G6='sinusoid'/SS_C …


Example 4.1 – PI Point Database Changes – Short Form Configuration

	SQL Statement
(file PI_TAGCHG1.SQL)

	INSERT INTO T4_1 (TAG_NAME, ATTRIBUTE_NAME, CHANGE_DATETIME, CHANGER, NEW_VALUE, OLD_VALUE) VALUES (?, ?, ?, ?, ?, ?);

	

	Relevant PI Point Attributes

	Extended Descriptor
	Location1
	Location2
	Location3
	Location4
	Location5

	P1= AT.TAG
P2= AT.ATTRIBUTE
P3= AT.CHANGEDATE
P4=AT.CHANGER
P5=AT.NEWVALUE
P6=AT.OLDVALUE
	1
	0
	0
	-1 

(Marks the tag as  managing point for point changes)
	0

	InstrumentTag
	Point Type
	Point Source

	PI_TAGCHG1.SQL
	Int32
	S

	

	RDBMS Table Design

	Table T4_1

	TAG_NAME
	ATTRIBUTE_NAME
	CHANGE_DATETIME
	CHANGER

	Varchar(80)                     (MS SQL Server)

Text(80)                         (MS Access)
	Varchar(80)                     (MS SQL Server)

Text(80)                         (MS Access)
	Datetime                          (MS SQL Server)

Date/Time                          (MS Access)
	Varchar(80)                     (MS  SQL Server)

Text(80)                              (MS Access)

	NEW_VALUE
	OLD_VALUE
	
	

	Varchar(80)                   (MS SQL Server)

Text(80) 
(MS Access)
	Varchar(80)                   (MS SQL Server)

Text(80) 
(MS Access)
	
	


Example 4.2 – PI Point Database Changes – Long Form Configuration (only changedate and tag name recorded)

	SQL Statement
(file PI_TAGCHG2.SQL)

	INSERT INTO T4_2 (TSTAMP_EXEC, TSTAMP_CHANGEDATE, TAG) VALUES  
({Fn NOW()}, ?, ?);

	

	Relevant PI Point Attributes

	Extended Descriptor
	Location1
	Location2
	Location3
	Location4
	Location4

	P1= AT.CHANGEDATE
P2= AT.TAG


	1
	0
	0
	-2 

(Marks the tag as  managing point for point changes)
	0

	InstrumentTag
	Point Type
	Point Source

	PI_TAGCHG2.SQL
	Int32
	S

	RDBMS Table Design

	Table T4_2

	TSTAMP_EXEC
	TSTAMP_CHANGEDATE
	TAG

	Datetime 
(MS SQL Server) 

Date/Time 
(MS Access)
	Datetime 
(MS SQL Server) 

Date/Time 
(MS Access)
	Varchar(1024) 
(MS SQL Server) 

Text(255) 
(MS Access)


Example 5.1 – Batch Export (not requiring Module Database)

	SQL Statement
(file PI_BA1.SQL)

	INSERT INTO T5_1 (BA_ID,BA_UNITID,BA_PRODUCT,BA_START,BA_END) VALUES (?,?,?,?,?);

	

	Relevant PI Point Attributes

	Extended
 Descriptor
	Location1
	Location2
	Location3
	Location4
	Location5

	P1=BA.BAID P2=BA.UNIT P3=BA.PRID P4=BA.START P5=BA.END
	1
	0
	0
	1
	0

	Point Type
	InstrumentTag


	
	Point Source
	
	

	Float32
	PI_BA1.SQL
	
	S
	
	

	RDBMS Table Design

	Table T5_1

	BA_ID
BA_UNITID                                        
BA_PRODUCT
	BA_START                                         BA_END

	Varchar(1024)  
(MS SQL Server)

Text(255) 
(MS Access)
	Datetime 
(MS SQL Server)

Date/Time 
(MS Access)


Example 5.2a – Batch Export (Module Database required)

	SQL Statement
(file PI_BA2a.SQL)

	INSERT INTO T5_2a (BA_START, BA_END, BA_ID, BA_PRODUCT, BA_RECIPE, BA_GUID) 
VALUES (?, ?, ?, ?, ?, ?);

	

	Relevant PI Point Attributes

	Extended
 Descriptor
	Location1
	Location2


	Location3


	Location4
	Location5

	/BA.START="*-10d" P1=BA.START P2=BA.END      P3=BA.ID P4=BA.PRODID P5=BA.RECID P6=BA.GUID
	1
	0
	0
	1
	0

	Point Type
	InstrumentTag
	Point Source


	
	
	

	Float32
	PI_BA2a.SQL
	S
	
	
	

	RDBMS Table Design

	Table T5_2a

	BA_ID                                         BA_PRODUCT                                                   BA_RECIPE                                                  BA_GUID
	BA_START                                         
BA_END

	Varchar(1024)  
(MS SQL Server)

Text(255) 
(MS Access)
	Datetime 
(MS SQL Server)

Date/Time 
(MS Access)


Example 5.2b – UnitBatch Export (Module Database required)

	SQL Statement
(file PI_BA2b.SQL)

	INSERT INTO T5_2b (UB_START,UB_END, UB_ID, UB_PRODUCT,UB_PROCEDURE,BA_GUID,UB_GUID) VALUES (?,?,?,?,?,?,?);

	

	Relevant PI Point Attributes

	Extended Descriptor
	Location1
	Location3
	Location4
	Location5

	/UB.START="*-10d"  /SB_TAG="SBTag" P1=UB.START P2=UB.END      P3=UB.ID P4=UB.PRODID P5=UB.PROCID P6=BA.GUID P7=UB.GUID
	1
	0
	1
	0

	Point Type
	InstrumentTag
	Point Source
	
	

	Float32
	PI_BA2b.SQL
	S
	
	

	RDBMS Table Design

	Table T5_2b

	UB_ID                                         UB_PRODUCT                                                   UB_PROCEDURE                                                  UB_GUID                                          BA_GUID
	UB_START                                           UB_END

	Varchar(1024)  
(MS SQL Server)

Text(255) 
(MS Access)
	Datetime 
(MS SQL Server)

Date/Time 
(MS Access)


Example 5.2c – SubBatch Export (Module Database required)

	SQL Statement
(file PI_BA2c.SQL)

	INSERT INTO T5_2c (SB_START, SB_END, SB_ID, SB_HEAD, SB_GUID, UB_GUID) VALUES (?, ?, ?, ?, ?, ?);

	

	Relevant PI Point Attributes

	Extended Descriptor
	Location1
	Location3
	Location4
	Location5

	P1=SB.START P2=SB.END        P3=SB.ID P4=SB.HEADID P5=SB.GUID P6=UB.GUID
	1
	0
	1
	0

	Point Type
	InstrumentTag
	Point Source
	
	

	Float32
	PI_BA2c.SQL
	S
	
	

	RDBMS Table Design

	Table T5_2c

	SB_ID                                                SB_HEAD                                          SB_GUID                                                   UB_GUID
	SB_START                                           SB_END

	Varchar(1024)  
(MS SQL Server)

Text(255) 
(MS Access)
	Datetime 
(MS SQL Server)

Date/Time 
(MS Access)


Example 6.1 – Last One Hour of 'Sinusoid'
	SQL Statement
(file PI_IU1.SQL)

	UPDATE PI_INSERT_UPDATE_1ROW SET PI_TSTAMP=?, PI_VALUE=?, PI_STATUS=?; 
UPDATE PI_INSERT_UPDATE RIGHT JOIN PI_INSERT_UPDATE_1ROW ON {Fn MINUTE(PI_INSERT_UPDATE_1ROW.PI_TSTAMP)}={Fn MINUTE(PI_INSERT_UPDATE.PI_TSTAMP)} 
SET PI_INSERT_UPDATE.PI_TSTAMP = PI_INSERT_UPDATE_1ROW.PI_TSTAMP, PI_INSERT_UPDATE.PI_VALUE = PI_INSERT_UPDATE_1ROW.PI_VALUE, PI_INSERT_UPDATE.PI_STATUS = PI_INSERT_UPDATE_1ROW.PI_STATUS;

	

	Relevant PI Point Attributes

	Extended Descriptor
	Location1


	Location2


	Location3
	Location4
	Location5

	P1=TS 
P2=VL 
P3=SS_I
	1
	0
	0
	0
	0

	
	
	
	
	
	

	InstrumentTag
	Point Type
	Source Tag
	Point Source
	
	

	PI_IU1.SQL
	Float16
	SINUSOID
	S
	
	

	
	
	
	
	
	

	RDBMS Table Design

	Table PI_INSERT_UPDATE_1ROW and PI_INSERT_UPDATE

	PI_TSTAMP (PK)
	PI_VALUE
	PI_STATUS

	Date/Time                                    (MS Access)
	Number Single Precision                                           (MS Access)
	Number Whole Number                   (MS Access)


Appendix C:
Hints and Checklist

Hints for the PI System Manager

ORDER BY TIMESTAMP

When using the option to query a complete time series for a tag, the query must solve the problem that the value/timestamp pairs arrive ordered by timestamp.
Otherwise the interface cannot perform exception reporting and the PI Server cannot do compression.

Reconnect to RDBMS

Reconnect attempts are modified to be more general. Only a few ODBC drivers report detailed error codes for networking problems. This was required for RDBMSPI Version 1.28 to reconnect (codes 08xxx (network problems) and xxTxx (timeout) were required). As a result, the interface reported an error (typically S1000) but did not reconnect (because S1000 is a general error).
Now, on any serious error the connection with the RDBMS is tested and the interface reconnects if necessary. 

Suppress I/O Timeout

A common problem was the Relational Database  was shutdown periodically due to backups. Since the interface then reports a connection problem (I/O Timeout gets written to all interface tags), queries with reference to previous timestamps only query back in time to the shutdown event. As a result, data was missing. In such a situation the startup parameter /NO_INPUT_ERROR can help.

Field Size (1)

If the field size is less than required for the current value to be passed, the interface prints an error message into the log file but continues to try on the next event with the value valid at that time.
For example, if the field length of a character field is 2 and the interface tries to store 'ON' and 'OFF' values, 'ON' will work, 'OFF' will generate an error.

Uppercase for Constant String

If the query contains a constant in the SELECT column list, and the constant is a string, some ODBC drivers transform this string to capital letters.
E.g. SELECT timestamp,0,'No Sample' WHERE …
the 'NO SAMPLE' arrives in the PI part of the interface. Searches in the Bad and Good area are now case insensitive to address this problem.

Repeated Error Messages

Some error messages in the pipc log file are only displayed on first occurrence. To avoid log files to be filled with many duplicate messages, the interface only reports when the error is resolved. In the interface specific log file (/output=if_logfile) this feature is not implemented => e.g. ODBC runtime errors coming up in every scan may cause the log file growing infinitely.

Field Size (2)

The minimum field size for digital state output is 12 characters. Some ODBC drivers also require one additional character for the string termination byte (NULL). In this case the interface needs a minimum field size of 13 characters.

No Data

SELECT statements using LST or LET may not get any data if the clocks of PI System computer and RDBMS System are not synchronized. That is because LST and LET are filled from the interface but compared to RDBMS timestamps.

Login to PI

To avoid login problems (changed password, API 1.3.8 bug,...) OSIsoft, Inc. recommends the setup of a trust/proxy for the interface. The interface was changed so it does not require an explicit login anymore (/user_pi now optional).

Checklist and Trouble-Shooting

From experience supporting this interface, OSIsoft, Inc. has assembled a number of check points that should help beginners with getting to the right configuration:

No Data (Input)

· If PI_... column names are not used, then the position of timestamp, value and status columns have to follow certain rules.

· The status column is mandatory when not using PI_... column names.

· The PI_TIMESTAMP column (or its equivalent if PI_... column names are not used) must be of data type SQL_TIMESTAMP.

· If the query is directly specified in the Extended Descriptor, the query string must be preceded by /SQL=
· Distribution target tags must be in the same scan class as the Distributor Tag.

· /ALIAS comparison is case sensitive

Data Loss

· Data can arrive to the RDB table at current time but carry older timestamps. If the query filters data using a "… WHERE time > ?..., P1=TS" condition then the old timestamps may not fulfill the query condition.

· LST can be used to filter data read by previous scans. If a scan/query fails, LST is still updated and the next scan will exclude previous scan data. 
( Recommendation for single tags is to use TS as placeholder.

· Because LET is not updated, if a query fails (valid for single queries only) LET can be used to include data from a previous scan that failed. Data Loss can occur if data comes into the RDBMS table in real-time, mainly because data coming in during query execution time may be located before LET and not picked up by the next scan.
( Best use for LET scenarios is picking up data (e.g. LAB data) once a day. Timestamps will be located somewhere during the day but not around execution time.

· If the connection between interface node and PI Server fails, output events will get lost during this time. The interface currently does not perform on-line recovery. 
( If this data loss is an issue, run a separate instance of the interface in recovery only mode. The interface will then not work on events but replicate the archive data.

· TS placeholder is used for constraining data in distribution strategy. In this case data loss can happen because TS represents the query execution time (timestamp of distributor tag) and not the various current timestamps of the target tags.
( For distribution strategy OSIsoft recommends flagging data in the RDBMS that was already read or to delete this data if possible (use a multiple query file with a DELETE statement at the end, Example 3.8 – multi statement query). 


Appendix D:
For Users of Previous Interface Versions
Read Before Update

Version 3.0 of the RDBMSPI Interface is a major rewrite (as the version 2.0 was for version 1.x) and many enhancements have been made that did not fit into the design of the previous version. One has to be aware that version 3.x of the RDBMSPI interface:

· Is not available for ALPHA NT

· The interface requires PI SDK

· The /test mode has been dropped. Instead, the CPPI utility is provided.

· The /sr parameter to set the Sign-Up-For-Updates scan period has been removed. 


Note: Since 3.11.0.0, there is the  /UPDATEINTERVAL parameter that allows for setting the sign-up-for-update rate.

· The /skip_time switch has been removed. See the /perf  start up parameter description in the Startup Command File chapter.

!!! The following minor changes may affect compatibility to a previous configuration !!!:

· Location5=1 for String input tags – changed behavior!
In previous versions (2.x) this setting caused the interface to only send changes to these tags. Now, the behavior is aligned with all other data types, which means no exception reporting is done for tags with Location5=1.

Upgrading the Interface from a Previous Version

For an upgrade of the RDBMS to PI Interface:

· Make a backup of all interface files at PIPC/interfaces/RDBMSPI directory. 
For example:
c:> md /PIPC/interfaces/RDBMSPI/RDBMSPI_old
c:> copy /PIPC/interfaces/RDBMSPI/*.* /PIPC/interfaces/RDBMSPI/RDBMSPI_old/*.*
· If the interface was installed as a Windows service, also remove the service using 
c:> rdbmspi.exe ‑ remove.

· Remove the interface via "Add/Remove Programs" on the Control Panel or just delete the interface files if the interface was not installed with a Setup Kit.

· If not already installed, update the PI API to the current release of PI SDK (includes latest PI API as well). 

[image: image37.png]



CAUTION! Users of PI API 1.3.8 should configure a trust/proxy for the interface.
The reason is a bug in the PI API that causes the interface not to regain its user credentials after an automatic re-connect to the PI Server executed by PI API. Without having a trust/proxy configured data may get lost. A -10401 error may occur in the PI Server log.

[image: image38.png]



CAUTION! Since RDBMSPI version 3.14 (and Uniint 4.1.2), the interface does NOT explicitly login to PI anymore. Users always have to configure the trust entry for this interface (in the trust table on the PI Server). 
Delete the *.PI_PWD file (if there is one in the directory where the /output= parameter ponts) and remove the /user_pi= and /pass_pi= from the interface startup file.
[image: image39.png]



CAUTION! Since RDBMSPI version 3.15, explicitly set the start-up parameter  /pisdk=1 in case the interface is supposed to read and write to PI Annotations or will replicate the PI Batch Database. The default value for the /pisdk parameter is 0 !
Now proceed with running the setup program as described in the Interface Installation on Windows section.  

Perform all configuration steps and, optionally, use existing configuration files from the backup.

Appendix E:
Interface Test Environment

Interface Version 1.28

The interface version 1 was tested using the following software versions:
	Intel Platform Only

	Operating System
	Windows NT 4.0 Workstation and Server, SP1 and SP3

	C-Compiler
	MS Visual C/C++  5.0  

	PI
	PI 3.1 on NT (Intel), Build 2.71 and 2.81
PI API 1.2.3.4
UNIINT 2.23, 2.25, 2.31


	RDBMS
	ODBC driver

	RDB Oracle 6.1 (Open VMS) 2.10.1100
	2.10.1100

	MS SQL Server 6.5
	2.65.0240

	Oracle 7.2 (Open VMS)
	2.00.00.6325

	dBase III, dBase IV
	3.50.360200 (MS Access)

	MS Access 95, MS Access 97
	3.50.360200


Interface Version 2.0

The interface version 2 was tested using the following software versions:
	Intel Platform Only

	Operating System
	Windows NT 4.0 Workstation  SP4 

	C-Compiler
	MS Visual C/C++  6.0 SP2

	PI
	3.2 - SR1 Build 357.8
PI API 1.2.3.4 and PI API 1.3.0.0


	RDBMS
	ODBC Driver

	MS SQL          6.50.201 
(ROBUSTNESS tests only)
	3.60.03.19

	MS SQL          7.00.623
	3.70.06.23

	ORACLE        8.0.5.0.0 (NT)
	8.00.06.00


Interface Version 3.x
The interface version 3.x was compiled and tested using the following software versions:

	Intel Platform Only

	Operating System
	Windows NT 4.0 Workstation  SP6
Windows 2000 SP2, SP4 
Windows XP Professional
Windows 2003 Server

	C-Compiler
	MS Visual C/C++  6.0 SP5
MS VC++ 2003

	PI Server
	– SR1 Build 357.8
3.3 – Build 361.43
3.3 – Build 361.96
3.3 – Build 362.47
3.4 – Build 363.12
3.4 -  Build 370.52
3.4 -  Build 370.76
3.4 -  Build 375.38

	PI API
	1.3.4
1.3.8
1.6.0.2
1.6.1.10

	PI SDK
	1.1.0.142
1.2.0.168
1.2.0.171
1.3.1.227
1.3.3.304
1.3.4.333

	UNIINT
	3.4.8
3.5.0
3.5.5
4.1.2
4.3.0.31


	RDBMS
	ODBC Driver

	Oracle (NT)
	

Oracle ODBC Driver
(http://www.oracle.com/technology/software/tech/windows/odbc/index.html)
8.0.5.0.0.0
8.01.73.00
9.00.11.00
9.00.15.00

Microsoft ODBC Driver for Oracle 
(http://msdn.microsoft.com/data 
see the latest MDAC)
2.573.6526.00
2.573.9030.00
2.575.1117.00

DataDirect 
(www.datadirect-technologies.com)
4.10.00.4

	8.0.5  (Oracle 8)
9.0.1  (Oracle 9i)
10.1   (Oracle 10g)


	

	Microsoft SQL Server
	(http://msdn.microsoft.com/data 
see the latest MDAC)
03.70.0820
2000.80.194.00
2000.81.9031.14
2005.90.1399.00

	7.00
(SQL Server 7.0)
8.00
(SQL Server 2000)
9.00 
(SQL Server 2005)

	

	DB2 (NT platform)
	06.01.0000

	07.01.0000
	

	Informix (NT platform)
	02.80.0008 2.20 TC1

	07.31.0000 TC5
	

	Ingres II  (NT platform)       
	3.50.00.11 (FAILED!)

	Advantage Ingres version 2.6
	

	Sybase (NT platform)
	3.50.00.10

	12 ASE
	

	Microsoft Access
	
4.00.5303.01
4.00.6200.00

	2000
2002
2003
	

	Paradox 
	Microsoft ODBC driver for Paradox
4.00.5303.01
(BDE 5.0 was installed)

	Microsoft Visual FoxPro
	6.0.1.8630.01

	6.0
	





Table 28. RDBMSPI ver.3 Test Environment

Revision History

	Date
	Author
	Comments

	24-Jan-1997    
	BBachmann, MFreitag
	50 % draft

	20-Mar-1997
	BBachmann, MFreitag
	Preliminary Manual

	10-Dec-1997
	BBachmann
	Release Manual Version 1.21

	18-Sep-1998
	BBachmann
	More details added
related to RDBMS Interface Version 1.27

	06-Nov-1998
	BBachmann
	Release Manual Version 1.28

	29-Nov-1998    
	MFreitag
	50 % draft of Version 2

	25-Feb-1999
	MHesselbach, MFreitag
	Examples tested and corrected

	04-Jun-1999
	BBachmann
	Release Version 2.08

	24-Mar-2000
	MFreitag
	Testplan 2.14 (SQL Server 7.0,Oracle8, DB2 Ver.5)

	16-May-2000
	BBachmann
	Manual Update for Release 2.14

	15-Sep-2000
	BBachmann
	Manual Update for Release 2.15

	10-Jan-2001
	BBachmann
	Manual Update for Release 2.16

	16-May-2001
	BBachmann
	Manual Update for Release 2.17

	28-Oct-2000
	MFreitag
	Version3 Draft

	17-Jul-2001
	MFreitag
	Version3.0.6; Skeleton Version 1.09

	05-Oct-2001
	BBachmann
	Review for Release

	30-Oct-2001
	DAR
	Added ICU information

	02-Nov-2001
	BBachmann
	/id is equivalent to /in

	09-Nov-2001
	MFreitag, BBachmann
	Location5 evaluation against PI3.3+

	27-May-2002
	BBachmann
	Edit /UTC text for better understanding

	04-Jun-2002
	BBachmann
	MMC correction

	26-Jun-2002
	MFreitag
	CPPI chapter reviewed

	01-Jul-2002
	MFreitag
	Added a Note to Tag Distribution chapter and Oracle9i tests.

	11-Jul-2002
	MFreitag
	Added Chapter Output Points Replication

	02-Sep-2002
	CGoodell
	Changed title; fixed headers & footers

	30-Sep-2002
	BBachmann
	removed section break in note on first page chapter 1

	15-Nov-2002
	MFreitag
	Added Chapters about the RxC reading strategy; added comments into section Multistatement SQL Clause; minor text modifications related to version 3.1 and Uniint 3.5.1.

	27-Feb-2003
	BBachmann
	manual review, examples moved to appendix,
several text changes

	04-Apr-2003
	BBachmann
	PI API node changed to PI interface node,
interface supported on Windows NT 4/2000/XP

	03-Mar-2004
	BBachmann, MFreitag
	Added chapter Recovery Modes; changes related to interface version 3.12.

	18-Jun-2004
	BBachmann
	version 3.12 review, added query checklist

	25-Aug-2004
	DAR
	Updated ICU section, noted default debug level is 1

	14-Sep-2004
	BBachmann
	Reapplied CG changes of 02-Sep-2002

	23-Nov-2004
	MKelly
	Fixed headers and footers. Added new supported features from the skeleton manual.  Save as Final.

	09-Dec-2004
	BBachmann
	Fixed recovery option description and placeholder sizes.

	16-Dec-2004
	BBachman
	Increased version to 3.12.0.26

	17-Dec-2004
	MKelly
	Fixed headers and footers.  Added section on configuring buffering with PI ICU. Removed section on Microsoft DLL.  Modified screen shots for PI ICU.

	24-May-2005
	MFreitag
	Changes related to version 3.13.0.06

	20-Feb-2006
	MFreitag
	Changes related to version 3.14.0.06, overall revision of the manual.

	8-Mar-2006
	JLoe
	Version 3.14.0.06 Rev B: updated manual to reflect current interface documentation standards. Fixed headers and footers, removed first person references, moved the section “For Users of Previous Interface Versions” to Appendix D.

	15-Mar-2006
	MFreitag
	Version 3.14.0.07

	27-Mar-2006
	JLoe
	Version 3.14.0.07 Rev A: updated hyperlinks within document

	30-Mar-2006
	MKelly
	Version 3.14.0.07 Rev B: Fixed headers and Footer, rebuild TOC to include hyperlinks, fixed bookmarks. Change sample batch file to command line only no descriptions or parameters.

	24-Apr-2006
	MFreitag
	Version 3.14.0.07 Rev C: made corrections to references in the document; updated the Table of Contents

	25-May-2007
	MFreitag
	Version 3.15.0.10

	12-Jul-2007
	JLoe
	Version 3.15.0.10, Revision A: updated ICU screen shots

	20-Jul-2007
	MFreitag
	Version 3.15.0.11 SetDeviceStatus information added to manual

	2-Aug-2007
	MKelly
	Version 3.5.0.11, Revision A: Updated Table of Contents, Fixed headers and footers, Modified sample batch file

	2-Aug-2007
	JLoe
	Version 3.5.0.11, Revision B: added updates as requested by developer, including Support for reading annotations, information in the Archive Placeholders table, More Detailed Description of  Pn='tagname'/VL('*',mode) Placeholder, and Redundancy Considerations.


Service installed or uninstalled














RDBMS Specific ODBC





RDBMS Specific ODBC





ODBC Driver Manager





. . .





. . .





Status of the Interface Service





Status of the ICU














RDBMS


MS SQL Server / Oracle / ..





PI 3.x Enterprise Server





PI Home Node, PI Interface Node, RDBMS


Win2000/XP/Win2003 Server





PI SDK





PI API








RDBMSPI Interface





ODBC Driver Manager





PI Server


Windows/Unix/VMS





Network





ODBC Link





PI Interface Node


Win2000/XP/Win2003/Vista Server





Source tag synchronized�with the output tag� after recovery





� EMBED MSPhotoEd.3  ���





/RECOVERY_TIME = *-1d





Two values� added when i/f was stopped





� EMBED MSPhotoEd.3  ���





PI SDK





PI API





RDBMS


MS SQL Server/Oracle/..





RDBMSPI Interface





PISubBatch





PISubBatches





PIUnitBatch





PIUnitBatches


B





PIBatch





PIBatchDB









[image: image41.png]
iv
[image: image40.png]
RDBMSPI Relational Database (RDBMS via ODBC) Interface to the PI System
v

_1127281657.bin

_1127282727.bin

